{"text_format":"3","workbook":"xls","n_sheets":13,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-01_总说明","表-02_建设项目投标报价汇总表","表-03_单项工程投标报价汇总表","表-04_单位工程投标报价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-12_其他项目清单与计价汇总表","表-14_税前项目清单与计价表","表-15_规费、增值税计价表","主要材料及价格表(全部工料机)","设备及价格表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,3],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西交通职业技术学院"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[null,"2019年04月18日"]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02"]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":49,"n_cols":9,"rows_kept":49,"merged":[[3,1,3,6],[7,1,7,7],[16,2,17,4],[16,6,17,8],[17,0,17,1],[18,2,18,4],[18,6,18,8],[24,0,24,1],[24,2,25,4],[24,6,25,8],[25,0,25,1],[26,2,26,4],[26,6,26,8],[32,2,33,4],[32,6,33,8],[33,0,33,1],[34,2,34,4],[34,6,34,8],[41,0,41,1],[41,2,41,4],[41,6,41,8],[46,2,46,7]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西交通职业技术学院"]
["  招  标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",{"$nulls":4},"复 核 时 间："]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程","第1页 共1页"]
["1、工程概况：昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程。\r\n2、编制依据：,\r\n三、招标控制价编制计价依据：\r\n（1）《建设工程工程量清单计价规范》（GB50500-2013）；\r\n（2）《<建设工程工程量清单计价规范>（GB50500-2013）广西壮族自治区实施细则》；\r\n（3）《建设工程工程量计算规范》（GB50854～50862-2013）；\r\n（4）《建设工程工程量计算规范（GB50854～50862-2013）广西壮族自治区实施细则》（修定版）；\r\n（5）2015年《广西壮族自治区安装工程消耗量定额》及其配套费用定额；\r\n（6）2014年《广西壮族自治区市政工程消耗量定额》及其配套费用定额；\r\n  3、费率：\r\n （1）本工程综合费率按相关费用定额有关规定计取。\r\n  (2) 增值税税率按(桂建标【2019】10号文）规定进行调整。\r\n （3）定额人工费、管理费率按桂建标（桂建标字【2018】19号）规定进行调整。\r\n （4）本工程措施项目中的安全施工增加费、文明施工增加费、环境保护费、临时设施费等四项按桂建质【2006】22号计取及南建质按[2013]22文件要求执行。\r\n （5）建筑安装工程劳动保险费按（桂政发（2012）42号）文件要求执行。\r\n （6）《南宁建设工程造价信息》2019年第02期，缺项参考建材信息或市场询价；对于造价信息没有发布价格信息的材料，例如瓷砖，其价格参照南宁市场中档产品价。\r\n4、其他说明：\r\n （1）垃圾运距：按15km；\r\n"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-02_建设项目投标报价汇总表","index":3,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程"]
[null,"        投标报价合计"]
{"$rows_empty":27}
[{"$nulls":4},"表-02"]

{"sheet":"表-03_单项工程投标报价汇总表","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1.1","昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-土建工程"]
["1.1.3","昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-安装工程"]
[null,"        投标报价合计"]
{"$rows_empty":26}
[{"$nulls":4},"表-03"]

{"sheet":"表-04_单位工程投标报价汇总表","index":5,"n_rows":42,"n_cols":4,"rows_kept":42,"merged":[[0,0,0,3],[1,0,1,2]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程",null,null,"第1页 共1页"]
["序号","汇总内容","金额(元)","备注"]
[null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-土建工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-安装工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"工程项目汇总"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
{"$rows_empty":8}
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":125,"n_cols":8,"rows_kept":125,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[41,0,41,7],[42,0,42,5],[42,6,42,7],[43,0,45,0],[43,1,45,1],[43,2,45,2],[43,3,45,3],[43,4,45,4],[43,5,43,7],[44,5,45,5],[44,6,45,6],[82,0,82,7],[83,0,83,5],[83,6,83,7],[84,0,86,0],[84,1,86,1],[84,2,86,2],[84,3,86,3],[84,4,86,4],[84,5,84,7],[85,5,86,5],[85,6,86,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程 ",{"$nulls":5},"第1页 共3页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-土建工程"]
[null,null,"分部分项工程"]
[null,null,"土石方工程"]
["1","040101002001","挖沟槽土方","","32.00"]
[null,null,"1.土壤类别:三类土"]
[null,null,"2.挖土深度:0.5M"]
["2","040103001001","回填方","","17.00"]
[null,null,"1.填方材料品种:杂砂石"]
["3","040103002001","余方弃置","","32.00"]
[null,null,"废弃料品种：剩余土方和破除路面后废弃混凝土"]
[null,null,"弃土运距：1Km"]
["4","桂040103003001","余方弃置运输每增1km","·km","448.00"]
[null,null,"废弃料品种：剩余土方和破除路面后废弃混凝土"]
[null,null,"弃土运距：14km"]
[null,null,"道路工程"]
["5","桂030413017001","路面恢复","㎡","84.00"]
[null,null,"1.材质:碎石 GD40  商品普通砼  C25"]
[null,null,"2.厚度:10CM"]
["6","桂030413016001","拆除路面","㎡","84.00"]
[null,null,"1.材质:水泥混凝土路面"]
[null,null,"2.厚度:10CM"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程 ",{"$nulls":5},"第2页 共3页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-安装工程"]
[null,null,"分部分项工程"]
[null,null,"B9 给排水、燃气工程"]
["7","031001001001","镀锌钢管及管件安装(螺纹连接) 公称直径(32mm)","m","500.00"]
[null,null,"1.品牌：相当于或不低于“邕江牌”"]
["8","031001001002","镀锌钢管及管件安装(螺纹连接) 公称直径(65mm)","m","180.00"]
[null,null,"1.品牌：相当于或不低于“邕江牌”"]
["9","031003013001","螺纹水表 DN32","组","252"]
[null,null,"1.品牌：相当于或不低于“三川牌”"]
["10","031003001001","螺纹阀安装( 螺纹连接) DN65","个","42"]
[null,null,"1.材质:铜质"]
["11","031003001002","螺纹阀安装( 螺纹连接) DN32","个","252"]
[null,null,"1.材质:铜质"]
["12","031003001003","90°内螺纹弯头(钢管) DN32","个","252"]
[null,null,"1.连接方式：螺纹连接"]
["13","031003001004","内螺纹异径三通(钢管) DN65*32","个","252"]
[null,null,"1.连接方式：螺纹连接"]
["14","031003001005","110变PPR塑料管内压三通  DN63","个","42"]
[null,null,"1.连接方式：螺纹连接"]
["15","031003001006","110PPR塑料内活接","个","42"]
["16","031003001007","PVC塑料内螺纹直接 DN50/DN40","个","252"]
[null,null,"1.品牌：相当于或不低于 “雄塑”"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程 ",{"$nulls":5},"第3页 共3页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":18}
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":7,"n_rows":37,"n_cols":7,"rows_kept":37,"merged":[[0,0,0,6],[1,0,1,4],[5,3,8,3],[11,3,13,3],[35,0,35,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程   ",{"$nulls":5},"第1页 共1页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-土建工程"]
["一",null,"市政综合工程(营改增)一般计税法"]
["1","桂041201001001","安全文明施工费","∑分部分项、单价措施(人工费+机械费)"]
["2","桂041201002001","检验试验配合费"]
["3","桂041201003001","雨季施工增加费"]
["4","桂041201004001","工程定位复测费"]
[null,null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-安装工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
["10","桂031401010001","脚手架搭拆费"]
["11","桂031401011001","高层建筑增加费"]
[null,null,"      合     计"]
{"$rows_empty":18}
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-12_其他项目清单与计价汇总表","index":8,"n_rows":42,"n_cols":4,"rows_kept":42,"merged":[[0,0,0,3],[1,0,1,2],[41,0,41,2]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程   ",null,null,"第1页 共1页"]
["序号","项目名称","金额（元）","备注"]
[null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-土建工程"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-安装工程"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"            合           计"]
{"$rows_empty":25}
["注:材料暂估单价进入清单综合单价，此处不汇总。",null,null,"表－12"]

{"sheet":"表-14_税前项目清单与计价表","index":9,"n_rows":42,"n_cols":7,"rows_kept":42,"merged":[[0,0,0,6],[1,0,1,4],[1,5,1,6],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,6],[3,5,4,5],[3,6,4,6],[40,0,40,6],[41,0,41,4]],"flags":["formulas_cached_only"]}
["税前项目清单与计价表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程 ",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称及项目特征\r\n描述","计量单位","工程量","金  额(元)"]
[{"$nulls":5},"单价","合 价"]
[]
[null,null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-土建工程"]
["1","01B001","人工拆除旧管路","项","1"]
[null,null,"               合             计"]
{"$rows_empty":32}
["注：税前项目包含除增值税以外的所有费用。"]
[{"$nulls":6},"表-14"]

{"sheet":"表-15_规费、增值税计价表","index":10,"n_rows":38,"n_cols":5,"rows_kept":38,"merged":[[0,0,0,4],[1,0,1,3],[6,2,13,2],[18,2,25,2]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程",{"$nulls":3},"第1页 共1页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-土建工程"]
["一","市政综合工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程-安装工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"       合          计"]
{"$rows_empty":9}
[{"$nulls":4},"表-15"]

{"sheet":"主要材料及价格表(全部工料机)","index":11,"n_rows":67,"n_cols":6,"rows_kept":67,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[42,0,42,5],[43,0,43,2],[43,4,43,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程",{"$nulls":3},"第1页  共2页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,null,"◆人工◆"]
[2,"000501000","安装人工","元"]
[3,"000701000","市政人工","元"]
[4,null,"◆材料◆"]
[5,"020101009","橡胶板 1～3mm","kg"]
[6,"021303001","聚四氟乙烯生料带 宽20mm","m"]
[7,"022705003","棉丝","kg"]
[8,"031301006","砂轮片 400","片"]
[9,"031345001","钢锯条","根"]
[10,"031347001","砂纸","张"]
[11,"031349001","风镐凿子","根"]
[12,"040301004","杂砂石",""]
[13,"140702001","机油（综合）","kg"]
[14,"181514004","镀锌活接头 DN32","个"]
[15,"181515004","钢制活接头 DN32","个"]
[16,"181515007","钢制活接头 DN65","个"]
[17,"182529004","U型管卡子DN32","个"]
[18,"182529007","U型管卡子DN65","个"]
[19,"190301004","闸阀 Z15T-10 DN32","个"]
[20,"341101001","水",""]
[21,"341508001","其他材料费","元"]
[22,"341508002","其他材料费","元"]
[23,null,"◆商品砼◆"]
[24,"043104004","碎石 GD40  商品普通砼  C25",""]
[25,null,"◆主材◆"]
[26,"170014000","镀锌钢管 DN32","m"]
[27,"170014000","镀锌钢管 DN65","m"]
[28,"194103000","螺纹阀门 DN32","个"]
[29,"194103000","螺纹阀门 DN65","个"]
[30,"240101000","螺纹水表 DN32","个"]
[31,"B-","90°内螺纹弯头(钢管) DN32","个"]
[32,"B-","PPR塑料管内压三通  DN63","个"]
[33,"B-","PPR塑料内活接","个"]
[34,"B-","PVC塑料内螺纹直接 DN50/DN40","个"]
[35,"B-","内螺纹异径三通(钢管) DN65*32","个"]
[36,null,"◆机械台班组成◆"]
[37,"000301001","机械台班人工费","元"]
[38,"140301004","国V汽油 92#","kg"]
[]
["主要材料及价格表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程",{"$nulls":3},"第2页  共2页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[39,"140304001","轻柴油 0#","kg"]
[40,"341103001","电","kW.h"]
[41,"994701001","其他机械费","元"]
[42,"994701003","停滞费","元"]
[43,"994701004","折旧费","元"]
[44,"994701005","大修理费","元"]
[45,"994701006","经常修理费","元"]
[46,"994701007","安拆及场外运输费","元"]
[47,"994701008","其他费用","元"]
[48,null,"◆机械◆"]
[49,"990506002","混凝土振捣器[插入式]","台班"]
[50,"990506004","三滚轴整平机 功率75kW","台班"]
[51,"990705001","自卸汽车[装载质量2t]","台班"]
[52,"990705003","自卸汽车[装载质量4.5t]","台班"]
[53,"991305001","夯实机电动[夯击能力200～620Nm]","台班"]
[54,"991924002","管子切断套丝机 直径159mm","台班"]
[55,"992301003","砂轮切割机 400","台班"]
[56,"993306001","风镐","台班"]
[57,"994301008","内燃空气压缩机[排气量3/min]","台班"]
[58,"994410004","试压泵 压力 30MPa","台班"]
[59,"994701001","其他机械费","元"]
[60,null,"#### 合 计 ####"]

{"sheet":"设备及价格表","index":12,"n_rows":41,"n_cols":7,"rows_kept":41,"merged":[[0,0,0,6],[1,0,1,2],[1,5,1,6]],"flags":["formulas_cached_only"]}
["设 备 及 价 格 表"]
["工程名称:昆仑校区中二区6-8号学生公寓供水管户外部分改镀锌铁管工程",{"$nulls":4},"第1页  共1页"]
["序号","编码","设备名称、规格、型号等特殊要求","单位","数量","单价（元）","合价（元）"]
[1]
{"$rows_empty":36}
[{"$nulls":3}," ","  "," ","表－18"]