{"text_format":"3","workbook":"xls","n_sheets":9,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-01_总说明","表-02_建设项目投标报价汇总表","表-03_单项工程投标报价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-15_规费、增值税计价表","主要材料及价格表(全部工料机)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,3],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西交通职业技术学院"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[null,"2022年06月27日"]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02"]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":49,"n_cols":9,"rows_kept":49,"merged":[[3,1,3,6],[7,1,7,7],[16,2,17,4],[16,6,17,8],[17,0,17,1],[18,2,18,4],[18,6,18,8],[24,0,24,1],[24,2,25,4],[24,6,25,8],[25,0,25,1],[26,2,26,4],[26,6,26,8],[32,2,33,4],[32,6,33,8],[33,0,33,1],[34,2,34,4],[34,6,34,8],[41,0,41,1],[41,2,41,4],[41,6,41,8],[46,2,46,7]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西交通职业技术学院"]
["  招  标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",null,"2022年06月27日",null,null,"复 核 时 间："]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造","第1页 共1页"]
["一、工程概况：本工程位于广西交通职业技术学院昆仑校区内。\n\n  \n二、编制依据:\n（一）、业主提供的相关资料。\n（二）、《建设工程工程量清单计价规范》GB50500-2013及配套使用的广西清单实施细则。 \n（三）、《建设工程工程量计算规范》GB50854～50862-2013及配套使用的广西清单实施细则(修订版)。 \n\n\n"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-02_建设项目投标报价汇总表","index":3,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
[null,"        投标报价合计"]
{"$rows_empty":28}
[{"$nulls":4},"表-02"]

{"sheet":"表-03_单项工程投标报价汇总表","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","机房改造部分-拆除工程"]
["1.2","机房改造部分-装饰装修"]
["1.3","机房改造部分-安装工程"]
[null,"        投标报价合计"]
{"$rows_empty":25}
[{"$nulls":4},"表-03"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":5,"n_rows":164,"n_cols":8,"rows_kept":164,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[42,0,42,7],[43,0,43,5],[43,6,43,7],[44,0,46,0],[44,1,46,1],[44,2,46,2],[44,3,46,3],[44,4,46,4],[44,5,44,7],[45,5,46,5],[45,6,46,6],[82,0,82,7],[83,0,83,5],[83,6,83,7],[84,0,86,0],[84,1,86,1],[84,2,86,2],[84,3,86,3],[84,4,86,4],[84,5,84,7],[85,5,86,5],[85,6,86,6],[123,0,123,7],[124,0,124,5],[124,6,124,7],[125,0,127,0],[125,1,127,1],[125,2,127,2],[125,3,127,3],[125,4,127,4],[125,5,125,7],[126,5,127,5],[126,6,127,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造 ",{"$nulls":5},"第1页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"机房改造部分-拆除工程"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["1","011601001001","砖砌体拆除","","18.68"]
[null,null,"墙体厚度240mm"]
["2","010103002001","建筑垃圾外运","","27.27"]
[null,null,"人工装车，4.5T加盖自卸汽车外运"]
[null,null,"运距1KM内"]
[null,null,"建筑垃圾消纳费"]
["3","桂010103003001","建筑垃圾运输增（减）m3·km","·km","381.78"]
[null,null,"运距增加14KM"]
[null,null,"1 变配电及低压电器拆除"]
["4","011613001001","吊扇、开关拆除","套","8"]
[null,null,"保护性拆除"]
["5","011613001002","烟雾报警器拆除","套","2"]
[null,null,"保护性拆除"]
["6","011613001003","插座箱拆除","套","4"]
[null,null,"保护性拆除"]
[null,null,"单价措施项目"]
[]
[null,null,"机房改造部分-装饰装修"]
[null,null,"分部分项工程"]
[null,null,"A.3 砌筑工程"]
["7","010401004001","多孔砖墙","","32.81"]
[null,null,"机房隔墙，墙厚200mm"]
[null,null,"顶部标准砖斜砌"]
["8","010502002001","构造柱","","2.45"]
[null,null,"混凝土种类:商品砼"]
[null,null,"混凝土强度等级:C20"]
["9","010503004001","圈梁","","1.71"]
[null,null,"混凝土种类:商品砼"]
[null,null,"混凝土强度等级: C20"]
["10","010515001001","现浇构件钢筋","t","0.215"]
[null,null,"钢筋种类、规格:HPB300 φ10以内 含调直费"]
[null,null,"钢筋品牌:“参照柳钢品牌及其以上品牌”"]
["11","桂010515012001","植筋","根","74"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造 ",{"$nulls":5},"第2页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"部位:构造柱植筋"]
[null,null,"钢筋种类、规格: Φ10以内 含调直费"]
[null,null,"钢筋品牌:“参照柳钢品牌及其以上品牌”"]
["12","桂010515011001","砖砌体加固钢筋 不绑扎","t","0.037"]
[null,null,"钢筋种类、规格:Φ10以内 含调直费"]
[null,null,"钢筋品牌:“参照柳钢品牌及其以上品牌”"]
[null,null,"A.10 墙、柱面工程"]
["13","011201001001","墙面一般抹灰","㎡","380.14"]
[null,null,"部位：新砌墙体、门窗边修补"]
[null,null,"水泥砂浆抹灰{水泥砂浆 1∶2}"]
["14","011207001001","埃特板隔墙","㎡","47.94"]
[null,null,"75型轻钢龙骨 中距(400mm) 竖603横1500"]
[null,null,"双面封8mm埃特板隔墙"]
[null,null,"A.12 门窗工程"]
["15","010802001001","成品钢质门（双开非标门）","㎡","16.80"]
[null,null,"含门制作、运输、安装等"]
[null,null,"品牌参考或相当于“广邑”“喜笑”“双迎”"]
[null,null,"款式由业主选定"]
["16","010807001001","87系列铝合金推拉窗","㎡","61.20"]
[null,null,"洞口尺寸：＞2㎡"]
[null,null,"框、扇材质:深灰色铝合金壁厚不小于1.4mm"]
[null,null,"玻璃品种、厚度:6mm单片铯钾防火玻璃"]
[null,null,"含制作、运输、安装、五金配件等施工全部工序"]
[null,null,"品牌：参照“凤铝及其以上品牌”"]
["17","桂010811002001","门窗周边塞缝","m","187.92"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["18","011406003001","墙面满刮腻子","㎡","475.68"]
[null,null,"部位：新砌墙体、门窗边修补"]
[null,null,"刮成品腻子粉 二遍"]
["19","011407001001","墙面喷（刷）涂料","㎡","475.68"]
[null,null,"部位：新砌墙体、门窗边修补"]
[null,null,"乳胶漆 内墙面 二遍"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造 ",{"$nulls":5},"第3页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["20","桂011701002001","扣件式钢管里脚手架","㎡","150.49"]
[null,null,"搭设高度:3.6m以上"]
["21","桂011701004001","内装修脚手架","㎡","277.59"]
[null,"011702","混凝土模板及支架(撑)"]
["22","011702003001","构造柱","㎡","24.48"]
[null,null,"1.模板、支撑材质:胶合板木支撑"]
[null,null,"2.支模高度:4.5"]
["23","011702008001","圈梁","㎡","17.20"]
[null,null,"1.模板、支撑材质:胶合板木支撑"]
[null,"011710","已完工程保护费"]
["24","桂011710001001","楼地面成品保护","㎡","216.80"]
[null,null,"机房改造部分-安装工程"]
[null,null,"分部分项工程"]
[null,"030404","控制设备及低压电器安装"]
["25","030404016001","7-9位电箱","台","5"]
[null,null,"材质：铁壳塑面"]
["26","030404016002","16-18位电箱","台","4"]
[null,null,"材质：铁壳塑面"]
["27","030404035001","五孔插座","套","36"]
[null,null,"规格：220V 10A 明装"]
[null,null,"品牌参考或相当于“公牛”“德力西”“西门子”"]
["28","030404019001","3P32A漏电断路器","个","5"]
[null,null,"型号：3P带漏保32A"]
[null,null,"品牌参考或相当于“公牛”“德力西”“西门子”"]
["29","030404034001","两位照明开关（利用原材料）","套","11"]
[null,null,"规格：220V 10A 翘板双联"]
[null,null,"安装方式：距地1.2m明装"]
["30","030404036001","吊扇开关安装（利用原材料）","套","6"]
[null,null,"安装方式：距地1.2m明装"]
["31","030904001001","感烟探测器安装(利用原材料)","个","2"]
[null,null,"安装方式：吸顶安装"]
[null,null,"含接线盒，含底座"]
[null,"030408","电缆安装"]
["32","030408004001","弧形线槽（加厚型）安装","m","170.00"]
[null,null,"规格：PVC-50*15阻燃线槽 弧形（加厚）"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造 ",{"$nulls":5},"第4页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"沿地面或电脑桌侧板敷设"]
[null,null,"品牌参考或相当于“雄塑”“联塑”“天隆”"]
[null,"030411","配管、配线"]
["33","030411002001","PVC-39*19燃线槽安装","m","604.65"]
[null,null,"部位：吊扇开关移位"]
[null,null,"沿墙或天棚敷设"]
["34","030411004001","ZR-BV-6mm2铜芯电线安装","m","1712.60"]
[null,null,"线槽内敷设"]
[null,null,"品牌参考或相当于“桂南”“阳工”“家友”"]
["35","030411004002","ZR-BV-2.5mm2铜芯电线安装","m","2682.00"]
[null,null,"线槽内敷设"]
[null,null,"品牌参考或相当于“桂南”“阳工”“家友”"]
[null,null,"单价措施项目"]
[]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":15}
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":6,"n_rows":39,"n_cols":7,"rows_kept":39,"merged":[[0,0,0,6],[1,0,1,4],[4,3,9,3],[11,3,14,3],[16,3,18,3],[37,0,37,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造   ",{"$nulls":5},"第1页 共1页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"机房改造部分-拆除工程"]
["1","桂031401001001","安全文明施工费","∑分部分项、单价措施(人工费+机械费)"]
["2",null,"环境保护费"]
["3",null,"文明施工费"]
["4",null,"安全施工费"]
["5",null,"临时设施费"]
["7","桂031401003001","雨季施工增加费"]
[null,null,"机房改造部分-装饰装修"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
[null,null,"机房改造部分-安装工程"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"      合     计"]
{"$rows_empty":17}
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-15_规费、增值税计价表","index":7,"n_rows":80,"n_cols":5,"rows_kept":80,"merged":[[0,0,0,4],[1,0,1,3],[5,2,12,2],[13,2,18,2],[21,2,27,2],[32,2,37,2],[39,0,39,4],[40,0,40,3],[42,2,43,2]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造",{"$nulls":3},"第1页 共2页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"机房改造部分-拆除工程"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
[null,"机房改造部分-装饰装修"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"机房改造部分-安装工程"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造",{"$nulls":3},"第2页 共2页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["1.2","住房公积金","∑(分部分项人工费+单价措施人工费)"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"       合          计"]
{"$rows_empty":33}
[{"$nulls":4},"表-15"]

{"sheet":"主要材料及价格表(全部工料机)","index":8,"n_rows":152,"n_cols":6,"rows_kept":152,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[42,0,42,5],[43,0,43,2],[43,4,43,5],[84,0,84,5],[85,0,85,2],[85,4,85,5],[126,0,126,5],[127,0,127,2],[127,4,127,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造",{"$nulls":3},"第1页  共4页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,null,"◆人工◆"]
[2,"000301000","建筑装饰人工","元"]
[3,"000501000","安装人工","元"]
[4,"R0101001","建筑综合工日(一类)","工日"]
[5,"R09001","安装拆除工日","元"]
[6,null,"◆材料◆"]
[7,"010000103","型钢（综合）","kg"]
[8,"010103001","螺纹钢筋HRB400E 10以内(综合)","t"]
[9,"010310001","镀锌铁丝(综合)","kg"]
[10,"010310002","镀锌铁丝 Φ4","kg"]
[11,"010310013","镀锌铁丝 Φ0.7","kg"]
[12,"010902001","圆钢HPB300 Φ10以内(综合)","t"]
[13,"022705004","棉纱头","kg"]
[14,"022706004","白布 0.9m","㎡"]
[15,"022706010","破布","kg"]
[16,"022901002","麻袋","㎡"]
[17,"023301001","草袋","㎡"]
[18,"030107004","镀锌螺钉M2～5×4～50","个"]
[19,"030108001","自攻螺钉","百个"]
[20,"030110003","镀锌自攻螺钉 M4～6×20～35","个"]
[21,"030112005","木螺钉 m2～4×6～65","个"]
[22,"030113002","镀锌木螺钉 M4.5～6×15～100","个"]
[23,"030127034","镀锌螺栓 M10×100","套"]
[24,"030156001","膨胀螺栓","套"]
[25,"030156012","膨胀螺栓 M8","套"]
[26,"030156016","膨胀螺栓 M8×80","套"]
[27,"030168004","镀锌锁紧螺母 20","个"]
[28,"030182005","塑料胀管 Φ6~8","颗"]
[29,"030183001","铁钉(综合)","kg"]
[30,"030188001","射钉","百个"]
[31,"031311001","电焊条（综合）","kg"]
[32,"031337001","冲击钻头（综合）","根"]
[33,"031337006","冲击钻头 Φ8","个"]
[34,"031338001","合金钢钻头(综合)","个"]
[35,"031338004","合金钢钻头 Φ10","个"]
[36,"031345001","钢锯条","根"]
[37,"031347002","砂纸(木)","张"]
[38,"031347004","铁砂布","张"]
[]
["主要材料及价格表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造",{"$nulls":3},"第2页  共4页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[39,"032116004","预埋铁件","kg"]
[40,"040102001","普通硅酸盐水泥 32.5MPa","t"]
[41,"040301001","砂(综合)",""]
[42,"040301004","中砂",""]
[43,"040502003","碎石 5～20mm",""]
[44,"040902004","石灰膏",""]
[45,"040903001","石膏粉","kg"]
[46,"040904003","滑石粉","kg"]
[47,"041507003","砼空心砌块 90×190×190","块"]
[48,"041507007","砼空心砌块 190×190×190","块"]
[49,"041507011","砼空心砌块 390×190×190","块"]
[50,"041507013","砼空心砌块配块",""]
[51,"042701004","预制砼块",""]
[52,"050306001","周转板枋材",""]
[53,"050306002","周转枋材",""]
[54,"053501002","竹篾","百根"]
[55,"091501002","埃特板 8mm","㎡"]
[56,"100101001","轻钢龙骨 75×50","kg"]
[57,"100101002","轻钢龙骨 75×40","kg"]
[58,"110301001","成品钢质门（双开）","㎡"]
[59,"110907001","87系列铝合金推拉窗＞2㎡","㎡"]
[60,"130102001","调和漆(综合)","kg"]
[61,"130109001","酚醛磁漆(各种颜色)","kg"]
[62,"130301001","乳胶漆","kg"]
[63,"130311003","成品腻子粉（一般型）","kg"]
[64,"130312002","大白粉","kg"]
[65,"133503001","防水胶(310g/支)","支"]
[66,"134101001","嵌缝料","kg"]
[67,"143315001","羧甲基纤维素","kg"]
[68,"143520001","隔离剂","kg"]
[69,"144101001","植筋结构胶","kg"]
[70,"144108001","乳白胶","kg"]
[71,"172513000","塑料软管","kg"]
[72,"172514002","塑料软管 Φ5","m"]
[73,"290628002","塑料护口 15～20","个"]
[74,"290628004","塑料护口（钢管用）15~20","个"]
[75,"290640001","铜接线卡1.0-2.5","个"]
[76,"291111001","开关盒","个"]
[]
["主要材料及价格表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造",{"$nulls":3},"第3页  共4页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[77,"291112001","接线盒","个"]
[78,"341101001","水",""]
[79,"341301011","标志牌 塑料扁形","个"]
[80,"341508001","其他材料费","元"]
[81,"350103001","胶合板模板 1830×915×18","㎡"]
[82,"350302001","回转扣件","个"]
[83,"350302002","对接扣件","个"]
[84,"350302003","直角扣件","个"]
[85,"350303001","脚手架焊接钢管 Φ48.3×3.6","t"]
[86,"350305001","金属脚手架底座","个"]
[87,"350307002","竹脚手板","㎡"]
[88,"B-C.1","建筑垃圾消纳费 材料费","元"]
[89,"C00010160","其他材料费","元"]
[90,null,"◆商品砼◆"]
[91,"043104003","碎石 GD40  商品普通砼  C20",""]
[92,null,"◆配合比◆"]
[93,"800102003","水泥砂浆 1∶2",""]
[94,"800102004","水泥砂浆 1∶2.5",""]
[95,"800102005","水泥砂浆 1∶3",""]
[96,"800301004","水泥石灰砂浆中砂M5",""]
[97,"802102007","碎石 GD20 中砂水泥 32.5 C20",""]
[98,null,"◆主材◆"]
[99,"233700000","探测器","个"]
[100,"264902001","3P32A漏电断路器","个"]
[101,"550907000","16-18位电箱","台"]
[102,"550907000","7-9位电箱","台"]
[103,"B-Z.1","5厚浮法白玻与6mm单片铯钾防火玻璃 主材费","元"]
[104,"Z260501001","照明开关","个"]
[105,"Z264101001","五孔插座","套"]
[106,"Z280301000","ZR-BV-3*2.5mm2铜芯电线","m"]
[107,"Z280301000","ZR-BV-3*6mm2铜芯电线","m"]
[108,"Z290302000","PVC-39*19燃线槽安装","m"]
[109,"Z290302000","PVC-50*15阻燃线槽 弧形","m"]
[110,null,"◆机械台班组成◆"]
[111,"000301001","机械台班人工费","元"]
[112,"140301004","国V汽油 92#","kg"]
[113,"341103001","电","kW.h"]
[114,"994701003","停滞费","元"]
[]
["主要材料及价格表"]
["工程名称:昆仑校区轨道汽车楼实训基地交通信息工程学院机房改造",{"$nulls":3},"第4页  共4页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[115,"994701004","折旧费","元"]
[116,"994701005","大修理费","元"]
[117,"994701006","经常修理费","元"]
[118,"994701007","安拆及场外运输费","元"]
[119,"994701008","其他费用","元"]
[120,null,"◆机械◆"]
[121,"980502011","手持式万用表","台班"]
[122,"981110002","绝缘电阻测试仪 ZC-8","台班"]
[123,"984703001","火灾探测器实验器 BHTS-1","台班"]
[124,"990506002","混凝土振捣器[插入式]","台班"]
[125,"990509001","灰浆搅拌机[拌筒容量200L]","台班"]
[126,"990704004","载货汽车[装载质量4t]","台班"]
[127,"991523003","手提砂轮机[砂轮直径Φ150]","台班"]
[128,"991701001","钢筋调直机[直径14mm]","台班"]
[129,"991702001","钢筋切断机[直径40mm]","台班"]
[130,"991703001","钢筋弯曲机[直径40mm]","台班"]
[131,"992101001","木工圆锯机[直径500mm]","台班"]
[132,"992501004","交流电弧焊机[容量40kVA]","台班"]
[133,"994301001","电动空气压缩机[排气量0.3/min]","台班"]
[134,"994508001","电锤 520W","台班"]
[135,"J00020010","其他机械费","元"]
[136,"J04080101","加盖自卸垃圾车[4.5T]","台班"]
[137,null,"#### 合 计 ####"]