{"text_format":"3","workbook":"xls","n_sheets":14,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-01_总说明","表-02_建设项目投标报价汇总表","表-03_单项工程投标报价汇总表","表-04_单位工程投标报价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-12_其他项目清单与计价汇总表","表-12-1_暂列金额明细表","表-14_税前项目清单与计价表","表-15_规费、增值税计价表","主要材料价格表(打勾部分)","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,3],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"路桥工程学院桥梁工程虚拟仿真实训室建设",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西交通职业技术学院"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02"]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":49,"n_cols":9,"rows_kept":49,"merged":[[3,1,3,6],[7,1,7,7],[16,2,17,4],[16,6,17,8],[17,0,17,1],[18,2,18,4],[18,6,18,8],[24,0,24,1],[24,2,25,4],[24,6,25,8],[25,0,25,1],[26,2,26,4],[26,6,26,8],[32,2,33,4],[32,6,33,8],[33,0,33,1],[34,2,34,4],[34,6,34,8],[41,0,41,1],[41,2,41,4],[41,6,41,8],[46,2,46,7]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"路桥工程学院桥梁工程虚拟仿真实训室建设",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西交通职业技术学院"]
["  招  标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",{"$nulls":4},"复 核 时 间："]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","路桥工程学院桥梁工程虚拟仿真实训室建设","第1页 共1页"]
["一、工程概况：本工程位于广西交通职业技术学院昆仑校区内。\n\n  \n二、编制依据:\n（一）、设计图纸。\n（二）、《建设工程工程量清单计价规范》GB50500-2013及配套使用的广西清单实施细则。 \n（三）、《建设工程工程量计算规范》GB50854～50862-2013及配套使用的广西清单实施细则(修订版)。 \n\n"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-02_建设项目投标报价汇总表","index":3,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
[null,"        投标报价合计"]
{"$rows_empty":28}
[{"$nulls":4},"表-02"]

{"sheet":"表-03_单项工程投标报价汇总表","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","拆除工程"]
["1.2","建筑装饰装修工程"]
["1.3","安装工程"]
["1.4","智能化工程"]
[null,"        投标报价合计"]
{"$rows_empty":24}
[{"$nulls":4},"表-03"]

{"sheet":"表-04_单位工程投标报价汇总表","index":5,"n_rows":84,"n_cols":4,"rows_kept":84,"merged":[[0,0,0,3],[1,0,1,2],[42,0,42,3],[43,0,43,2]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设",null,null,"第1页 共2页"]
["序号","汇总内容","金额(元)","备注"]
[null,"拆除工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
[" 5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
[null,"建筑装饰装修工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"安装工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"智能化工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
[null,null," ","表-04"]
["单位工程投标报价汇总表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设",null,null,"第2页 共2页"]
["序号","汇总内容","金额(元)","备注"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"工程项目汇总"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
["5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
["5","规费"]
["6","增值税"]
{"$rows_empty":24}
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":369,"n_cols":8,"rows_kept":369,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[43,0,43,7],[44,0,44,5],[44,6,44,7],[45,0,47,0],[45,1,47,1],[45,2,47,2],[45,3,47,3],[45,4,47,4],[45,5,45,7],[46,5,47,5],[46,6,47,6],[82,0,82,7],[83,0,83,5],[83,6,83,7],[84,0,86,0],[84,1,86,1],[84,2,86,2],[84,3,86,3],[84,4,86,4],[84,5,84,7],[85,5,86,5],[85,6,86,6],[121,0,121,7],[122,0,122,5],[122,6,122,7],[123,0,125,0],[123,1,125,1],[123,2,125,2],[123,3,125,3],[123,4,125,4],[123,5,123,7],[124,5,125,5],[124,6,125,6],[161,0,161,7],[162,0,162,5],[162,6,162,7],[163,0,165,0],[163,1,165,1],[163,2,165,2],[163,3,165,3],[163,4,165,4],[163,5,163,7],[164,5,165,5],[164,6,165,6],[202,0,202,7],[203,0,203,5],[203,6,203,7],[204,0,206,0],[204,1,206,1],[204,2,206,2],[204,3,206,3],[204,4,206,4],[204,5,204,7],[205,5,206,5],[205,6,206,6],[243,0,243,7],[244,0,244,5],[244,6,244,7],[245,0,247,0],[245,1,247,1],[245,2,247,2],[245,3,247,3],[245,4,247,4],[245,5,245,7],[246,5,247,5],[246,6,247,6],[284,0,284,7],[285,0,285,5],[285,6,285,7],[286,0,288,0],[286,1,288,1],[286,2,288,2],[286,3,288,3],[286,4,288,4],[286,5,286,7],[287,5,288,5],[287,6,288,6],[326,0,326,7],[327,0,327,5],[327,6,327,7],[328,0,330,0],[328,1,330,1],[328,2,330,2],[328,3,330,3],[328,4,330,4],[328,5,328,7],[329,5,330,5],[329,6,330,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设 ",{"$nulls":5},"第1页 共9页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"拆除工程"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["1","011601001001","砖砌体隔墙拆除","","9.60"]
[null,null,"1.拆除部位:人工拆除"]
[null,null,"2.砌体名称:轻质砖墙"]
[null,null,"3.砌体材质:轻质砖"]
[null,null,"4.拆除高度:2.7m"]
[null,null,"5.拆除砌体的截面尺寸:200mm"]
["2","011605002001","立面块料拆除","㎡","15.82"]
[null,null,"1.拆除部位:踢脚线"]
[null,null,"2.饰面材料种类:陶瓷砖 120mm高"]
["3","011610002001","金属门窗拆除","㎡","12.77"]
[null,null,"1.门窗洞口尺寸:1520*2100"]
[null,null,"G.4 渣土场外运输"]
["4","010103002001","弃渣弃置","","13.43"]
[null,null,"1.废弃料品种:砖渣"]
[null,null,"2.运距:1KM内"]
[null,null,"3.加盖4.5t自卸汽车运渣 人工装"]
[null,null,"4.建筑垃圾消纳费"]
["5","桂010103003001","弃渣运输增（减）m3·km","·km","188.02"]
[null,null,"1.加盖4.5t自卸汽车运渣"]
[null,null,"2.运距增加14KM"]
["6","011613001001","灯具拆除","套","30"]
[null,null,"原灯具拆除"]
["7","011613001002","吊扇拆除","套","30"]
["8","011613001003","配电箱拆除","套","2"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设 ",{"$nulls":5},"第2页 共9页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"建筑装饰装修工程"]
[null,null,"分部分项工程"]
[null,null,"A.6 金属结构工程"]
["9","010606007001","台阶钢结构制作安装","t","0.950"]
[null,null,"1.钢材品种、规格:QB235 镀锌方通 30mm*30mm*3.0mm厚"]
[null,null,"2.构件运距:1KM内"]
[null,null,"A.9 楼地面工程"]
["10","011101005001","自流坪楼地面","㎡","291.50"]
[null,null,"1.普通自流平找平地面"]
["11","011103004001","塑料卷材楼地面","㎡","291.50"]
[null,null,"1.面层材料品种、规格、颜色:2mm厚PVC塑胶地板"]
[null,null,"2.款式由业主选定"]
["12","011104002001","台阶面层","㎡","35.50"]
[null,null,"1.基层材料种类、规格:15mm厚板基层"]
[null,null,"2.面层材料品种、规格、颜色:5mm厚木饰面板"]
["13","011102001001","大理石门槛石","㎡","1.42"]
[null,null,"1.结合层厚度、砂浆种类、配合比:30mm厚1:4干硬性水泥砂浆结合层"]
[null,null,"2.面层材料品种、规格、颜色:20mm厚云多拉灰大理石"]
[null,null,"3.石材倒角磨平边"]
[null,null,"A.10 墙、柱面工程"]
["14","011207001001","轻钢龙骨墙（弧形）","㎡","93.31"]
[null,null,"1.龙骨材料种类、规格、中距:轻钢龙骨架 中距400"]
[null,null,"2.基层材料种类、规格:9mm厚阻燃板 双面"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设 ",{"$nulls":5},"第3页 共9页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"3.面层材料品种、规格、颜色:9.5mm厚石膏板"]
["15","011207001002","弧形墙面造型","㎡","18.00"]
[null,null,"1.龙骨材料种类、规格、中距:轻钢龙骨架 中距400"]
[null,null,"2.基层材料种类、规格:9mm厚阻燃板"]
[null,null,"3.面层材料品种、规格、颜色:9.5mm厚石膏板"]
["16","011207001003","木饰面板装饰墙","㎡","54.18"]
[null,null,"1.龙骨材料种类、规格、中距:轻钢龙骨架 中距400"]
[null,null,"2.基层材料种类、规格:9mm厚阻燃板 双面"]
[null,null,"3.面层材料品种、规格、颜色:5mm厚木饰面板"]
[null,null,"A.11 天棚工程"]
["17","011302001001","造型吊顶","㎡","137.27"]
[null,null,"1.龙骨材料种类、规格、中距:轻钢天棚龙骨(不上人型) 跌级"]
[null,null,"2.基层材料种类、规格:9mm阻燃板基层"]
[null,null,"3.面层材料品种、规格:9.5mm石膏板面层"]
[null,null,"4.嵌缝材料种类:天棚板面嵌缝"]
["18","011304001001","天棚灯带","㎡","22.30"]
[null,null,"1.灯带型式：悬挑式灯槽 弧型"]
[null,null,"2.基层：9mm阻燃板基层"]
[null,null,"3.面层：9.5mm厚石膏板"]
["19","011304001002","台阶灯带","㎡","16.00"]
[null,null,"1.灯带型式：悬挑式灯槽 弧型"]
[null,null,"2.基层：9mm阻燃板基层"]
[null,null,"A.12 门窗工程"]
["20","010801001001","定制隐形门（成品）","㎡","1.60"]
[null,null,"1.规格：800*2000"]
[null,null,"2.含门窗制作、安装、运输及五金配件"]
["21","010802003001","定制甲级木质防火门（成品）","㎡","9.58"]
[null,null,"1.门框、扇材质及规格:1520*2100"]
["22","桂010811001001","防火锁","套","3"]
[null,null,"1.符合消防部门要求的合格产品"]
["23","桂010811001002","闭门器","套","6"]
[null,null,"1.符合消防部门要求的合格产品"]
["24","桂010811001003","顺序器","套","3"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设 ",{"$nulls":5},"第4页 共9页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.符合消防部门要求的合格产品"]
["25","桂010811001004","防火铰链","副","18"]
[null,null,"1.符合消防部门要求的合格产品"]
["26","010810002001","木窗帘盒","m","65.00"]
[null,null,"1.大芯板基层18mm厚"]
[null,null,"2.石膏板面层 9.5mm厚"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["27","011406003001","内墙面满刮腻子","㎡","148.31"]
[null,null,"1.满刮成品腻子 二遍"]
[null,null,"2.品牌相当于或优于“多乐士”“立邦”“华润”"]
["28","011406003002","天棚满刮腻子两道","㎡","275.00"]
[null,null,"1.满刮成品腻子 二遍"]
[null,null,"2.品牌相当于或优于“多乐士”“立邦”“华润”"]
["29","011407001001","墙面喷（刷）涂料","㎡","228.31"]
[null,null,"1.环保型乳胶漆三遍 高光"]
[null,null,"2.品牌相当于或优于“多乐士”“立邦”“华润”"]
["30","011407002001","天棚喷（刷）涂料","㎡","275.00"]
[null,null,"1.环保型乳胶漆三遍 高光"]
[null,null,"2.品牌相当于或优于“多乐士”“立邦”“华润”"]
["31","011407002002","天棚喷（刷）涂料","㎡","243.00"]
[null,null,"1.环保型黑色乳胶漆二遍"]
[null,null,"2.品牌相当于或优于“多乐士”“立邦”“华润”"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[null,"011703","垂直运输"]
["32","桂011703002001","局部装饰装修垂直运输","㎡","330.00"]
[null,null,"1.部位：6楼教室，层高约4m，人工二次搬运材料到施工现场"]
[null,"011710","已完工程保护费"]
["33","桂011710001001","楼地面成品保护","㎡","330.00"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设 ",{"$nulls":5},"第5页 共9页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.保护材料种类、规格:"]
["34","桂011710006001","门窗成品保护","㎡"]
[null,null,"1.保护材料种类、规格:"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"安装工程"]
[null,null,"分部分项工程"]
[null,null,"B4 电气设备安装工程"]
["35","030404017001","配电箱","台","1"]
[null,null,"箱内元器配置详见系统图"]
[null,null,"配电箱箱体铁皮厚度≥1.2㎜"]
[null,null,"安装方式：距地1.5米明装"]
[null,null,"元器件：相当于或优于“德力西”“正泰”"]
["36","030404034001","单联单控开关 250V 10A","套","2"]
[null,null,"含接线盒"]
[null,null,"安装方式：距地1.3米明装"]
[null,null,"品牌相当于或优于“松可”或“TCL”“西门子”"]
["37","030404034002","双联单控开关","套","2"]
[null,null,"含接线盒"]
[null,null,"安装方式：距地1.3米明装"]
[null,null,"品牌相当于或优于“松可”或“TCL”“西门子”"]
["38","030404034003","三联单控开关","套","4"]
[null,null,"含接线盒"]
[null,null,"安装方式：距地1.3米明装"]
[null,null,"品牌相当于或优于“松可”或“TCL”“西门子”"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设 ",{"$nulls":5},"第6页 共9页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["39","030404034004","四联单控开关","套","2"]
[null,null,"含接线盒"]
[null,null,"安装方式：距地1.3米明装"]
[null,null,"品牌相当于或优于“松可”或“TCL”“西门子”"]
["40","030404035001","明装五孔插座","套","92"]
[null,null,"规格型号：86-220V-10A"]
[null,null,"品牌相当于或优于“松可”或“TCL”“西门子”"]
[null,"030411","配管、配线"]
["41","030411002001","金属桥架及配件安装 MR200*100 δ=1.5mm","m","35.00"]
[null,null,"沿墙、楼板、梁底敷设"]
[null,null,"明敷 沿梁底0.3米"]
[null,null,"防火桥架"]
[null,null,"品牌：参照或相当于“乔顿”"]
["42","030413001001","金属桥架支架制作、安装","kg","15.10"]
[null,null,"支架材质：角钢 30*3"]
["43","031201003001","桥架支架刷油","kg","15.10"]
[null,null,"刷油要求：刷防锈漆两遍，调和漆两遍"]
["44","030408001001","电力电缆","m","68.00"]
[null,null,"1.型号：DWZ-YJV-4*95+1*50铜芯电缆"]
[null,null,"2.敷设方式、部位:沿桥架敷设 主配电箱"]
["45","030408006001","电力电缆头","个","2"]
["46","030411001001","硬塑线管 PVCφ20","m","369.00"]
[null,null,"安装方式：吊顶内敷设"]
["47","桂030411007001","包塑金属软管 φ20","根","105"]
[null,null,"软管长度L=1m"]
[null,null,"吊顶内敷设"]
["48","030411004001","管内配线阻燃铜芯线 BV-2.5mm2","m","1900.00"]
[null,null,"品牌：参照或相当于“阳工”"]
["49","030411004002","管内配线阻燃铜芯线 BV-4mm2","m","1450.00"]
[null,null,"品牌：参照或相当于阳工"]
[null,"030412","照明器具安装"]
["50","030412001001","节能灯","套","18"]
[null,null,"LED节能灯1*20W"]
[null,null,"安装方式：吊装"]
[null,null,"品牌相当于或优于“欧普”“雷士”“飞利浦”照明"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设 ",{"$nulls":5},"第7页 共9页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["51","030412004001","LED筒灯（明装）","套","43"]
[null,null,"规格：1*5W"]
[null,null,"安装方式：吸顶安装"]
[null,null,"品牌相当于或优于“欧普”“雷士”“飞利浦”照明"]
["52","030412004002","LED筒灯（暗装）","套","41"]
[null,null,"规格：1*5W"]
[null,null,"安装方式：嵌入式安装"]
[null,null,"品牌相当于或优于“欧普”“雷士”“飞利浦”照明"]
["53","030412004003","LED灯带","m","165.00"]
[null,null,"规格：14W/m"]
[null,null,"安装方式：吊顶内安装"]
[null,null,"品牌相当于或优于“欧普”“雷士”“飞利浦”照明"]
["54","030412004004","安全出口消防应急标志灯","套","4"]
[null,null,"（大型） TY-BLJC 系列 1W A型 门上0.2m壁挂"]
["55","030412004005","单面单向消防应急标志灯","套","4"]
[null,null,"（大型） TY-BLJC 系列 1W  A型距地0.3m壁挂、嵌墙"]
["56","030412004006","消防应急照明灯","套","4"]
[null,null,"TY-ZFJC 系列 3W A型 距地2.5m壁挂"]
[null,"030414","电气调整试验"]
["57","030414002001","送配电装置系统","系统","1"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设 ",{"$nulls":5},"第8页 共9页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"智能化工程"]
[null,null,"分部分项工程"]
[null,null,"B5.1 建筑智能化系统设备安装工程-综合布线系统"]
["58","030502012001","网络双口面板","个","78"]
[null,null,"1.距地0.35米 安装"]
["59","030411002002","金属桥架及配件安装 MR200*100 δ=1.5mm","m","35.00"]
[null,null,"沿墙、楼板、梁底敷设"]
[null,null,"明敷 沿梁底0.3米"]
[null,null,"防火桥架"]
[null,null,"品牌：参照或相当于“乔顿”"]
["60","030413001002","金属桥架支架制作、安装","kg","15.10"]
[null,null,"支架材质：角钢 30*3"]
["61","031201003002","桥架支架刷油","kg","15.10"]
[null,null,"刷油要求：刷防锈漆两遍，调和漆两遍"]
["62","030411001002","阻燃硬塑料管PVC-φ25","m","380.00"]
[null,null,"1.配置形式及部位：沿墙内或吊顶敷设"]
[null,null,"2.品牌：参照或相当于“雄塑”"]
["63","030502005001","管内穿超五类非屏蔽双绞线","m","2860.00"]
[null,null,"1.品牌由于或相当于“罗格朗”“一舟”"]
["64","030502005002","2.桥架内穿超五类非屏蔽双绞线","m","300.00"]
["65","030502001001","机柜","台","1"]
[null,null,"1.规格：42U,600*800*200"]
[null,null,"2.不含柜内设备"]
["66","桂030502023001","综合布线系统调试","系统","1"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设 ",{"$nulls":5},"第9页 共9页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":18}
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":7,"n_rows":35,"n_cols":7,"rows_kept":35,"merged":[[0,0,0,6],[1,0,1,4],[5,3,6,3],[8,3,13,3],[16,3,19,3],[22,3,24,3],[27,3,29,3],[33,0,33,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设   ",{"$nulls":5},"第1页 共1页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"拆除工程"]
["一",null,"建筑拆除工程(营改增)简易计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["3","桂011801003001","雨季施工增加费"]
["二",null,"安装拆除工程(营改增)简易计税法"]
["1","桂031401001002","安全文明施工费","∑分部分项、单价措施(人工费+机械费)"]
["1.1",null,"环境保护费"]
["1.2",null,"文明施工费"]
["1.3",null,"安全施工费"]
["1.4",null,"临时设施费"]
["3","桂031401003002","雨季施工增加费"]
[null,null,"建筑装饰装修工程"]
["一",null,"建筑装饰装修工程(营改增)一般计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
[null,null,"安装工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"智能化工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"      合     计"]
[]
[]
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-12_其他项目清单与计价汇总表","index":8,"n_rows":42,"n_cols":4,"rows_kept":42,"merged":[[0,0,0,3],[1,0,1,2],[41,0,41,2]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设   ",null,null,"第1页 共1页"]
["序号","项目名称","金额（元）","备注"]
[null,"拆除工程"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"建筑装饰装修工程"]
["1","暂列金额",{"v":16000,"d":"16000.00"},"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"安装工程"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"智能化工程"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"            合           计",{"v":16000,"d":"16000.00"}]
{"$rows_empty":13}
["注:材料暂估单价进入清单综合单价，此处不汇总。",null,null,"表－12"]

{"sheet":"表-12-1_暂列金额明细表","index":9,"n_rows":41,"n_cols":5,"rows_kept":41,"merged":[[0,0,0,4],[1,0,1,2],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,3,3],[2,4,3,4],[39,0,39,4]],"flags":["formulas_cached_only"]}
["暂列金额明细表"]
["工程名称：路桥工程学院桥梁工程虚拟仿真实训室建设",{"$nulls":3},"第1页 共1页"]
["序号","项目名称","计量单位","暂定金额(元)","备注"]
[]
[null,"拆除工程"]
["1","暂列金额"]
[null,"建筑装饰装修工程",null,{"v":16000,"d":"16000.00"}]
["1","暂列金额","项",{"v":16000,"d":"16000.00"}]
[null,"暂列金","项",{"v":16000,"d":"16000.00"}]
[null,"安装工程"]
["1","暂列金额"]
[null,"智能化工程"]
["1","暂列金额"]
[null,"            合       计",null,{"v":16000,"d":"16000.00"}]
{"$rows_empty":25}
["注：此表由招标人填写，如不能详列，也可只列暂定金额总额，投标人应将上述暂列金额计入总价中。"]
[{"$nulls":4},"表－12－1"]

{"sheet":"表-14_税前项目清单与计价表","index":10,"n_rows":42,"n_cols":7,"rows_kept":42,"merged":[[0,0,0,6],[1,0,1,4],[1,5,1,6],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,6],[3,5,4,5],[3,6,4,6],[40,0,40,6],[41,0,41,4]],"flags":["formulas_cached_only"]}
["税前项目清单与计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设 ",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称及项目特征\r\n描述","计量单位","工程量","金  额(元)"]
[{"$nulls":5},"单价","合 价"]
[]
[null,null,"建筑装饰装修工程"]
["1","011207001004","移动展示墙","㎡","15.96"]
[null,null,"1.龙骨材料种类、规格、中距:镀锌方通龙骨"]
[null,null,"2.面层材料品种、规格、颜色:2.0mm厚穿孔铝板"]
["2","010805001001","定制安装电子感应玻璃门","㎡","5.50"]
[null,null,"1.门框、扇材质:不锈钢片包门框 钢龙骨"]
[null,null,"2.玻璃品种、厚度:12mm厚钢化玻璃"]
[null,null,"3.款式由业主选定"]
["3","011304001003","圆形软膜造型","㎡","15.00"]
[null,null,"1.轻钢龙骨架基层"]
[null,null,"2.基层：9mm阻燃板基层"]
[null,null,"3.面层：9.5mm厚石膏板"]
[null,null,"4.板面嵌缝"]
[null,null,"5.板面嵌缝造型透光软膜"]
[null,null,"6.含制作、安装人工及材料"]
["4","011304001004","圆柱灯","个","8"]
[null,null,"1.轻钢龙骨架基层"]
[null,null,"2.基层：9mm阻燃板基层"]
[null,null,"3.面层：9.5mm厚石膏板"]
[null,null,"4.板面嵌缝"]
[null,null,"5.板面嵌缝造型透光软膜"]
[null,null,"6.含制作、安装人工及材料"]
["5","011105006001","发光不锈钢踢脚线（成品）","m","70.66"]
[null,null,"1.规格：40mm高 1.0mm厚黑钛不锈钢 内嵌LED灯带"]
[null,null,"2.含材料及安装人工"]
[null,null,"3.款式由业主选定"]
["6","010810001001","布艺窗帘（一层布艺一层纱）","m","30.00"]
[null,null,"1.成品定制、含人工安装及辅材等"]
[null,null,"2.褶皱 1:2 （按窗宽度*2计算），窗帘高度2.8m"]
[null,null,"3.款式由业主选定"]
[null,null,"               合             计"]
[]
[]
[]
[]
["注：税前项目包含除增值税以外的所有费用。"]
[{"$nulls":6},"表-14"]

{"sheet":"表-15_规费、增值税计价表","index":11,"n_rows":116,"n_cols":5,"rows_kept":116,"merged":[[0,0,0,4],[1,0,1,3],[6,2,11,2],[12,2,13,2],[14,2,19,2],[22,2,29,2],[30,2,35,2],[37,0,37,4],[38,0,38,3],[43,2,49,2],[55,2,62,2],[67,2,73,2],[75,0,75,4],[76,0,76,3]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设",{"$nulls":3},"第1页 共3页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"拆除工程"]
["一","建筑拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金","分部分项及单价措施工程费+总价措施项目费+其他项目费"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
["二","安装拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设",{"$nulls":3},"第2页 共3页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"建筑装饰装修工程"]
["一","建筑装饰装修工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"安装工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"智能化工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设",{"$nulls":3},"第3页 共3页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["1.3","工程排污费","∑(分部分项人工费+单价措施人工费)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"       合          计"]
{"$rows_empty":34}
[{"$nulls":4},"表-15"]

{"sheet":"主要材料价格表(打勾部分)","index":12,"n_rows":71,"n_cols":6,"rows_kept":71,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[42,0,42,5],[43,0,43,2],[43,4,43,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设",{"$nulls":3},"第1页  共2页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,"000301000","建筑装饰人工","元"]
[2,"R0101001","建筑综合工日(一类)","工日"]
[3,"010902001","圆钢HPB300 Φ10以内(综合)","t"]
[4,"010902002","圆钢HPB300 Φ10以上(综合)","t"]
[5,"011301001","扁钢(综合)","t"]
[6,"012102001","等边角钢(综合)","t"]
[7,"012901031","中厚钢板 4.1～20mm","t"]
[8,"012913002","花纹钢板 4～8mm","t"]
[9,"030156001","膨胀螺栓","套"]
[10,"030183001","铁钉(综合)","kg"]
[11,"030311004","防火铰链","副"]
[12,"030312001","闭门器（明装）","套"]
[13,"030312001","顺序器","套"]
[14,"030316018","防火锁","把"]
[15,"031311001","电焊条（综合）","kg"]
[16,"032118013","镀锌全螺纹吊杆Φ6","m"]
[17,"040102001","普通硅酸盐水泥 32.5MPa","t"]
[18,"050301001","一等杉木板枋材(综合)",""]
[19,"050301003","一等杉木枋材",""]
[20,"050304004","二等松杂板枋材(综合)",""]
[21,"050501004","5mm厚木饰面板","㎡"]
[22,"050501008","9mm厚阻燃板","㎡"]
[23,"050501008","阻燃板 9mm","㎡"]
[24,"050501009","阻燃板 9mm","㎡"]
[25,"050901002","大芯板 12mm","㎡"]
[26,"050901004","大芯板 18mm","㎡"]
[27,"071301002","5mm厚木饰面板","㎡"]
[28,"072101003","2mm厚PVC塑胶地板","㎡"]
[29,"080101003","20mm厚云多拉灰大理石","㎡"]
[30,"090101001","9.5mm厚石膏板","㎡"]
[31,"090101002","9.5mm厚石膏板","㎡"]
[32,"110101001","木质防火门(成品)","㎡"]
[33,"130301001","净味环保内墙乳胶漆","kg"]
[34,"130301001","乳胶漆","kg"]
[35,"130311003","成品腻子粉（一般型）","kg"]
[36,"133508002","嵌缝膏","kg"]
[37,"143901001","乙炔气",""]
[38,"144108001","乳白胶","kg"]
[]
["主要材料及价格表"]
["工程名称:路桥工程学院桥梁工程虚拟仿真实训室建设",{"$nulls":3},"第2页  共2页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[39,"341101001","水",""]
[40,"042702006","盖板","m"]
[41,"182108000","挠性管(带接头)","根"]
[42,"290602000","阻燃硬塑料管PVC-φ20","m"]
[43,"301302000","8位模式信息插座","个"]
[44,"550117001","成套配电箱","台"]
[45,"550119001","机柜（机架）","个"]
[46,"Z010000103","型钢(综合)","kg"]
[47,"Z130118001","酚醛清漆","kg"]
[48,"Z130507011","醇酸防锈漆 C53-1","kg"]
[49,"Z250001001","5寸LED筒灯","套"]
[50,"Z250001001","LED灯带","套"]
[51,"Z250001001","安全出口消防应急标志灯（大型） TY-BLJC 系列 1W A型","套"]
[52,"Z250001001","成套灯具","套"]
[53,"Z250001001","单面单向消防应急标志灯（大型） TY-BLJC 系列 1W  A型","套"]
[54,"Z250001001","消防应急照明灯 TY-ZFJC 系列 3W A型","套"]
[55,"Z250001001","小吊灯","套"]
[56,"Z260501001","四联单控开关","个"]
[57,"Z260501001","照明开关","个"]
[58,"Z264101001","明装五孔插座","套"]
[59,"Z280301000","铜芯塑料绝缘导线","m"]
[60,"Z280311000","双绞线缆","m"]
[61,"Z281100000","DWZ-YJV-4*95+1*50铜芯电缆","m"]
[62,"Z290101000","桥架","m"]
[63,"Z290604000","硬塑线管 PVCφ20","m"]
[64,"000301001","机械台班人工费","元"]

{"sheet":"Sheet1","index":13,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}