{"text_format":"3","workbook":"xls","n_sheets":12,"sheets":["封-2_招标控制价","扉-2_招标控制价","表-01_总说明","表-02_建设项目招标控制价汇总表","表-03_单项工程招标控制价汇总表","表-04_单位工程招标控制价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-09_工程量清单综合单价分析表","表-11_总价措施项目清单与计价表","表-14_税前项目清单与计价表","表-15_规费、增值税计价表","主要材料及价格表(全部工料机)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-2_招标控制价","index":0,"n_rows":12,"n_cols":4,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,2],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",null,"工程"]
[null,"工程量清单"]
[null,null,"广西交通职业技术学院"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[null,null,"广西万安工程咨询有限公司"]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[null,"2022年07月23日"]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02\r\n"]
[]
[{"$nulls":3},"封-2"]

{"sheet":"扉-2_招标控制价","index":1,"n_rows":46,"n_cols":9,"rows_kept":46,"merged":[[1,1,1,6],[5,1,5,7],[11,0,11,1],[11,3,11,7],[13,3,14,7],[18,2,19,4],[18,6,19,8],[19,0,19,1],[20,2,20,4],[20,6,20,8],[24,0,24,1],[24,2,25,4],[24,6,25,8],[25,0,25,1],[26,2,26,4],[26,6,26,8],[30,2,31,4],[30,6,31,8],[31,0,31,1],[32,2,32,4],[32,6,32,8],[37,0,37,1],[37,2,37,4],[37,6,37,8],[42,2,42,6]],"flags":["formulas_cached_only"]}
[]
[null,"交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":5},"工程"]
[]
[]
[]
[null,"工程量清单"]
[]
[]
[]
[]
[]
["  招标控制价",null,"(小写):"," "]
[]
[]
[null,null,"(大写):"]
[]
[]
[]
[null,null,"广西交通职业技术学院",null,null,"工程造价  ","广西万安工程咨询有限公司"]
["  招  标  人:",{"$nulls":4},"咨 询 人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
["  编 制 时 间:",null,"2022年07月23日",null,null,"复 核 时 间："]
{"$rows_empty":7}
[{"$nulls":8},"扉-2"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设","第1页 共1页"]
["一、工程概况：本工程位于广西交通职业技术学院园湖校区。\r\n\r\n  \r\n二、编制依据:\r\n（一）、设计图纸。\r\n（二）、《建设工程工程量清单计价规范》GB50500-2013及配套使用的广西清单实施细则。 \r\n（三）、《建设工程工程量计算规范》GB50854～50862-2013及配套使用的广西清单实施细则(修订版)。 \r\n（四）、2013年《广西壮族自治区建筑装饰装修工程消耗量定额》及其计价相关规定、及其计价相关规定、2015年《广西壮族自治区安装工程消耗量定额》及其计价相关规定、2011年版《广西壮族自治区建筑工程拆除消耗量定额》及其计价相关规定、2013年版《广西壮族自治区安装拆除工程消耗量及费用定额》及其计价相关规定。 \r\n（五）、桂建标[2018]19号文关于调整建设工程定额人工费及有关费率的通知。 \r\n（六）、桂建标[2016]17号文《自治区住房城乡建设厅关于建筑业实施营业税改征值税后广西壮族自治区建设工程计价依据调整的通知》。 \r\n（七）、桂造价[2019]10号文《关于调整除税价计算适用增值税税率的通知》。\r\n\r\n\r\n三、本工程按《南宁市建设工程造价信息》南宁市2022年7月份的价格计取，南宁信息价没有的按市场调查价。\r\n\r\n四、编制范围及其他说明：\r\n    工程量清单中，“余方弃置每增运1公里”项目的工程量暂按14KM考虑。\r\n\r\n"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-02_建设项目招标控制价汇总表","index":3,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["建设项目招标控制价汇总表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
[null,"        招标控制价合计"]
{"$rows_empty":28}
[{"$nulls":4},"表-02"]

{"sheet":"表-03_单项工程招标控制价汇总表","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程招标控制价汇总表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","1+X证书制度试点信创WPS培训基地建设-拆除"]
["1.2","1+X证书制度试点信创WPS培训基地建设-装饰装修"]
["1.3","1+X证书制度试点信创WPS培训基地建设-安装"]
[null,"        招标控制价合计"]
{"$rows_empty":25}
[{"$nulls":4},"表-03"]

{"sheet":"表-04_单位工程招标控制价汇总表","index":5,"n_rows":84,"n_cols":4,"rows_kept":84,"merged":[[0,0,0,3],[1,0,1,2],[42,0,42,3],[43,0,43,2]],"flags":["formulas_cached_only"]}
["单位工程招标控制价汇总表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",null,null,"第1页 共2页"]
["序号","汇总内容","金额(元)","备注"]
[null,"1+X证书制度试点信创WPS培训基地建设-拆除"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
[" 5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
[null,"1+X证书制度试点信创WPS培训基地建设-装饰装修"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"1+X证书制度试点信创WPS培训基地建设-安装"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"工程项目汇总"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
[null,null," ","表-04"]
["单位工程招标控制价汇总表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",null,null,"第2页 共2页"]
["序号","汇总内容","金额(元)","备注"]
["5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
["5","规费"]
["6","增值税"]
{"$rows_empty":34}
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":273,"n_cols":8,"rows_kept":273,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[41,0,41,7],[42,0,42,5],[42,6,42,7],[43,0,45,0],[43,1,45,1],[43,2,45,2],[43,3,45,3],[43,4,45,4],[43,5,43,7],[44,5,45,5],[44,6,45,6],[79,0,79,7],[80,0,80,5],[80,6,80,7],[81,0,83,0],[81,1,83,1],[81,2,83,2],[81,3,83,3],[81,4,83,4],[81,5,81,7],[82,5,83,5],[82,6,83,6],[113,0,113,7],[114,0,114,5],[114,6,114,7],[115,0,117,0],[115,1,117,1],[115,2,117,2],[115,3,117,3],[115,4,117,4],[115,5,115,7],[116,5,117,5],[116,6,117,6],[151,0,151,7],[152,0,152,5],[152,6,152,7],[153,0,155,0],[153,1,155,1],[153,2,155,2],[153,3,155,3],[153,4,155,4],[153,5,153,7],[154,5,155,5],[154,6,155,6],[192,0,192,7],[193,0,193,5],[193,6,193,7],[194,0,196,0],[194,1,196,1],[194,2,196,2],[194,3,196,3],[194,4,196,4],[194,5,194,7],[195,5,196,5],[195,6,196,6],[230,0,230,7],[231,0,231,5],[231,6,231,7],[232,0,234,0],[232,1,234,1],[232,2,234,2],[232,3,234,3],[232,4,234,4],[232,5,232,7],[233,5,234,5],[233,6,234,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设 ",{"$nulls":5},"第1页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1+X证书制度试点信创WPS培训基地建设-拆除"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["1","011601001001","砖砌体拆除","","0.32"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.拆除部位:入户门洞 1800*2450"]
[null,null,"3.砌体材质:多孔页岩砖"]
[null,null,"4.拆除高度:2.45m"]
[null,null,"5.拆除砌体的截面尺寸:240mm"]
["2","011606001001","楼地面龙骨及饰面拆除","㎡","255.45"]
[null,null,"1.龙骨及饰面种类:金属龙骨架 三聚氰胺板面静电地板"]
["3","011606003001","天棚面龙骨及饰面拆除","㎡","255.45"]
[null,null,"1.龙骨及饰面种类:金属龙骨架 600*600石膏板"]
["4","011610002001","金属门窗拆除","㎡","2.80"]
[null,null,"1.拆除部位:入户钢制防盗门"]
[null,null,"2.门窗洞口尺寸:1400*2000"]
["5","010103002001","建筑垃圾弃置","","19.25"]
[null,null,"1.废弃料品种:弃渣、装饰板材"]
[null,null,"2.运距:1KM内"]
[null,null,"3.加盖自卸汽车运渣 4.5T"]
["6","桂010103003001","弃渣运输增（减）m3·km","·km","269.50"]
[null,null,"1.运距增加：14KM"]
[null,null,"1 变配电及低压电器拆除"]
["7","011612001001","照明插座线路拆除","m","650.00"]
["8","011612001002","照明插座线路拆除","m","1800.00"]
["9","011612001003","电缆拆除","m","13.00"]
["10","011613001001","灯具拆除","套","1"]
["11","011613001002","灯具拆除","套","22"]
["12","011613001003","设备机柜拆除","套","1"]
["13","011613001003","空调拆除","套","3"]
[null,null,"1.空调种类:落地式5匹柜机"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设 ",{"$nulls":5},"第2页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"1+X证书制度试点信创WPS培训基地建设-装饰装修"]
[null,null,"分部分项工程"]
[null,null,"A.9 楼地面工程"]
["14","011104002001","竹、木(复合)地板","㎡","255.45"]
[null,null,"1.基层材料种类、规格:泡沫防潮纸"]
[null,null,"2.面层材料品种、规格、颜色:12mm厚强化复合木地板"]
[null,null,"3.颜色由业主选定"]
["15","011105004001","塑料板踢脚线","㎡","7.84"]
[null,null,"1.踢脚线高度:120mm"]
["16","011102001001","门槛石铺贴","㎡","0.43"]
[null,null,"1结合层厚度、砂浆种类、配合比:40mm厚1:4干硬性水泥砂浆结合层"]
[null,null,"2.面层材料品种、规格、颜色:16mm厚黑白根大理石"]
[null,null,"3.嵌缝材料种类:素水泥擦缝"]
[null,null,"4.石材磨边 半圆边"]
[null,null,"A.10 墙、柱面工程"]
["17","011207001001","隔断矮墙","㎡","24.30"]
[null,null,"1.龙骨材料种类、规格、中距:75轻钢龙骨架 中距400"]
[null,null,"3.基层材料种类、规格:9mm厚阻燃板基层（双面）"]
[null,null,"3.面层材料品种、规格、颜色:9.5mm厚普通纸面石膏板（双面）"]
["18","011207001002","形象墙基层","㎡","13.50"]
[null,null,"1.龙骨材料种类、规格、中距:75轻钢龙骨架 中距400"]
[null,null,"3.基层材料种类、规格:9mm厚阻燃板基层（双面）"]
[null,null,"3.面层材料品种、规格、颜色:9.5mm厚普通纸面石膏板"]
["19","011207001003","形象墙造型面层","㎡","13.50"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设 ",{"$nulls":5},"第3页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.龙骨材料种类、规格、中距:木龙骨基层 中距400mm"]
[null,null,"2.基层材料种类、规格:9mm厚阻燃板基层"]
[null,null,"3.面层材料品种、规格、颜色:9.5mm厚普通纸面石膏板"]
["20","011210003001","玻璃隔断","㎡","24.30"]
[null,null,"1.规格：600*1750，4930*1750，6000*1750,2320*1750"]
[null,null,"2.上下0.8mm厚304拉丝不锈钢压型槽框（规格：凹槽型两侧50mm+下底50mm+凹槽15+20+15）"]
[null,null,"3.玻璃种类、厚度：钢化玻璃 10mm厚"]
[null,null,"4.含隔断制作、安装及运输"]
[null,null,"A.11 天棚工程"]
["21","011302001001","造型吊顶","㎡","53.30"]
[null,null,"1.吊顶形式、吊杆规格、高度:跌级吊顶 不上人型"]
[null,null,"2.龙骨材料种类、规格、中距: U型38卡式主骨 50副骨 中距400mm"]
[null,null,"3.基层材料种类、规格:9mm厚阻燃板基层"]
[null,null,"4.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
[null,null,"5.嵌缝材料种类:防开裂嵌缝膏嵌缝"]
["22","011302001002","走边吊顶","㎡","17.10"]
[null,null,"1.吊顶形式、吊杆规格、高度:跌级吊顶 不上人型"]
[null,null,"2.龙骨材料种类、规格、中距: U型38卡式主骨 50副骨 中距400mm"]
[null,null,"3.基层材料种类、规格:9mm厚阻燃板基层"]
[null,null,"4.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
[null,null,"5.嵌缝材料种类:防开裂嵌缝膏嵌缝"]
["23","011302001003","铝方通吊顶","㎡","185.05"]
[null,null,"1.吊顶形式、吊杆规格、高度:跌级吊顶 不上人型"]
[null,null,"2.龙骨材料种类、规格、中距: U型38卡式主骨 中距400mm"]
[null,null,"3.面层材料品种、规格:黑色条形铝合金空腹格栅"]
["24","011304001001","天棚灯带","㎡","25.12"]
[null,null,"1.灯带型式、尺寸:悬挑式灯槽 直型"]
[null,null,"2.基层材料种类、规格:9mm厚阻燃板基层"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设 ",{"$nulls":5},"第4页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"3.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
["25","011304001002","形象墙灯带","㎡","9.30"]
[null,null,"1.灯带型式、尺寸:悬挑式灯槽 直型"]
[null,null,"2.基层材料种类、规格:9mm厚阻燃板基层"]
[null,null,"3.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
["26","010810002001","木窗帘盒","m","39.30"]
[null,null,"1.基层材料种类、规格:9mm厚阻燃板基层"]
[null,null,"2.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
[null,null,"A.12 门窗工程"]
["27","010805005001","不锈钢地弹门（成品）","㎡","4.41"]
[null,null,"1.门框或扇外围尺寸:1800*2450"]
[null,null,"2.框材质及规格:黑钛不锈钢包门框（规格：100*300*100）"]
[null,null,"3.玻璃品种、厚度:10mm厚钢化玻璃"]
[null,null,"4.含不锈钢拉手，优质地弹簧等五金配件"]
[null,null,"5.预留电子感应设备位置"]
["28","010805005002","不锈钢地弹门（成品）","㎡","5.54"]
[null,null,"1.门框或扇外围尺寸:900*2050"]
[null,null,"2.玻璃品种、厚度:10mm厚钢化玻璃"]
[null,null,"3.含不锈钢拉手，优质地弹簧等五金配件"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["29","011406003001","满刮腻子","㎡","211.55"]
[null,null,"1.墙面满刮环保腻子两遍"]
[null,null,"2.品牌参考“多乐士”“嘉宝莉”“立邦”"]
["30","011406003002","天棚满刮腻子","㎡","266.08"]
[null,null,"1.天棚满刮环保腻子两遍"]
[null,null,"2.品牌参考“多乐士”“嘉宝莉”“立邦”"]
["31","011407001001","墙面喷（刷）涂料","㎡","211.55"]
[null,null,"1.天棚涂刷环保净味深灰色面漆两遍"]
[null,null,"2.品牌参考“多乐士”“嘉宝莉”“立邦”"]
["32","011407002001","天棚喷（刷）涂料","㎡","266.08"]
[null,null,"1.天棚涂刷环保净味白色面漆两遍"]
[null,null,"2.品牌参考“多乐士”“嘉宝莉”“立邦”"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设 ",{"$nulls":5},"第5页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"A.14 其他装饰工程"]
["33","010810005001","窗帘轨","m","39.30"]
[null,null,"1.铝合金窗帘轨安装"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
["34","桂011701004001","内装修脚手架","㎡","255.54"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"1+X证书制度试点信创WPS培训基地建设-安装"]
[null,null,"分部分项工程"]
[null,null,"B4 电气设备安装工程"]
["35","030404017001","总配电箱","台","1"]
[null,null,"1.规格：800*600"]
[null,null,"2.箱内元件：100A断路器1个，一级防雷装置一套（含防雷后背保护器），3P63A空开4个，2P32A带漏空开5个，"]
[null,null,"2P16A空开5个，零线铜排，地线铜排"]
[null,null,"3.安装方式：距地1.6m安装"]
["36","030408006001","电力电缆头","个","1"]
["37","030411001001","配管","m","220.00"]
[null,null,"1.PVC25线管 暗敷"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设 ",{"$nulls":5},"第6页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["38","030411004001","照明线路","m","600.00"]
[null,null,"1.铜芯电线BV-2*2.5m2，管内敷设"]
[null,null,"2.品牌相当于“阳工”“桂能”“胜宇”"]
["39","030411004002","插座线路","m","1800.00"]
[null,null,"1.铜芯电线BV-3*4m2，管内敷设"]
[null,null,"2.品牌相当于“阳工”“桂能”“胜宇”"]
["40","030411004003","空调线路","m","225.00"]
[null,null,"1.铜芯电线BV-5*6m2，管内敷设"]
[null,null,"2.品牌相当于“阳工”“桂能”“胜宇”"]
["41","030404035001","地插","套","4"]
[null,null,"1.单、三相暗插座 埋地单相安全插座10A"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
["42","030404035002","五孔插座","套","60"]
[null,null,"1.单、三相暗插座 单相暗插座10A 5孔"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
["43","030404034001","三位照明开关","套","4"]
[null,null,"1.跷板暗开关(单控) 三联"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
["44","030404034002","四位照明开关","套","4"]
[null,null,"1.跷板暗开关(单控) 四联"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
["45","030412005001","灯带","m","72.48"]
[null,null,"1.LED灯带 安装"]
[null,null,"2.品牌相当于“欧普”“雷士”“飞利浦”"]
["46","030412004001","装饰灯","套","47"]
[null,null,"1.筒灯安装 嵌入式"]
[null,null,"2.品牌相当于“欧普”“雷士”“飞利浦”"]
["47","030412005002","LED双管灯（吊链式）","套","36"]
[null,null,"1.LED：1000*1200"]
[null,null,"2.品牌相当于“欧普”“雷士”“飞利浦”"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设 ",{"$nulls":5},"第7页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":21}
[{"$nulls":7},"表-08"]

{"sheet":"表-09_工程量清单综合单价分析表","index":7,"n_rows":278,"n_cols":12,"rows_kept":278,"merged":[[0,0,0,11],[1,0,1,7],[1,8,1,11],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,3,3],[2,4,3,4],[2,6,2,11],[29,0,29,11],[30,0,30,7],[30,8,30,11],[31,0,32,0],[31,1,32,1],[31,2,32,2],[31,3,32,3],[31,4,32,4],[31,6,31,11],[58,0,58,11],[59,0,59,7],[59,8,59,11],[60,0,61,0],[60,1,61,1],[60,2,61,2],[60,3,61,3],[60,4,61,4],[60,6,60,11],[85,0,85,11],[86,0,86,7],[86,8,86,11],[87,0,88,0],[87,1,88,1],[87,2,88,2],[87,3,88,3],[87,4,88,4],[87,6,87,11],[110,0,110,11],[111,0,111,7],[111,8,111,11],[112,0,113,0],[112,1,113,1],[112,2,113,2],[112,3,113,3],[112,4,113,4],[112,6,112,11],[136,0,136,11],[137,0,137,7],[137,8,137,11],[138,0,139,0],[138,1,139,1],[138,2,139,2],[138,3,139,3],[138,4,139,4],[138,6,138,11],[163,0,163,11],[164,0,164,7],[164,8,164,11],[165,0,166,0],[165,1,166,1],[165,2,166,2],[165,3,166,3],[165,4,166,4],[165,6,165,11],[193,0,193,11],[194,0,194,7],[194,8,194,11],[195,0,196,0],[195,1,196,1],[195,2,196,2],[195,3,196,3],[195,4,196,4],[195,6,195,11],[221,0,221,11],[222,0,222,7],[222,8,222,11],[223,0,224,0],[223,1,224,1],[223,2,224,2],[223,3,224,3],[223,4,224,4],[223,6,223,11],[249,0,249,11],[250,0,250,7],[250,8,250,11],[251,0,252,0],[251,1,252,1],[251,2,252,2],[251,3,252,3],[251,4,252,4],[251,6,251,11]],"flags":["formulas_cached_only"]}
["工程量清单综合单价分析表"]
["工程名称：交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":7},"第1页 共10页"]
["序号","项目编码","项目名称及项目\r\n特征描述","单位","工程量","综合单价","综合单价"]
[{"$nulls":5},"（元）","人工费","材料费","机械费","管理费","利润","其中:\r\n暂估价"]
[null,null,"1+X证书制度试点信创WPS培训基地建设-拆除"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["1","011601001001","砖砌体拆除","","0.32"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.拆除部位:入户门洞 1800*2450"]
[null,null,"3.砌体材质:多孔页岩砖"]
[null,null,"4.拆除高度:2.45m"]
[null,null,"5.拆除砌体的截面尺寸:240mm"]
[null,"07010036","拆除砌体 零星砌体","10","0.032"]
["2","011606001001","楼地面龙骨及饰面拆除","㎡","255.45"]
[null,null,"1.龙骨及饰面种类:金属龙骨架 三聚氰胺板面静电地板"]
[null,"07010096","地板拆除 带龙骨 静电地板","100㎡","2.5545"]
["3","011606003001","天棚面龙骨及饰面拆除","㎡","255.45"]
[null,null,"1.龙骨及饰面种类:金属龙骨架 600*600石膏板"]
[null,"07010124","天棚拆除 石膏板","100㎡","2.5545"]
["4","011610002001","金属门窗拆除","㎡","2.80"]
[null,null,"1.拆除部位:入户钢制防盗门"]
[null,null,"2.门窗洞口尺寸:1400*2000"]
[null,"07010134","拆除 钢门","10㎡","0.280"]
["5","010103002001","建筑垃圾弃置","","19.25"]
[null,null,"1.废弃料品种:弃渣、装饰板材"]
[null,null,"2.运距:1KM内"]
[null,null,"3.加盖自卸汽车运渣 4.5T"]
[" ",null,null," ",null,null," "," "," "," ",null,"表－09"]
["工程量清单综合单价分析表"]
["工程名称：交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":7},"第2页 共10页"]
["序号","项目编码","项目名称及项目\r\n特征描述","单位","工程量","综合单价","综合单价"]
[{"$nulls":5},"（元）","人工费","材料费","机械费","管理费","利润","其中:\r\n暂估价"]
[null,"07040005","加盖自卸垃圾车运渣土 人工装渣土1km以内","100","0.1925"]
["6","桂010103003001","弃渣运输增（减）m3·km","·km","269.50"]
[null,null,"1.运距增加：14KM"]
[null,"07040008","加盖自卸垃圾车运渣土 每增加1km","100","2.6950"]
[null,null,"1 变配电及低压电器拆除"]
["7","011612001001","照明插座线路拆除","m","650.00"]
[null,"0901202","铜芯线管内穿线拆除  导线截面(m㎡以内)2.5","100m单线","6.5"]
["8","011612001002","照明插座线路拆除","m","1800.00"]
[null,"0901203","铜芯线管内穿线拆除  导线截面(m㎡以内)4","100m单线","18"]
["9","011612001003","电缆拆除","m","13.00"]
[null,"0901095","铜芯电力电缆拆除(截面m㎡以下)16","100m","0.1300"]
["10","011613001001","灯具拆除","套","1"]
[null,"0901055","成套配电箱拆除  悬挂嵌入式(半周长m)2.5","台","1"]
["11","011613001002","灯具拆除","套","22"]
[null,"0901264","荧光灯具拆除  三管","10套","2.2"]
["12","011613001003","设备机柜拆除","套","1"]
[null,"0902015","设备机柜拆除  落地式","台","1"]
["13","011613001003","空调拆除","套","3"]
[null,null,"1.空调种类:落地式5匹柜机"]
[null,"0904083","落地式空调器拆除 冷量100KW以内","台","3"]
[null,null,"1+X证书制度试点信创WPS培训基地建设-装饰装修"]
[null,null,"分部分项工程"]
[null,null,"A.9 楼地面工程"]
["14","011104002001","竹、木(复合)地板","㎡","255.45"]
[" ",null,null," ",null,null," "," "," "," ",null,"表－09"]
["工程量清单综合单价分析表"]
["工程名称：交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":7},"第3页 共10页"]
["序号","项目编码","项目名称及项目\r\n特征描述","单位","工程量","综合单价","综合单价"]
[{"$nulls":5},"（元）","人工费","材料费","机械费","管理费","利润","其中:\r\n暂估价"]
[null,null,"1.基层材料种类、规格:泡沫防潮纸"]
[null,null,"2.面层材料品种、规格、颜色:12mm厚强化复合木地板"]
[null,null,"3.颜色由业主选定"]
[null,"A9-148换","长条复合 木地板 铺在 水泥地 面上 面上","100㎡","2.5545"]
["15","011105004001","塑料板踢脚线","㎡","7.84"]
[null,null,"1.踢脚线高度:120mm"]
[null,"A9-163","踢脚线 复合板","100㎡","0.0784"]
["16","011102001001","门槛石铺贴","㎡","0.43"]
[null,null,"1结合层厚度、砂浆种类、配合比:40mm厚1:4干硬性水泥砂浆结合层"]
[null,null,"2.面层材料品种、规格、颜色:16mm厚黑白根大理石"]
[null,null,"3.嵌缝材料种类:素水泥擦缝"]
[null,null,"4.石材磨边 半圆边"]
[null,"A9-36换","大理石零星项目 水泥砂浆{素水泥浆}","100㎡","0.0043"]
[null,"A14-79","石材装饰线 现场磨边 半圆边","100m","0.0360"]
[null,null,"A.10 墙、柱面工程"]
["17","011207001001","隔断矮墙","㎡","24.30"]
[null,null,"1.龙骨材料种类、规格、中距:75轻钢龙骨架 中距400"]
[null,null,"3.基层材料种类、规格:9mm厚阻燃板基层（双面）"]
[null,null,"3.面层材料品种、规格、颜色:9.5mm厚普通纸面石膏板（双面）"]
[null,"A10-236","轻钢龙骨 中距(mm) 竖603横1500","100㎡","0.2430"]
[null,"A10-242换","板基层 9mm阻燃板","100㎡","0.2430"]
[null,"A10-266换","石膏板墙面","100㎡","0.2430"]
[" ",null,null," ",null,null," "," "," "," ",null,"表－09"]
["工程量清单综合单价分析表"]
["工程名称：交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":7},"第4页 共10页"]
["序号","项目编码","项目名称及项目\r\n特征描述","单位","工程量","综合单价","综合单价"]
[{"$nulls":5},"（元）","人工费","材料费","机械费","管理费","利润","其中:\r\n暂估价"]
["18","011207001002","形象墙基层","㎡","13.50",164.57,32.86,117.96,1.83,9.47,2.45]
[null,null,"1.龙骨材料种类、规格、中距:75轻钢龙骨架 中距400"]
[null,null,"3.基层材料种类、规格:9mm厚阻燃板基层（双面）"]
[null,null,"3.面层材料品种、规格、颜色:9.5mm厚普通纸面石膏板"]
[null,"A10-236","轻钢龙骨 中距(mm) 竖603横1500","100㎡","0.1350"]
[null,"A10-242换","板基层 9mm阻燃板","100㎡","0.1350"]
[null,"A10-266换","石膏板墙面","100㎡","0.1350"]
["19","011207001003","形象墙造型面层","㎡","13.50"]
[null,null,"1.龙骨材料种类、规格、中距:木龙骨基层 中距400mm"]
[null,null,"2.基层材料种类、规格:9mm厚阻燃板基层"]
[null,null,"3.面层材料品种、规格、颜色:9.5mm厚普通纸面石膏板"]
[null,"A10-221","木龙骨 断面7.5c以内 木龙骨平均中距(400mm以内)","100㎡","0.1350"]
[null,"A10-242换","板基层 9mm阻燃板","100㎡","0.1350"]
[null,"A10-266换","石膏板墙面","100㎡","0.1350"]
["20","011210003001","玻璃隔断","㎡","24.30"]
[null,null,"1.规格：600*1750，4930*1750，6000*1750,2320*1750"]
[null,null,"2.上下0.8mm厚304拉丝不锈钢压型槽框（规格：凹槽型两侧50mm+下底50mm+凹槽15+20+15）"]
[null,null,"3.玻璃种类、厚度：钢化玻璃 10mm厚"]
[null,null,"4.含隔断制作、安装及运输"]
[null,"A10-282换","全玻璃隔断 钢化玻璃","100㎡","0.2430"]
[" ",null,null," ",null,null," "," "," "," ",null,"表－09"]
["工程量清单综合单价分析表"]
["工程名称：交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":7},"第5页 共10页"]
["序号","项目编码","项目名称及项目\r\n特征描述","单位","工程量","综合单价","综合单价"]
[{"$nulls":5},"（元）","人工费","材料费","机械费","管理费","利润","其中:\r\n暂估价"]
[null,"A14-47换","上下0.8mm厚拉丝304不锈钢压型槽框制作安装","100m","0.2770"]
[null,null,"A.11 天棚工程"]
["21","011302001001","造型吊顶","㎡","53.30"]
[null,null,"1.吊顶形式、吊杆规格、高度:跌级吊顶 不上人型"]
[null,null,"2.龙骨材料种类、规格、中距: U型38卡式主骨 50副骨 中距400mm"]
[null,null,"3.基层材料种类、规格:9mm厚阻燃板基层"]
[null,null,"4.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
[null,null,"5.嵌缝材料种类:防开裂嵌缝膏嵌缝"]
[null,"A11-32换","装配式U型轻钢天棚龙骨(不上人型) 面层规格(600×600mm) 以上 跌级","100㎡","0.5330"]
[null,"A11-75换","天棚9mm阻燃板基层","100㎡","0.5330"]
[null,"A11-94换","天棚石膏板面层 安在U型轻钢龙骨上","100㎡","0.5330"]
["22","011302001002","走边吊顶","㎡","17.10"]
[null,null,"1.吊顶形式、吊杆规格、高度:跌级吊顶 不上人型"]
[null,null,"2.龙骨材料种类、规格、中距: U型38卡式主骨 50副骨 中距400mm"]
[null,null,"3.基层材料种类、规格:9mm厚阻燃板基层"]
[null,null,"4.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
[null,null,"5.嵌缝材料种类:防开裂嵌缝膏嵌缝"]
[null,"A11-32换","装配式U型轻钢天棚龙骨(不上人型) 面层规格(600×600mm) 以上 跌级","100㎡","0.1710"]
[null,"A11-75换","天棚9mm阻燃板基层","100㎡","0.1710"]
[null,"A11-94换","天棚石膏板面层 安在U型轻钢龙骨上","100㎡","0.1710"]
["23","011302001003","铝方通吊顶","㎡","185.05"]
[" ",null,null," ",null,null," "," "," "," ",null,"表－09"]
["工程量清单综合单价分析表"]
["工程名称：交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":7},"第6页 共10页"]
["序号","项目编码","项目名称及项目\r\n特征描述","单位","工程量","综合单价","综合单价"]
[{"$nulls":5},"（元）","人工费","材料费","机械费","管理费","利润","其中:\r\n暂估价"]
[null,null,"1.吊顶形式、吊杆规格、高度:跌级吊顶 不上人型"]
[null,null,"2.龙骨材料种类、规格、中距: U型38卡式主骨 中距400mm"]
[null,null,"3.面层材料品种、规格:黑色条形铝合金空腹格栅"]
[null,"A11-111换","铝合金挂片天棚 条型 间距(100mm)","100㎡","1.8505"]
["24","011304001001","天棚灯带","㎡","25.12"]
[null,null,"1.灯带型式、尺寸:悬挑式灯槽 直型"]
[null,null,"2.基层材料种类、规格:9mm厚阻燃板基层"]
[null,null,"3.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
[null,"A11-172换","悬挑式灯槽 直型 细木工板面","100㎡","0.2512"]
[null,"A11-82换","天棚 石膏板 面层","100㎡","0.2512"]
["25","011304001002","形象墙灯带","㎡","9.30"]
[null,null,"1.灯带型式、尺寸:悬挑式灯槽 直型"]
[null,null,"2.基层材料种类、规格:9mm厚阻燃板基层"]
[null,null,"3.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
[null,"A11-172换","悬挑式灯槽 直型 细木工板面","100㎡","0.0930"]
[null,"A11-82换","天棚 石膏板 面层","100㎡","0.0930"]
["26","010810002001","木窗帘盒","m","39.30"]
[null,null,"1.基层材料种类、规格:9mm厚阻燃板基层"]
[null,null,"2.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
[null,"A12-160换","窗帘盒 石膏板面层 (阻燃板基层)","100m","0.3884"]
[null,null,"A.12 门窗工程"]
["27","010805005001","不锈钢地弹门（成品）","㎡","4.41"]
[" ",null,null," ",null,null," "," "," "," ",null,"表－09"]
["工程量清单综合单价分析表"]
["工程名称：交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":7},"第7页 共10页"]
["序号","项目编码","项目名称及项目\r\n特征描述","单位","工程量","综合单价","综合单价"]
[{"$nulls":5},"（元）","人工费","材料费","机械费","管理费","利润","其中:\r\n暂估价"]
[null,null,"1.门框或扇外围尺寸:1800*2450"]
[null,null,"2.框材质及规格:黑钛不锈钢包门框（规格：100*300*100）"]
[null,null,"3.玻璃品种、厚度:10mm厚钢化玻璃"]
[null,null,"4.含不锈钢拉手，优质地弹簧等五金配件"]
[null,null,"5.预留电子感应设备位置"]
[null,"A12-92","不锈钢片包门框 木龙骨","100㎡","0.0303"]
[null,"A12-38换","不锈钢地弹门（成品）","100㎡","0.0441"]
["28","010805005002","不锈钢地弹门（成品）","㎡","5.54"]
[null,null,"1.门框或扇外围尺寸:900*2050"]
[null,null,"2.玻璃品种、厚度:10mm厚钢化玻璃"]
[null,null,"3.含不锈钢拉手，优质地弹簧等五金配件"]
[null,"A12-38换","不锈钢地弹门（成品）","100㎡","0.0554"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["29","011406003001","满刮腻子","㎡","211.55"]
[null,null,"1.墙面满刮环保腻子两遍"]
[null,null,"2.品牌参考“多乐士”“嘉宝莉”“立邦”"]
[null,"A13-206","刮成品腻子粉 内墙面 两遍","100㎡","2.1155"]
["30","011406003002","天棚满刮腻子","㎡","266.08"]
[null,null,"1.天棚满刮环保腻子两遍"]
[null,null,"2.品牌参考“多乐士”“嘉宝莉”“立邦”"]
[null,"A13-206换","刮成品腻子粉 内墙面 两遍","100㎡","2.6608"]
["31","011407001001","墙面喷（刷）涂料","㎡","211.55"]
[null,null,"1.天棚涂刷环保净味深灰色面漆两遍"]
[null,null,"2.品牌参考“多乐士”“嘉宝莉”“立邦”"]
[null,"A13-210","乳胶漆 内墙、柱、天棚抹灰面 二遍","100㎡","2.1155"]
[" ",null,null," ",null,null," "," "," "," ",null,"表－09"]
["工程量清单综合单价分析表"]
["工程名称：交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":7},"第8页 共10页"]
["序号","项目编码","项目名称及项目\r\n特征描述","单位","工程量","综合单价","综合单价"]
[{"$nulls":5},"（元）","人工费","材料费","机械费","管理费","利润","其中:\r\n暂估价"]
["32","011407002001","天棚喷（刷）涂料","㎡","266.08"]
[null,null,"1.天棚涂刷环保净味白色面漆两遍"]
[null,null,"2.品牌参考“多乐士”“嘉宝莉”“立邦”"]
[null,"A13-210","乳胶漆 内墙、柱、天棚抹灰面 二遍","100㎡","2.6608"]
[null,null,"A.14 其他装饰工程"]
["33","010810005001","窗帘轨","m","39.30"]
[null,null,"1.铝合金窗帘轨安装"]
[null,"A12-163","明装式铝合金窗帘轨 单轨","100m","0.3930"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
["34","桂011701004001","内装修脚手架","㎡","255.54"]
[null,"A15-83","内装修钢管脚手架 3.6m以上","100㎡","2.5554"]
[null,null,"1+X证书制度试点信创WPS培训基地建设-安装"]
[null,null,"分部分项工程"]
[null,null,"B4 电气设备安装工程"]
["35","030404017001","总配电箱","台","1"]
[null,null,"1.规格：800*600"]
[null,null,"2.箱内元件：100A断路器1个，一级防雷装置一套（含防雷后背保护器），3P63A空开4个，2P32A带漏空开5个，"]
[null,null,"2P16A空开5个，零线铜排，地线铜排"]
[null,null,"3.安装方式：距地1.6m安装"]
[null,"B4-0302换","成套配电箱安装 悬挂嵌入式(半周长m) 1","台","1"]
["36","030408006001","电力电缆头","个","1"]
[null,"B4-1086换","户内热缩式电力电缆终端头制作、安装1kV以下端头(截面m㎡以下)16","个","1"]
[" ",null,null," ",null,null," "," "," "," ",null,"表－09"]
["工程量清单综合单价分析表"]
["工程名称：交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":7},"第9页 共10页"]
["序号","项目编码","项目名称及项目\r\n特征描述","单位","工程量","综合单价","综合单价"]
[{"$nulls":5},"（元）","人工费","材料费","机械费","管理费","利润","其中:\r\n暂估价"]
["37","030411001001","配管","m","220.00"]
[null,null,"1.PVC25线管 暗敷"]
[null,"B4-1552换","半硬质阻燃管暗敷设 半硬质阻燃管公称口径(mm以内) 25","100m","2.2000"]
["38","030411004001","照明线路","m","600.00"]
[null,null,"1.铜芯电线BV-2*2.5m2，管内敷设"]
[null,null,"2.品牌相当于“阳工”“桂能”“胜宇”"]
[null,"B4-1564换","管内穿线 照明线路 铜芯 导线截面(m㎡以内) 2.5","100m单线","6"]
["39","030411004002","插座线路","m","1800.00"]
[null,null,"1.铜芯电线BV-3*4m2，管内敷设"]
[null,null,"2.品牌相当于“阳工”“桂能”“胜宇”"]
[null,"B4-1583换","管内穿线 动力线路 铜芯 导线截面(m㎡以内) 4","100m单线","18"]
["40","030411004003","空调线路","m","225.00"]
[null,null,"1.铜芯电线BV-5*6m2，管内敷设"]
[null,null,"2.品牌相当于“阳工”“桂能”“胜宇”"]
[null,"B4-1584换","管内穿线 动力线路 铜芯 导线截面(m㎡以内) 6","100m单线","2.25"]
["41","030404035001","地插","套","4"]
[null,null,"1.单、三相暗插座 埋地单相安全插座10A"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
[null,"B4-0444换","单、三相暗插座 埋地单相安全插座10A","10套","0.4"]
["42","030404035002","五孔插座","套","60"]
[null,null,"1.单、三相暗插座 单相暗插座10A 5孔"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
[null,"B4-0436换","单、三相暗插座 单相暗插座10A 5孔","10套","6"]
[" ",null,null," ",null,null," "," "," "," ",null,"表－09"]
["工程量清单综合单价分析表"]
["工程名称：交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":7},"第10页 共10页"]
["序号","项目编码","项目名称及项目\r\n特征描述","单位","工程量","综合单价","综合单价"]
[{"$nulls":5},"（元）","人工费","材料费","机械费","管理费","利润","其中:\r\n暂估价"]
["43","030404034001","三位照明开关","套","4"]
[null,null,"1.跷板暗开关(单控) 三联"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
[null,"B4-0414换","开关、按钮、插座安装 开关及按钮 跷板暗开关(单控) 三联","10套","0.4"]
["44","030404034002","四位照明开关","套","4"]
[null,null,"1.跷板暗开关(单控) 四联"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
[null,"B4-0415换","开关、按钮、插座安装 开关及按钮 跷板暗开关(单控) 四联","10套","0.4"]
["45","030412005001","灯带","m","72.48"]
[null,null,"1.LED灯带 安装"]
[null,null,"2.品牌相当于“欧普”“雷士”“飞利浦”"]
[null,"B4-1990换","其他照明灯具安装  LED光灯带","10m","7.248"]
["46","030412004001","装饰灯","套","47"]
[null,null,"1.筒灯安装 嵌入式"]
[null,null,"2.品牌相当于“欧普”“雷士”“飞利浦”"]
[null,"B4-1855换","装饰灯具安装 点光源艺术装饰灯具 筒灯 嵌入式 灯具直径(350)","10套","4.7"]
["47","030412005002","LED双管灯（吊链式）","套","36"]
[null,null,"1.LED：1000*1200"]
[null,null,"2.品牌相当于“欧普”“雷士”“飞利浦”"]
[null,"B4-1889换","荧光灯具安装 吊链式、吊管式  双管","10套","3.6"]
[]
[]
[]
[]
[" ",null,null," ",null,null," "," "," "," ",null,"表－09"]

{"sheet":"表-11_总价措施项目清单与计价表","index":8,"n_rows":29,"n_cols":7,"rows_kept":29,"merged":[[0,0,0,6],[1,0,1,4],[5,3,6,3],[8,3,13,3],[16,3,19,3],[22,3,24,3],[27,0,27,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设   ",{"$nulls":5},"第1页 共1页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"1+X证书制度试点信创WPS培训基地建设-拆除"]
["一",null,"建筑拆除工程(营改增)简易计税法"]
["2","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)\r\n(3415.86+0)","2.00"]
["4","桂011801003001","雨季施工增加费",null,"0.25"]
["二",null,"安装拆除工程(营改增)简易计税法"]
["1","桂031401001002","安全文明施工费","∑分部分项、单价措施(人工费+机械费)\r\n(1539.85+116.38+0+0)","7.42"]
["1.1",null,"环境保护费",null,"0.29"]
["1.2",null,"文明施工费",null,"0.95"]
["1.3",null,"安全施工费",null,"2.38"]
["1.4",null,"临时设施费",null,"3.80"]
["3","桂031401003002","雨季施工增加费",null,"1.90"]
[null,null,"1+X证书制度试点信创WPS培训基地建设-装饰装修"]
["一",null,"建筑装饰装修工程(营改增)一般计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)\r\n(77180.56+679.73)","7.36"]
["2","桂011801002001","检验试验配合费",null,"0.11"]
["3","桂011801003001","雨季施工增加费",null,"0.53"]
["4","桂011801004001","工程定位复测费",null,"0.05"]
[null,null,"1+X证书制度试点信创WPS培训基地建设-安装"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)\r\n(4477.48+54.66+0+0)","12.12"]
["2","桂031401002001","检验试验配合费",null,"0.51"]
["3","桂031401003001","雨季施工增加费",null,"4.09"]
[null,null,"      合     计"]
[]
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-14_税前项目清单与计价表","index":9,"n_rows":43,"n_cols":7,"rows_kept":43,"merged":[[0,0,0,6],[1,0,1,4],[1,5,1,6],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,6],[3,5,4,5],[3,6,4,6],[41,0,41,6],[42,0,42,4]],"flags":["formulas_cached_only"]}
["税前项目清单与计价表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设 ",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称及项目特征\r\n描述","计量单位","工程量","金  额(元)"]
[{"$nulls":5},"单价","合 价"]
[]
[null,null,"1+X证书制度试点信创WPS培训基地建设-拆除"]
["1","01B001","家具清理搬运","项","1"]
[null,null,"1.电脑桌36张，椅子75张，电脑70套，投影设备一套，音箱两个；"]
[null,null,"2.电脑台式机装箱打包，所有家具及设备拆除搬运下地；"]
[null,null,"3.装车搬运至指定位置堆放，场内运输，含上楼人工"]
["2","01B002","柜式空调搬运","项","1"]
[null,null,"空调搬运至指定位置堆放"]
[null,null,"1+X证书制度试点信创WPS培训基地建设-装饰装修"]
["3","010810001001","窗帘","m","38.84"]
[null,null,"1.布艺遮光帘定制"]
[null,null,"2.含制作、安装及运输"]
[null,null,"3.帘布：高度3.3m，褶皱1:2，按窗口宽度计算。"]
[null,null,"4.具体样式由业主选定。"]
["4","01B001","宣传栏","个","5"]
[null,null,"1.录播室壁挂式宣传栏：860*1260"]
[null,null,"2.亚克力板基层3.0mm厚"]
[null,null,"3.写真内容由业主提供"]
["5","01B002","水晶字","cm","380"]
[null,null,"1.亚克力水晶字 3.0mm厚 双层"]
[null,null,"2.写真内容由业主提供"]
["6","01B003","LOGO制作","个","1"]
[null,null,"1.亚克力板 3.0mm厚 双层 φ650"]
[null,null,"2.写真内容由业主提供"]
[null,null,"            合         计"]
{"$rows_empty":12}
["注：税前项目包含除增值税以外的所有费用。"]
[{"$nulls":6},"表-14"]

{"sheet":"表-15_规费、增值税计价表","index":10,"n_rows":95,"n_cols":5,"rows_kept":95,"merged":[[0,0,0,4],[1,0,1,3],[6,2,11,2],[12,2,13,2],[14,2,19,2],[22,2,27,2],[29,0,29,4],[30,0,30,3],[32,2,33,2],[34,2,39,2],[43,2,49,2],[57,0,57,4],[58,0,58,3],[60,2,66,2]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":3},"第1页 共3页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"1+X证书制度试点信创WPS培训基地建设-拆除"]
["一","建筑拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)\r\n(2402.73+0)","29.35"]
["1.1.1","养老保险费",null,"17.22"]
["1.1.2","失业保险费",null,"0.34"]
["1.1.3","医疗保险费",null,"10.25"]
["1.1.4","生育保险费",null,"0.64"]
["1.1.5","工伤保险费",null,"0.90"]
["1.2","住房公积金","分部分项及单价措施工程费+总价措施项目费+其他项目费\r\n(3758.69+76.86+0)","1.02"]
["1.3","工程排污费",null,"0.13"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费\r\n(3758.69+76.86+0+1500+749.31)","3.46"]
["2.1","增值税",null,"3.00"]
["2.2","城市维护建设税",null,"0.21"]
["2.3","教育附加费",null,"0.09"]
["2.4","地方教育附加费",null,"0.06"]
["2.5","水利建设基金",null,"0.10"]
["二","安装拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)\r\n(1539.85+0)","29.35"]
["1.1.1","养老保险费",null,"17.22"]
["1.1.2","失业保险费",null,"0.34"]
["1.1.3","医疗保险费",null,"10.25"]
["1.1.4","生育保险费",null,"0.64"]
["1.1.5","工伤保险费",null,"0.90"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":3},"第2页 共3页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["1.2","住房公积金","∑(分部分项人工费+单价措施人工费)\r\n(1539.85+0)","1.85"]
["1.3","工程排污费",null,"0.40"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费\r\n(2131.05+154.36+0+0+486.6)","3.46"]
["2.1","增值税",null,"3.00"]
["2.2","城市维护建设税",null,"0.21"]
["2.3","教育附加费",null,"0.09"]
["2.4","地方教育附加费",null,"0.06"]
["2.5","水利建设基金",null,"0.10"]
[null,"1+X证书制度试点信创WPS培训基地建设-装饰装修"]
["一","建筑装饰装修工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)\r\n(19782.89+569.85)","29.35"]
["1.1.1","养老保险费",null,"17.22"]
["1.1.2","失业保险费",null,"0.34"]
["1.1.3","医疗保险费",null,"10.25"]
["1.1.4","生育保险费",null,"0.64"]
["1.1.5","工伤保险费",null,"0.90"]
["1.2","住房公积金",null,"1.85"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)\r\n(77180.56+679.73)","0.43"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）\r\n(84936.43+6267.76+0+7373.92+6684.86)","9.00"]
[null,"1+X证书制度试点信创WPS培训基地建设-安装"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)\r\n(4477.48+0)","29.35"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":3},"第3页 共3页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["1.1.1","养老保险费","∑(分部分项人工费+单价措施人工费)\r\n(4477.48+0)","17.22"]
["1.1.2","失业保险费",null,"0.34"]
["1.1.3","医疗保险费",null,"10.25"]
["1.1.4","生育保险费",null,"0.64"]
["1.1.5","工伤保险费",null,"0.90"]
["1.2","住房公积金",null,"1.85"]
["1.3","工程排污费",null,"0.40"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）\r\n(20651.02+757.77+0+0+1414.88)","9.00"]
[null,"       合          计"]
{"$rows_empty":25}
[{"$nulls":4},"表-15"]

{"sheet":"主要材料及价格表(全部工料机)","index":11,"n_rows":198,"n_cols":6,"rows_kept":198,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[42,0,42,5],[43,0,43,2],[43,4,43,5],[84,0,84,5],[85,0,85,2],[85,4,85,5],[126,0,126,5],[127,0,127,2],[127,4,127,5],[168,0,168,5],[169,0,169,2],[169,4,169,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":3},"第1页  共5页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,null,"◆人工◆"]
[2,"000301000","建筑装饰人工","元"]
[3,"000501000","安装人工","元"]
[4,"R0101001","建筑综合工日(一类)","工日"]
[5,"R09001","安装拆除工日","元"]
[6,null,"◆材料◆"]
[7,"010301002","钢丝 Φ1.6","kg"]
[8,"010310001","镀锌铁丝(综合)","kg"]
[9,"011301001","扁钢(综合)","t"]
[10,"012102001","等边角钢(综合)","t"]
[11,"012901031","中厚钢板 4.1～20mm","t"]
[12,"020302001","橡胶条","m"]
[13,"021910001","塑料圆台","块"]
[14,"022705004","棉纱头","kg"]
[15,"022706004","白布 0.9m","㎡"]
[16,"022706010","破布","kg"]
[17,"030108001","自攻螺钉","百个"]
[18,"030110003","镀锌自攻螺钉 M4～6×20～35","个"]
[19,"030112005","木螺钉 m2～4×6～65","个"]
[20,"030113002","镀锌木螺钉 M4.5～6×15～100","个"]
[21,"030119001","机螺钉","kg"]
[22,"030124002","带帽螺钉","百个"]
[23,"030127034","镀锌螺栓 M10×100","套"]
[24,"030156001","膨胀螺栓","套"]
[25,"030156005","膨胀螺栓 M6","套"]
[26,"030156014","膨胀螺栓 M8×65","套"]
[27,"030156016","膨胀螺栓 M8×80","套"]
[28,"030156018","膨胀螺栓 M10","套"]
[29,"030168004","镀锌锁紧螺母 20","个"]
[30,"030171101","螺母","百个"]
[31,"030172001","垫圈","百个"]
[32,"030182005","塑料胀管 Φ6~8","颗"]
[33,"030183001","铁钉(综合)","kg"]
[34,"030188001","射钉","百个"]
[35,"030188004","射钉(枪钉)","盒"]
[36,"031301005","砂轮片 Φ200","片"]
[37,"031321001","焊锡丝  综合","kg"]
[38,"031321001","焊锡丝  综合","kg"]
[]
["主要材料及价格表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":3},"第2页  共5页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[39,"031321003","焊锡","kg"]
[40,"031321003","焊锡","kg"]
[41,"031332002","焊锡膏 瓶装50g","kg"]
[42,"031337001","冲击钻头（综合）","根"]
[43,"031337010","冲击钻头 Φ12","个"]
[44,"031338001","合金钢钻头(综合)","个"]
[45,"031338004","合金钢钻头 Φ10","个"]
[46,"031345001","钢锯条","根"]
[47,"031345004","石料切割锯片","片"]
[48,"031347002","砂纸(木)","张"]
[49,"031347004","铁砂布","张"]
[50,"032118013","镀锌全螺纹吊杆Φ6","m"]
[51,"032125002","不锈钢卡口槽","m"]
[52,"040102001","普通硅酸盐水泥 32.5MPa","t"]
[53,"040103001","白水泥(综合)","t"]
[54,"040301001","砂(综合)",""]
[55,"040903001","石膏粉","kg"]
[56,"040904003","滑石粉","kg"]
[57,"050301001","一等杉木板枋材(综合)",""]
[58,"050301003","一等杉木枋材",""]
[59,"050306001","周转板枋材",""]
[60,"050501004","9mm阻燃板","㎡"]
[61,"050501008","9mm厚阻燃板","㎡"]
[62,"050501008","9mm阻燃板","㎡"]
[63,"051501002","木丝板","㎡"]
[64,"052502003","木砖",""]
[65,"052502006","锯木屑",""]
[66,"060501003","钢化玻璃 10mm","㎡"]
[67,"072301003","12mm厚强化复合木地板","㎡"]
[68,"080101001","20mm厚黑白根大理石","㎡"]
[69,"090101001","9.5mm厚普通纸面石膏板","㎡"]
[70,"090505003","镜面不锈钢板 1mm 201材质","㎡"]
[71,"093705001","条形铝合金空腹格栅(含配件)","㎡"]
[72,"100101001","轻钢龙骨 75×50","kg"]
[73,"100101002","轻钢龙骨 75×40","kg"]
[74,"100102002","U型卡式主骨38*12*1mm","m"]
[75,"100102003","副骨50*19*0.5mm","m"]
[76,"100102004","轻钢小龙骨 h19","m"]
[]
["主要材料及价格表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":3},"第3页  共5页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[77,"100102005","轻钢中龙骨横撑 h19","m"]
[78,"100102006","轻钢小龙骨横撑 h19","m"]
[79,"101301001","轻钢龙骨主接件","个"]
[80,"101301002","轻钢龙骨次接件","个"]
[81,"101301003","轻钢龙骨小接件","个"]
[82,"101302002","轻钢中龙骨平面连接件","个"]
[83,"101302003","轻钢小龙骨平面连接件","个"]
[84,"101302004","轻钢大龙骨垂直吊挂件","个"]
[85,"101302005","轻钢中龙骨垂直吊挂件","个"]
[86,"101302006","轻钢小龙骨垂直吊挂件","个"]
[87,"110905001","不锈钢地弹门（成品）","㎡"]
[88,"112601001","铝合金窗帘轨(带支撑件 成品)","m"]
[89,"120304001","不锈钢压型槽框","m"]
[90,"121101001","复合板踢脚板（成品）","㎡"]
[91,"130102001","调和漆(综合)","kg"]
[92,"130301001","乳胶漆","kg"]
[93,"130311003","成品腻子粉（一般型）","kg"]
[94,"130312002","大白粉","kg"]
[95,"133503001","防水胶(310g/支)","支"]
[96,"133508002","嵌缝膏","kg"]
[97,"133901001","防腐油","kg"]
[98,"140901002","电力复合酯 一级","kg"]
[99,"143309001","丙酮","kg"]
[100,"143315001","羧甲基纤维素","kg"]
[101,"144103005","903胶","kg"]
[102,"144108001","乳白胶","kg"]
[103,"144110002","202胶FSC-2","kg"]
[104,"144113003","玻璃胶 350g","支"]
[105,"144115001","万能胶","kg"]
[106,"144116003","胶合剂","kg"]
[107,"144301004","自粘性橡胶带 20mm×5m","卷"]
[108,"144306001","防水胶布","卷"]
[109,"144309002","塑料胶布带 20mm×10m","卷"]
[110,"144309004","塑料胶布带 25mm×10m","卷"]
[111,"151304004","泡沫防潮纸","㎡"]
[112,"170902001","方钢管 25×25×2.5","m"]
[113,"172513000","塑料软管","kg"]
[114,"182519002","固定卡子 3×80","套"]
[]
["主要材料及价格表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":3},"第4页  共5页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[115,"243301001","色带20mm×20m","卷"]
[116,"280104002","镀锡裸铜绞线 TJX-16","kg"]
[117,"290605003","PVC硬塑料穿线管 Φ25","m"]
[118,"290628002","塑料护口 15～20","个"]
[119,"290628003","塑料护口 15～50","个"]
[120,"290632012","灯具卡子","个"]
[121,"290905002","铜接线端子 DT-4mm2","个"]
[122,"290905005","铜接线端子 DT-16mm2","个"]
[123,"291111001","开关盒","个"]
[124,"291112001","接线盒","个"]
[125,"291126000","灯具金属吊盒","个"]
[126,"341101001","水",""]
[127,"341508001","其他材料费","元"]
[128,"341508001","其他材料费","元"]
[129,"350302001","回转扣件","个"]
[130,"350302002","对接扣件","个"]
[131,"350302003","直角扣件","个"]
[132,"350303001","脚手架焊接钢管 Φ48.3×3.6","t"]
[133,"350305001","金属脚手架底座","个"]
[134,"350307002","竹脚手板","㎡"]
[135,"370905001","钢垫板","kg"]
[136,"C00010160","其他材料费","元"]
[137,null,"◆配合比◆"]
[138,"800102006","水泥砂浆 1∶4",""]
[139,"801101001","素水泥浆",""]
[140,null,"◆主材◆"]
[141,"290702000","户内热缩式电缆终端头","套"]
[142,"550117001","总配电箱","台"]
[143,"Z250001001","LED灯带","套"]
[144,"Z250001001","成套灯具","套"]
[145,"Z250001001","双头筒灯","套"]
[146,"Z260501001","三位照明开关","个"]
[147,"Z260501001","四位照明开关","个"]
[148,"Z264101001","成套插座","套"]
[149,"Z264101001","地插","套"]
[150,"Z280301000","铜芯电线BV-2*2.5m2","m"]
[151,"Z280301000","铜芯电线BV-3*4m2","m"]
[152,"Z280301000","铜芯电线BV-5*6m2","m"]
[]
["主要材料及价格表"]
["工程名称:交通信息工程学院2022年1+X证书制度试点信创WPS培训基地建设",{"$nulls":3},"第5页  共5页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[153,"Z290635003","套接管","m"]
[154,null,"◆机械台班组成◆"]
[155,"000301001","机械台班人工费","元"]
[156,"140301004","国V汽油 92#","kg"]
[157,"341103001","电","kW.h"]
[158,"994701003","停滞费","元"]
[159,"994701004","折旧费","元"]
[160,"994701005","大修理费","元"]
[161,"994701006","经常修理费","元"]
[162,"994701007","安拆及场外运输费","元"]
[163,"994701008","其他费用","元"]
[164,null,"◆机械◆"]
[165,"981110002","绝缘电阻测试仪 ZC-8","台班"]
[166,"990509001","灰浆搅拌机[拌筒容量200L]","台班"]
[167,"990704004","载货汽车[装载质量4t]","台班"]
[168,"991523003","手提砂轮机[砂轮直径Φ150]","台班"]
[169,"992101001","木工圆锯机[直径500mm]","台班"]
[170,"992302001","石料切割机5.5KW以内","台班"]
[171,"992317001","磨边机","台班"]
[172,"992501002","交流电弧焊机[容量30kVA]","台班"]
[173,"994301001","电动空气压缩机[排气量0.3/min]","台班"]
[174,"994506004","油压接管钳 50t","台班"]
[175,"994508001","电锤 520W","台班"]
[176,"J00020010","其他机械费","元"]
[177,"J03010601","叉式起重机[提升质量3t]","台班"]
[178,"J04080101","加盖自卸垃圾车[4.5T]","台班"]
[179,null,"#### 合 计 ####"]