{"text_format":"3","workbook":"xls","n_sheets":11,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-01_总说明","表-02_建设项目投标报价汇总表","表-03_单项工程投标报价汇总表","表-04_单位工程投标报价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-14_税前项目清单与计价表","表-15_规费、增值税计价表","主要材料及价格表(全部工料机)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,3],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"土木建筑工程学院智慧教室建设化学实验室搬迁项目",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西交通职业技术学院"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[null,"2022年04月05日"]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02"]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":49,"n_cols":9,"rows_kept":49,"merged":[[3,1,3,6],[7,1,7,7],[16,2,17,4],[16,6,17,8],[17,0,17,1],[18,2,18,4],[18,6,18,8],[24,0,24,1],[24,2,25,4],[24,6,25,8],[25,0,25,1],[26,2,26,4],[26,6,26,8],[32,2,33,4],[32,6,33,8],[33,0,33,1],[34,2,34,4],[34,6,34,8],[41,0,41,1],[41,2,41,4],[41,6,41,8],[46,2,46,7]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"土木建筑工程学院智慧教室建设化学实验室搬迁项目",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西交通职业技术学院"]
["  招  标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",null,"2022年04月05日",null,null,"复 核 时 间：","2022年04月19日"]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","昆仑校区土木建工程学院实训基地实验室改造","第1页 共1页"]
["一、工程概况：本工程位于广西交通职业技术学院昆仑校区内。\n\n  \n二、编制依据:\n（一）、业主提供的相关资料。\n（二）、《建设工程工程量清单计价规范》GB50500-2013及配套使用的广西清单实施细则。 \n（三）、《建设工程工程量计算规范》GB50854～50862-2013及配套使用的广西清单实施细则(修订版)。 \n\n\n\n"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-02_建设项目投标报价汇总表","index":3,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","化学实验室改造部分"]
["1.2","微生物实验室改造部分"]
["1.3","化学药品室改造部分"]
[null,"        投标报价合计"]
{"$rows_empty":25}
[{"$nulls":4},"表-02"]

{"sheet":"表-03_单项工程投标报价汇总表","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1.1","化学实验室改造部分-安装工程"]
["1.2.1","微生物实验室改造部分-安装工程"]
["1.3.1","化学药品室改造部分-安装工程"]
[null,"        投标报价合计"]
{"$rows_empty":25}
[{"$nulls":4},"表-03"]

{"sheet":"表-04_单位工程投标报价汇总表","index":5,"n_rows":84,"n_cols":4,"rows_kept":84,"merged":[[0,0,0,3],[1,0,1,2],[42,0,42,3],[43,0,43,2]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目",null,null,"第1页 共2页"]
["序号","汇总内容","金额(元)","备注"]
[null,"化学实验室改造部分-安装工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"微生物实验室改造部分-安装工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"化学药品室改造部分-安装工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"工程项目汇总"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
[null,null," ","表-04"]
["单位工程投标报价汇总表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目",null,null,"第2页 共2页"]
["序号","汇总内容","金额(元)","备注"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
{"$rows_empty":36}
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":170,"n_cols":8,"rows_kept":170,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[42,0,42,7],[43,0,43,5],[43,6,43,7],[44,0,46,0],[44,1,46,1],[44,2,46,2],[44,3,46,3],[44,4,46,4],[44,5,44,7],[45,5,46,5],[45,6,46,6],[84,0,84,7],[85,0,85,5],[85,6,85,7],[86,0,88,0],[86,1,88,1],[86,2,88,2],[86,3,88,3],[86,4,88,4],[86,5,86,7],[87,5,88,5],[87,6,88,6],[127,0,127,7],[128,0,128,5],[128,6,128,7],[129,0,131,0],[129,1,131,1],[129,2,131,2],[129,3,131,3],[129,4,131,4],[129,5,129,7],[130,5,131,5],[130,6,131,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目 ",{"$nulls":5},"第1页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"化学实验室改造部分-安装工程"]
[null,null,"分部分项工程"]
[null,"030411","配管、配线"]
["1","030411002001","PVC-39*19线槽安装","m","40.00"]
[null,null,"规格：PVC-39*19难燃线槽"]
["2","030411004001","BV-4mm2铜芯电线安装","m","120.00"]
[null,null,"规格：BV-3*4mm2铜芯电线"]
[null,null,"线槽内敷设"]
[null,null,"品牌参考或相当于“桂南”“阳工”“家友”"]
[null,"030413","附属工程"]
["3","030413003001","给水管过墙打孔","个","2"]
[null,null,"孔径φ32，砖墙"]
["4","030413003002","排水管过墙打孔","个","1"]
[null,null,"孔径φ80，砖墙"]
[null,"031001","给排水、采暖、燃气管道"]
["5","031001006001","PPR-De25给水管","m","120.00"]
[null,null,"连接方式：热熔连接"]
["6","031001006002","PVC-φ75排水管","m","130.00"]
[null,null,"连接方式：粘接连接"]
["7","031001006003","PVC-φ50排水管","m","60.00"]
[null,null,"连接方式：粘接连接"]
[null,"031003","管道附件"]
["8","031003005001","铜杆PPR-De25截止阀","个","1"]
[null,null,"连接方式：热熔连接"]
["9","桂031004022001","检查口φ75","个","2"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目 ",{"$nulls":5},"第2页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"微生物实验室改造部分-安装工程"]
[null,null,"分部分项工程"]
[null,"030411","配管、配线"]
["10","030411002001","PVC-39*19线槽安装","m","50.00"]
[null,null,"规格：PVC-39*19难燃线槽"]
["11","030411004001","插座线路","m","150.00"]
[null,null,"规格：BV-3*4mm2铜芯电线"]
[null,null,"线槽内敷设"]
[null,null,"品牌参考或相当于“桂南”“阳工”“家友”"]
[null,"030413","附属工程"]
["12","030413003001","给水管过墙打孔","个","2"]
[null,null,"孔径φ32，砖墙"]
["13","030413003002","排水管过墙打孔","个","1.00"]
[null,null,"孔径φ80，砖墙"]
[null,"031001","给排水、采暖、燃气管道"]
["14","031001006001","PPR-De25给水管","m","122.00"]
[null,null,"连接方式：热熔连接"]
["15","031001006002","PVC-φ75排水管","m","50.00"]
[null,null,"连接方式：粘接连接"]
["16","031001006003","PVC-φ50排水管","m","90.00"]
[null,null,"连接方式：粘接连接"]
[null,"031003","管道附件"]
["17","031003005001","铜杆PPR-De25截止阀","个","1"]
[null,null,"连接方式：热熔连接"]
["18","桂031004022001","检查口φ75","个","2"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目 ",{"$nulls":5},"第3页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"化学药品室改造部分-安装工程"]
[null,null,"分部分项工程"]
[null,null,"B4 电气设备安装工程"]
["19","030404031001","排气扇（300*300）","台","2"]
[null,null,"参数:30W，~220V"]
[null,null,"安装形式:墙上安装"]
["20","030411002001","塑料线槽 24×14mm","m","25.00"]
["21","030411004001","线槽 配线铜芯线 BV-ZR-2.5mm2","m","75.00"]
["22","030404034001","双联开关","套","1"]
[null,null,"规格：220V 10A 明装"]
[null,null,"安装方式：底边距地1.2m安装"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目 ",{"$nulls":5},"第4页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":19}
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":7,"n_rows":35,"n_cols":7,"rows_kept":35,"merged":[[0,0,0,6],[1,0,1,4],[5,3,7,3],[10,3,12,3],[15,3,17,3],[33,0,33,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目   ",{"$nulls":5},"第1页 共1页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"化学实验室改造部分-安装工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"微生物实验室改造部分-安装工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"化学药品室改造部分-安装工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"      合     计"]
{"$rows_empty":14}
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-14_税前项目清单与计价表","index":8,"n_rows":42,"n_cols":7,"rows_kept":42,"merged":[[0,0,0,6],[1,0,1,4],[1,5,1,6],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,6],[3,5,4,5],[3,6,4,6],[40,0,40,6],[41,0,41,4]],"flags":["formulas_cached_only"]}
["税前项目清单与计价表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目 ",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称及项目特征\r\n描述","计量单位","工程量","金  额(元)"]
[{"$nulls":5},"单价","合 价"]
[]
[null,null,"化学实验室改造部分-安装工程"]
["1","01B001","排烟口开孔","项","1"]
[null,null,"拆除玻璃窗扇，重新定制玻璃:5+6+5中空玻璃，铝合金框"]
[null,null,"玻璃上预留排烟孔：洞口约1m*1m"]
["2","01B002","高空作业费（吊绳）","项","1"]
[null,null,"给排水管安装高空作业费"]
[null,null,"微生物实验室改造部分-安装工程"]
["3","01B003","高空作业费（吊绳）","项","1"]
[null,null,"给排水管安装高空作业费"]
[null,null,"化学药品室改造部分-安装工程"]
["4","030413003001","排气孔打洞","个","2"]
[null,null,"洞口尺寸：350*350mm ,砖墙"]
[null,null,"               合             计"]
{"$rows_empty":22}
["注：税前项目包含除增值税以外的所有费用。"]
[{"$nulls":6},"表-14"]

{"sheet":"表-15_规费、增值税计价表","index":9,"n_rows":79,"n_cols":5,"rows_kept":79,"merged":[[0,0,0,4],[1,0,1,3],[6,2,13,2],[18,2,25,2],[30,2,36,2],[38,0,38,4],[39,0,39,3]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目",{"$nulls":3},"第1页 共2页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"化学实验室改造部分-安装工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"微生物实验室改造部分-安装工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"化学药品室改造部分-安装工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目",{"$nulls":3},"第2页 共2页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["1.3","工程排污费","∑(分部分项人工费+单价措施人工费)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"       合          计"]
{"$rows_empty":34}
[{"$nulls":4},"表-15"]

{"sheet":"主要材料及价格表(全部工料机)","index":10,"n_rows":77,"n_cols":6,"rows_kept":77,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[42,0,42,5],[43,0,43,2],[43,4,43,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目",{"$nulls":3},"第1页  共2页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,null,"◆人工◆"]
[2,"000501000","安装人工","元"]
[3,"B-R.1"," 人工费","元"]
[4,"B-R.2","高空作业费（吊绳） 人工费","元"]
[5,null,"◆材料◆"]
[6,"010310001","镀锌铁丝(综合)","kg"]
[7,"022705004","棉纱头","kg"]
[8,"030110003","镀锌自攻螺钉 M4～6×20～35","个"]
[9,"030112005","木螺钉 m2～4×6～65","个"]
[10,"030112013","木螺钉 M4×60","个"]
[11,"030126007","螺栓 M6~12×12~50","套"]
[12,"030156026","膨胀螺栓 M12","套"]
[13,"030168004","镀锌锁紧螺母 20","个"]
[14,"030182005","塑料胀管 Φ6~8","颗"]
[15,"031301006","砂轮片 400","片"]
[16,"031302001","尼龙砂轮片 100","片"]
[17,"031321003","焊锡","kg"]
[18,"031332002","焊锡膏 瓶装50g","kg"]
[19,"031337001","冲击钻头（综合）","根"]
[20,"031337010","冲击钻头 Φ12","个"]
[21,"031345001","钢锯条","根"]
[22,"031347004","铁砂布","张"]
[23,"040102004","普通硅酸盐水泥 42.5MPa","kg"]
[24,"040301001","砂(综合)",""]
[25,"140301004","国V汽油 92#","kg"]
[26,"143124001","漂白粉","kg"]
[27,"143309001","丙酮","kg"]
[28,"144114006","聚氯乙烯热熔密封胶","kg"]
[29,"144116005","粘合剂","kg"]
[30,"144309004","塑料胶布带 25mm×10m","卷"]
[31,"182501002","塑料管卡 de25","个"]
[32,"182501005","塑料管卡 de50","个"]
[33,"182501007","塑料管卡 de75","个"]
[34,"213327001","透气帽(铅丝球) DN50","个"]
[35,"213327002","透气帽(铅丝球) DN75","个"]
[36,"290628002","塑料护口 15～20","个"]
[37,"290901002","瓷接头 (双)","个"]
[38,"341101001","水",""]
[]
["主要材料及价格表"]
["工程名称:土木建筑工程学院智慧教室建设化学实验室搬迁项目",{"$nulls":3},"第2页  共2页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[39,"341301011","标志牌 塑料扁形","个"]
[40,"341508001","其他材料费","元"]
[41,"350104002","复合木模板面板","㎡"]
[42,"B-C.1"," 材料费","元"]
[43,null,"◆主材◆"]
[44,"172500000","PVC-φ50排水管","m"]
[45,"172500000","PVC-φ75排水管","m"]
[46,"172502000","PPR-De25给水管","m"]
[47,"180903000","塑料给水管件","个"]
[48,"180904000","承插塑料管件","个"]
[49,"193800000","铜杆PPR-De25截止阀","个"]
[50,"213319000","检查口φ75","个"]
[51,"500102001","排气扇 300*300","台"]
[52,"Z260501001","照明开关","个"]
[53,"Z280301000","BV-4mm2铜芯电线","m"]
[54,"Z280301000","铜芯线 BV-ZR-2.5mm2","m"]
[55,"Z290302000","PVC-39*19线槽","m"]
[56,"Z290302000","线槽 24×14mm","m"]
[57,null,"◆机械台班组成◆"]
[58,"341103001","电","kW.h"]
[59,"994701001","其他机械费","元"]
[60,"994701003","停滞费","元"]
[61,"994701004","折旧费","元"]
[62,"994701005","大修理费","元"]
[63,"994701006","经常修理费","元"]
[64,"994701007","安拆及场外运输费","元"]
[65,null,"◆机械◆"]
[66,"992511001","热熔焊接机 Φ63","台班"]
[67,"994410004","试压泵 压力 30MPa","台班"]
[68,"994508001","电锤 520W","台班"]
[69,"994701001","其他机械费","元"]
[70,null,"#### 合 计 ####"]