{"text_format":"3","workbook":"xls","n_sheets":11,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-01_总说明","表-02_建设项目投标报价汇总表","表-03_单项工程投标报价汇总表","表-04_单位工程投标报价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-14_税前项目清单与计价表","表-15_规费、增值税计价表","主要材料及价格表(全部工料机)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,3],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"昆仑校区路桥工程学院实训基地实训室改造",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西交通职业技术学院"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[null,"2022年07月08日"]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02"]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":49,"n_cols":9,"rows_kept":49,"merged":[[3,1,3,6],[7,1,7,7],[16,2,17,4],[16,6,17,8],[17,0,17,1],[18,2,18,4],[18,6,18,8],[24,0,24,1],[24,2,25,4],[24,6,25,8],[25,0,25,1],[26,2,26,4],[26,6,26,8],[32,2,33,4],[32,6,33,8],[33,0,33,1],[34,2,34,4],[34,6,34,8],[41,0,41,1],[41,2,41,4],[41,6,41,8],[46,2,46,7]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西交通职业技术学院"]
["  招  标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",null,"2022年07月08日",null,null,"复 核 时 间：","2022年07月08日"]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","昆仑校区路桥工程学院实训基地实训室改造","第1页 共1页"]
["一、工程概况：本工程位于广西交通技术学院昆仑校区内。\n\n  \n二、编制依据:\n（一）、业主提供的相关资料。\n（二）、《建设工程工程量清单计价规范》GB50500-2013及配套使用的广西清单实施细则。 \n（三）、《建设工程工程量计算规范》GB50854～50862-2013及配套使用的广西清单实施细则(修订版)。 \n\n\n"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-02_建设项目投标报价汇总表","index":3,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","一楼实训室改造部分"]
["1.2","二楼实训室改造部分"]
["1.3","三楼产业学院办公室改造部分"]
["1.4","五楼办公室改造部分"]
[null,"        投标报价合计"]
{"$rows_empty":24}
[{"$nulls":4},"表-02"]

{"sheet":"表-03_单项工程投标报价汇总表","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1.1","一楼实训室改造-拆除工程"]
["1.1.2","一楼实训室改造-装饰装修"]
["1.1.3","一楼实训室改造-安装工程"]
["1.2.1","二楼实训室改造-装饰装修"]
["1.2.2","二楼实训室改造-安装工程"]
["1.3.1","三楼产业学院办公室改造-拆除工程"]
["1.3.2","三楼产业学院办公室改造-装饰装修"]
["1.3.3","三楼产业学院办公室改造-安装工程"]
["1.4.1","五楼办公室改造-安装工程"]
[null,"        投标报价合计"]
{"$rows_empty":19}
[{"$nulls":4},"表-03"]

{"sheet":"表-04_单位工程投标报价汇总表","index":5,"n_rows":126,"n_cols":4,"rows_kept":126,"merged":[[0,0,0,3],[1,0,1,2],[42,0,42,3],[43,0,43,2],[84,0,84,3],[85,0,85,2]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",null,null,"第1页 共3页"]
["序号","汇总内容","金额(元)","备注"]
[null,"一楼实训室改造-拆除工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
[" 5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
[null,"一楼实训室改造-装饰装修"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"一楼实训室改造-安装工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"二楼实训室改造-装饰装修"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
[null,null," ","表-04"]
["单位工程投标报价汇总表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",null,null,"第2页 共3页"]
["序号","汇总内容","金额(元)","备注"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"二楼实训室改造-安装工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"三楼产业学院办公室改造-拆除工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
[" 5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
[null,"三楼产业学院办公室改造-装饰装修"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"三楼产业学院办公室改造-安装工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
[null,null," ","表-04"]
["单位工程投标报价汇总表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",null,null,"第3页 共3页"]
["序号","汇总内容","金额(元)","备注"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"五楼办公室改造-安装工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"工程项目汇总"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
["5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
["5","规费"]
["6","增值税"]
{"$rows_empty":12}
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":627,"n_cols":8,"rows_kept":627,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[42,0,42,7],[43,0,43,5],[43,6,43,7],[44,0,46,0],[44,1,46,1],[44,2,46,2],[44,3,46,3],[44,4,46,4],[44,5,44,7],[45,5,46,5],[45,6,46,6],[83,0,83,7],[84,0,84,5],[84,6,84,7],[85,0,87,0],[85,1,87,1],[85,2,87,2],[85,3,87,3],[85,4,87,4],[85,5,85,7],[86,5,87,5],[86,6,87,6],[125,0,125,7],[126,0,126,5],[126,6,126,7],[127,0,129,0],[127,1,129,1],[127,2,129,2],[127,3,129,3],[127,4,129,4],[127,5,127,7],[128,5,129,5],[128,6,129,6],[168,0,168,7],[169,0,169,5],[169,6,169,7],[170,0,172,0],[170,1,172,1],[170,2,172,2],[170,3,172,3],[170,4,172,4],[170,5,170,7],[171,5,172,5],[171,6,172,6],[207,0,207,7],[208,0,208,5],[208,6,208,7],[209,0,211,0],[209,1,211,1],[209,2,211,2],[209,3,211,3],[209,4,211,4],[209,5,209,7],[210,5,211,5],[210,6,211,6],[249,0,249,7],[250,0,250,5],[250,6,250,7],[251,0,253,0],[251,1,253,1],[251,2,253,2],[251,3,253,3],[251,4,253,4],[251,5,251,7],[252,5,253,5],[252,6,253,6],[292,0,292,7],[293,0,293,5],[293,6,293,7],[294,0,296,0],[294,1,296,1],[294,2,296,2],[294,3,296,3],[294,4,296,4],[294,5,294,7],[295,5,296,5],[295,6,296,6],[333,0,333,7],[334,0,334,5],[334,6,334,7],[335,0,337,0],[335,1,337,1],[335,2,337,2],[335,3,337,3],[335,4,337,4],[335,5,335,7],[336,5,337,5],[336,6,337,6],[373,0,373,7],[374,0,374,5],[374,6,374,7],[375,0,377,0],[375,1,377,1],[375,2,377,2],[375,3,377,3],[375,4,377,4],[375,5,375,7],[376,5,377,5],[376,6,377,6],[416,0,416,7],[417,0,417,5],[417,6,417,7],[418,0,420,0],[418,1,420,1],[418,2,420,2],[418,3,420,3],[418,4,420,4],[418,5,418,7],[419,5,420,5],[419,6,420,6],[459,0,459,7],[460,0,460,5],[460,6,460,7],[461,0,463,0],[461,1,463,1],[461,2,463,2],[461,3,463,3],[461,4,463,4],[461,5,461,7],[462,5,463,5],[462,6,463,6],[501,0,501,7],[502,0,502,5],[502,6,502,7],[503,0,505,0],[503,1,505,1],[503,2,505,2],[503,3,505,3],[503,4,505,4],[503,5,503,7],[504,5,505,5],[504,6,505,6],[543,0,543,7],[544,0,544,5],[544,6,544,7],[545,0,547,0],[545,1,547,1],[545,2,547,2],[545,3,547,3],[545,4,547,4],[545,5,545,7],[546,5,547,5],[546,6,547,6],[584,0,584,7],[585,0,585,5],[585,6,585,7],[586,0,588,0],[586,1,588,1],[586,2,588,2],[586,3,588,3],[586,4,588,4],[586,5,586,7],[587,5,588,5],[587,6,588,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第1页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"一楼实训室改造-拆除工程"]
[null,null,"分部分项工程"]
["1","011605001001","平面块料拆除","㎡","13.68"]
[null,null,"部位：101、102、105、106、107、109"]
[null,null,"铲除地面瓷砖及砂浆结合层"]
["2","011602001001","混凝土构件拆除","","0.14"]
[null,null,"部位：室外三级沉沙池"]
[null,null,"200mm厚混凝土地面拆除"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"一楼实训室改造-装饰装修"]
[null,null,"分部分项工程"]
[null,null,"A.1 土（石）方工程"]
["3","010101004001","挖基坑土方","","5.40"]
[null,null,"部位：室外三级沉沙池基坑"]
[null,null,"斗容量(0.6)液压挖掘机挖基坑土方，5t自卸汽车运土"]
[null,null,"基坑底部人工挖土修边：0.1m内深度"]
[null,null,"土方运距：场内运输（1KM内）"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第2页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"A.3 砌筑工程"]
["4","010401004001","多孔砖墙","","3.65"]
[null,null,"部位：室外（楼梯处水泥存放间）"]
[null,null,"MU10 多孔页岩砖：240*115*90"]
[null,null,"墙厚度：240mm"]
[null,null,"预留门洞：1500*2100"]
["5","010401011001","砖砌水泥存放池","座","2"]
[null,null,"部位：101、102室"]
[null,null,"规格：1000*1800*300高"]
[null,null,"MU10 多孔页岩砖：240*115*90"]
[null,null,"池壁厚度：120mm，池底C20混凝土垫层厚度100mm"]
[null,null,"池壁内外水泥砂浆抹面压光"]
["6","010401011002","砖砌沙子存放池","座","2"]
[null,null,"部位：105、106室"]
[null,null,"规格：2100*850*300高"]
[null,null,"MU10 多孔页岩砖：240*115*90"]
[null,null,"池壁厚度：120mm，池底C20混凝土垫层厚度100mm"]
[null,null,"池壁内外水泥砂浆抹面压光"]
["7","010401011003","砖砌碎石、沙子及建筑垃圾存放池","座","1"]
[null,null,"部位：室外"]
[null,null,"规格：3000*9000*600高"]
[null,null,"MU10 多孔页岩砖：240*115*90"]
[null,null,"池壁厚度：240mm"]
[null,null,"池壁内外水泥砂浆抹面压光"]
["8","010401011004","沉砂池（非标）","座","1"]
[null,null,"部位：109室"]
[null,null,"规格：400*1000*500深"]
[null,null,"MU10 多孔页岩砖：240*115*90"]
[null,null,"池壁厚度：240mm，池底C20混凝土垫层厚度100mm"]
[null,null,"池壁内外水泥砂浆抹面压光"]
[null,null,"不锈钢盖板制作及安装:400*500"]
[null,null,"出水口安装加密防鼠铁丝网"]
["9","010401011005","三级沉砂池（非标）","座","1"]
[null,null,"部位：室外"]
[null,null,"规格：内空600*1200*800深"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第3页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"MU10 多孔页岩砖：240*115*90"]
[null,null,"池壁厚度：240mm，池底C20混凝土垫层厚度100mm"]
[null,null,"池壁内外水泥砂浆抹面压光"]
[null,null,"混凝土预制盖板：C20 570*1120*100mm厚*3块"]
[null,null,"A.4 混凝土及钢筋混凝土工程"]
["10","010501006001","设备基础（600*600*200高）","座","16"]
[null,null,"部位：101、102室"]
[null,null,"规格：600*600*200高"]
[null,null,"配筋：HRB400 10@150 双向"]
[null,null,"混凝土强度：C30"]
["11","010501006002","设备基础（600*800*700高）","座","1"]
[null,null,"部位：101、102室"]
[null,null,"规格：600*800*700高"]
[null,null,"配筋：HRB400 10@100 双向"]
[null,null,"混凝土强度：C30"]
["12","010501006003","设备基础（600*1200*700高）","座","5"]
[null,null,"部位：101、102室"]
[null,null,"规格：600*1200*700高"]
[null,null,"配筋：HRB400 10@150 双向"]
[null,null,"混凝土强度：C30"]
["13","010501006004","设备基础（600*3000*700高）","座","2"]
[null,null,"部位：101、102室"]
[null,null,"规格：600*3000*700高"]
[null,null,"配筋：HRB400 10@150 双向"]
[null,null,"混凝土强度：C30"]
["14","010501006005","设备基础（1000*1000*150高）","座","2"]
[null,null,"部位：室外"]
[null,null,"规格：1000*1000*150高"]
[null,null,"配筋：HRB400 10@100 双向"]
[null,null,"混凝土强度：C30"]
[null,null,"A.6 金属结构工程"]
["15","010601001001","养护室天棚钢网架","t","0.352"]
[null,null,"规格:热镀锌钢管50*50*2.0mm厚"]
[null,null,"运距：1km内"]
["16","010603003001","养护室钢柱","t","0.107"]
[null,null,"规格:热镀锌钢管80*80*2.5mm厚"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第4页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"运距：1km内"]
[null,null,"A.12 门窗工程"]
["17","010802001001","普通钢门（双开）","㎡","3.15"]
[null,null,"部位：室外水泥存放间"]
[null,null,"规格：1500*2100"]
[null,null,"含制作、安装及运输"]
["18","011102003001","地面瓷砖修补","㎡","15.00"]
[null,null,"部位：室内"]
[null,null,"40mm厚干硬性水泥砂浆结合层"]
[null,null,"8~10厚600*600耐磨地砖铺实拍平"]
[null,null,"素水泥擦缝"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
["19","011701006001","满堂脚手架","㎡","72.00"]
[null,"011702","混凝土模板及支架(撑)"]
["20","011702001001","基础","㎡","36.14"]
[null,null,"设备基础木模板"]
[null,"011705","大型机械设备进出场及安拆"]
["21","011705001001","大型机械设备进出场及安拆","台次","1"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第5页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"一楼实训室改造-安装工程"]
[null,null,"分部分项工程"]
[null,"030404","控制设备及低压电器安装"]
["22","030404017001","配电箱（非标）","台","4"]
[null,null,"柜号：600*800 铁质"]
[null,null,"内置元器件：3300/32A塑壳断路器1个，3P20A带漏空开3个，1P10A2个"]
[null,null,"安装方式：箱体底边距地1.6米安装"]
[null,null,"元器件品牌相当于或优于“施耐德”或“正泰”品牌"]
[null,null,"箱体品牌相当于或优于“乔顿”品牌"]
["23","030404018001","设备插座箱","台","13"]
[null,null,"规格：330*210*85 铁质"]
[null,null,"安装方式：箱体底边距地0.35米安装"]
[null,null,"箱内元器件4P20A空开1个，380V四孔轨道插座1个，元器件品牌相当于或优于“施耐德”或“正泰”品牌"]
[null,null,"箱体品牌相当于或优于“乔顿”品牌"]
["24","030404018002","空调开关箱","台","1"]
[null,null,"规格：250*210*85 铁质"]
[null,null,"安装方式：箱体底边距地0.35米安装"]
[null,null,"箱内元器件4P25A空开1个元器件品牌相当于或优于“施耐德”或“正泰”品牌"]
[null,null,"箱体品牌相当于或优于“乔顿”品牌"]
["25","030404018003","原设备插座箱位置调整","台","26"]
[null,null,"规格：330*210*85 铁质"]
[null,null,"安装方式：箱体底边距地0.35米安装"]
[null,null,"含人工及辅材，不含插座箱"]
["26","030404035001","五孔插座","套","67"]
[null,null,"规格：220V 10A 明装"]
[null,null,"品牌参考或相当于“公牛”“德力西”“西门子”"]
["27","030404035002","原五孔插座位置调整","套","24"]
[null,null,"规格：220V 10A 明装"]
[null,null,"品牌参考或相当于“公牛”“德力西”“西门子”"]
[null,"030408","电缆安装"]
["28","030408001001","电力电缆","m","278.81"]
[null,null,"规格：WDZ-ZR-YJV-5*10mm2铜芯电缆"]
[null,null,"品牌参考或相当于“桂南”“阳工”“家友”"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第6页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["29","030408004001","电缆槽盒","m","48.00"]
[null,null,"规格：100*50*1.0mm厚 钢质"]
[null,null,"安装方式：沿桥架或墙面敷设"]
[null,null,"品牌参考或相当于“雷正”“北乔”“合兴”"]
["30","030408006001","电缆头（WDZ-ZR-YJV-5*10mm2)","个","8"]
[null,null,"热缩式电缆头制作安装"]
["31","030411002001","线槽","m","120.00"]
[null,null,"规格：PVC 59*22塑料线槽"]
[null,null,"沿墙敷设"]
["32","030411004001","插座线路","m","682.11"]
[null,null,"BV-3*2.5mm2铜芯电线"]
[null,null,"线槽内敷设"]
["33","030411004002","插座箱线路","m","300.00"]
[null,null,"BV-5*6mm2铜芯电线"]
[null,null,"线槽内敷设"]
["34","030413002001","凿(压)槽及恢复","m","3.00"]
[null,null,"排水管管沟开挖及恢复"]
["35","030413003001","打洞(孔)及恢复","个","1.00"]
[null,null,"打孔φ160"]
["36","030413003002","打洞(孔)及恢复","个","1.00"]
[null,null,"打孔φ50"]
[null,null,"B9 给排水、燃气工程"]
["37","031001001001","DN20内衬塑钢管","m","3.45"]
[null,null,"水槽龙头加管，每个龙头加管15cm"]
["38","031001006001","PP-R-De20","m","15.00"]
[null,null,"安装方式：明敷"]
["39","031001006002","PVC-φ50排水管","m","3.00"]
[null,null,"安装方式：暗埋"]
["40","桂031004020001","水龙头","个","23"]
[null,null,"含人工及辅材（用原水龙头安装）"]
["41","桂031004021001","地漏","个","2"]
[null,null,"规格：PVC-φ50地漏"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第7页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"二楼实训室改造-装饰装修"]
[null,null,"分部分项工程"]
["42","010401011006","砖砌水槽","座","1"]
[null,null,"部位：206室"]
[null,null,"规格：730*2500*800高"]
[null,null,"MU10 多孔页岩砖：240*115*90"]
[null,null,"池壁厚度：120mm，池底垫层厚度100mm"]
[null,null,"内置砖砌沉沙池：400*500*400深"]
[null,null,"池内回填炉渣：400mm深"]
[null,null,"池内水泥砂浆找平 50mm厚"]
[null,null,"水槽面铺贴瓷砖饰面 300*300抛光砖"]
[null,null,"池槽排水管及侧面PVC-110地漏安装"]
["43","010501006006","设备基础（600*1600*700高）","座","1"]
[null,null,"部位：207室"]
[null,null,"规格：600*1600*700高"]
[null,null,"配筋：HRB400 10@150 双向"]
["44","010501006007","设备基础（600*3600*700高）","座","1"]
[null,null,"部位：101、102室"]
[null,null,"规格：600*3600*700高"]
[null,null,"配筋：HRB400 10@150 双向"]
[null,null,"     小    计"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第8页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
["45","011702001002","基础","㎡","36.14"]
[null,null,"设备基础木模板"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"二楼实训室改造-安装工程"]
[null,null,"分部分项工程"]
[null,"030404","控制设备及低压电器安装"]
["46","030404017002","配电箱（非标）","台","1"]
[null,null,"柜号：600*800 钢质"]
[null,null,"内置元器件：3300/32A塑壳断路器1个，3P20A带漏空开3个，1P10A2个"]
[null,null,"安装方式：箱体底边距地1.6米安装"]
[null,null,"箱内元器件详见系统图，元器件品牌相当于或优于“施耐德”或“正泰”品牌"]
[null,null,"箱体品牌相当于或优于“乔顿”品牌"]
["47","030404018004","新增设备插座箱","台","2"]
[null,null,"规格：330*210*85 钢质"]
[null,null,"安装方式：箱体底边距地0.35米安装"]
[null,null,"箱内元器件4P20A空开1个，380V四孔轨道插座1个，元器件品牌相当于或优于“施耐德”或“正泰”品牌"]
[null,null,"箱体品牌相当于或优于“乔顿”品牌"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第9页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["48","030404018005","空调开关箱","台","2"]
[null,null,"规格：250*210*85 钢质"]
[null,null,"安装方式：箱体底边距地0.35米安装"]
[null,null,"箱内元器件4P25A空开1个，元器件品牌相当于或优于“施耐德”或“正泰”品牌"]
[null,null,"箱体品牌相当于或优于“乔顿”品牌"]
["49","030404035003","新增五孔插座","套","43"]
[null,null,"规格：220V 10A 明装"]
[null,null,"品牌参考或相当于“公牛”“德力西”“西门子”"]
[null,"030408","电缆安装"]
["50","030408001002","电力电缆","m","119.14"]
[null,null,"规格：WDZ-ZR-YJV-5*10mm2铜芯电缆"]
[null,null,"品牌参考或相当于“桂南”“阳工”“家友”"]
["51","030408004002","电缆槽盒","m","12.00"]
[null,null,"规格：100*50*1.0mm厚 热轧钢板压型"]
[null,null,"安装方式：沿桥架或墙面敷设"]
[null,null,"品牌参考或相当于“雷正”“北乔”“合兴”"]
["52","030408006002","电缆头（WDZ-ZR-YJV-5*10mm2)","个","2"]
[null,null,"热缩式电缆头制作安装"]
["53","030411002002","PVC 59*22塑料线槽","m","68.00"]
[null,null,"规格：PVC 59*22塑料线槽"]
[null,null,"沿墙敷设"]
["54","030411002003","PVC 39*19塑料线槽","m","75.00"]
[null,null,"规格：PVC 39*19塑料线槽"]
[null,null,"沿墙敷设"]
["55","030411004003","插座线路","m","414.00"]
[null,null,"BV-3*2.5mm2铜芯电线"]
[null,null,"线槽内敷设"]
["56","030411004004","插座箱线路","m","195.00"]
[null,null,"BV-5*6mm2铜芯电线"]
[null,null,"线槽内敷设"]
["57","030413003003","打洞(孔)及恢复","个","1.00"]
[null,null,"打孔φ50"]
[null,null,"B9 给排水、燃气工程"]
["58","031001001002","DN20内衬塑钢管","m","8.60"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第10页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"水槽龙头加管，每个龙头加管15cm"]
["59","桂031004020002","水龙头","个","21"]
[null,null,"含人工及辅材（用原水龙头安装）"]
["60","桂031004020003","不锈钢龙头安装","个","3"]
[null,null,"含人工及材料"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"三楼产业学院办公室改造-拆除工程"]
[null,null,"分部分项工程"]
[null,null,"1 变配电及低压电器拆除"]
["61","011613001001","灯具拆除","套","8"]
[null,null,"原教室内吊式双管带罩灯具拆除"]
["62","011613001002","吊扇拆除","套","6"]
[null,null,"原教室内吊扇拆除"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第11页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"三楼产业学院办公室改造-装饰装修"]
[null,null,"分部分项工程"]
[null,null,"A.11 天棚工程"]
["63","011302001002","埃特板吊顶天棚","㎡","55.29"]
[null,null,"轻钢龙骨架 平级（不上人型）"]
[null,null,"天棚9mm厚阻燃板基层"]
[null,null,"天棚6m埃特板面层"]
[null,null,"天棚嵌缝膏嵌缝"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["64","011406003001","满刮腻子","㎡","55.29"]
[null,null,"天棚满刮环保腻子 两遍"]
["65","011407001001","天棚喷（刷）涂料","㎡","55.29"]
[null,null,"天棚涂刷净味内墙乳胶漆 两遍"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
["66","桂011701004001","内装修脚手架","㎡","55.29"]
[null,null,"     小    计"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第12页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"三楼产业学院办公室改造-安装工程"]
[null,null,"分部分项工程"]
[null,null,"B4 电气设备安装工程"]
[null,"030404","控制设备及低压电器安装"]
["67","030404017003","配电箱（非标）","台","1"]
[null,null,"参数：400*500 材质热轧钢板"]
[null,null,"内置元器件：3P63A空开1个，3P25A空开1个，2P25A空开2个"]
[null,null,"安装方式：箱体底边距地1.6米挂墙安装"]
[null,null,"元器件品牌相当于或优于“施耐德”或“正泰”品牌"]
[null,null,"箱体品牌相当于或优于“乔顿”品牌"]
[null,null,"B4 电气设备安装工程"]
["68","030404035004","五孔插座","套","6"]
[null,null,"安装方式：距地1m明装"]
[null,"030411","配管、配线"]
["69","030411001001","可挠金属套管敷设","m","6.00"]
[null,null,"规格：包塑金属软管φ16"]
[null,null,"敷设方式：吊顶内敷设"]
["70","030411002004","塑料线槽","m","28.00"]
[null,null,"规格：PVC-39*19难燃线槽"]
[null,null,"沿电脑桌侧板敷设"]
["71","030411004005","照明线路","m","72.00"]
[null,null,"规格：BV-2*2.5mm2铜芯电线"]
[null,null,"线槽内敷设"]
[null,null,"品牌参考或相当于“桂南”“阳工”“家友”"]
["72","030411004006","插座线路","m","84.00"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第13页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"规格：ZR-BV-3*4mm2铜芯电线"]
[null,null,"线槽内敷设"]
[null,null,"品牌参考或相当于“桂南”“阳工”“家友”"]
[null,"030412","照明器具安装"]
["73","030412005001","600*600平板灯","套","6"]
[null,null,"安装方式：嵌入式安装"]
[null,null,"品牌相当于“欧普”“雷士”“飞利浦”"]
["74","030404033001","风扇","台","1"]
[null,null,"300*300排气扇"]
[null,"030413","附属工程"]
["75","030413003004","空调孔打孔","个","1"]
[null,null,"打孔φ50"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"五楼办公室改造-安装工程"]
[null,null,"分部分项工程"]
[null,"030404","控制设备及低压电器安装"]
["76","030404035005","五孔插座","套","24"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第14页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"规格：220V 10A 明装"]
[null,null,"品牌参考或相当于“公牛”“德力西”“西门子”"]
[null,"030411","配管、配线"]
["77","030411002005","弧形线槽（加厚型）安装","m","45.00"]
[null,null,"规格：PVC-69*25阻燃线槽 弧形（加厚）"]
[null,null,"沿地面或墙面敷设"]
[null,null,"品牌参考或相当于“雄塑”“联塑”“天隆”"]
["78","030411002006","塑料线槽","m","84.00"]
[null,null,"规格：PVC-39×19难燃线槽"]
[null,null,"沿电脑桌侧板敷设"]
["79","030411004007","插座线路","m","252.00"]
[null,null,"规格：ZR-RV-3*4mm2铜芯电线"]
[null,null,"线槽内敷设"]
[null,null,"品牌参考或相当于“桂南”“阳工”“家友”"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":5},"第15页 共15页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":32}
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":7,"n_rows":71,"n_cols":7,"rows_kept":71,"merged":[[0,0,0,6],[1,0,1,4],[5,3,6,3],[9,3,12,3],[15,3,17,3],[20,3,23,3],[26,3,28,3],[31,3,32,3],[33,0,33,6],[35,0,35,6],[36,0,36,4],[38,3,41,3],[44,3,47,3],[50,3,52,3],[55,3,57,3],[69,0,69,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造   ",{"$nulls":5},"第1页 共2页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"一楼实训室改造-拆除工程"]
["一",null,"建筑拆除工程(营改增)简易计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["3","桂011801003001","雨季施工增加费"]
[null,null,"一楼实训室改造-装饰装修"]
["一",null,"建筑装饰装修工程(营改增)一般计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
[null,null,"一楼实训室改造-安装工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"二楼实训室改造-装饰装修"]
["一",null,"建筑装饰装修工程(营改增)一般计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
[null,null,"二楼实训室改造-安装工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"三楼产业学院办公室改造-拆除工程"]
["一",null,"安装拆除工程(营改增)简易计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项、单价措施(人工费+机械费)"]
["1.1",null,"环境保护费"]
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]
["总价措施项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造   ",{"$nulls":5},"第2页 共2页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
["1.2",null,"文明施工费","∑分部分项、单价措施(人工费+机械费)"]
["1.3",null,"安全施工费"]
["1.4",null,"临时设施费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"三楼产业学院办公室改造-装饰装修"]
["一",null,"建筑装饰装修工程(营改增)一般计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
[null,null,"三楼产业学院办公室改造-安装工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"五楼办公室改造-安装工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"      合     计"]
{"$rows_empty":10}
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-14_税前项目清单与计价表","index":8,"n_rows":43,"n_cols":7,"rows_kept":43,"merged":[[0,0,0,6],[1,0,1,4],[1,5,1,6],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,6],[3,5,4,5],[3,6,4,6],[41,0,41,6],[42,0,42,4]],"flags":["formulas_cached_only"]}
["税前项目清单与计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造 ",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称及项目特征\r\n描述","计量单位","工程量","金  额(元)"]
[{"$nulls":5},"单价","合 价"]
[]
[null,null,"一楼实训室改造-拆除工程"]
["1","01B001","建筑垃圾清理外运","项","1"]
[null,null,"人工装车，自卸汽车运渣"]
[null,null,"一楼实训室改造-装饰装修"]
["2","010501001001","混凝土挡水线","m","30.00"]
[null,null,"部位：室外"]
[null,null,"100mm宽*150mm高，沿电缆沟边制作"]
[null,null,"顶部倒半圆角,面层抹光，贴反光条"]
[null,null,"A.10 墙、柱面工程"]
["3","011210002001","养护室隔墙制作安装","㎡","98.47"]
[null,null,"75轻钢龙骨柱间做框架"]
[null,null,"墙板：彩钢夹心板(插口型) 75mm"]
[null,null,"墙板内侧铺贴单层5mm厚铝箔保温板，密缝"]
[null,null,"A.11 天棚工程"]
["4","011302001001","养护室天棚制作安装","㎡","72.00"]
[null,null,"天棚板：彩钢夹心板(插口型) 75mm"]
[null,null,"天棚内侧铺贴单层5mm厚铝箔保温板，密缝"]
["5","01B002","标准养护室密闭门制作安装","㎡","3.53"]
[null,null,"规格：860*2050*2樘"]
[null,null,"50*50方通骨架"]
[null,null,"内置岩棉夹芯彩钢板50mm厚"]
[null,null,"门扇面层贴铝箔保温板罩面"]
[null,null,"密闭门：860*2050*2樘"]
[null,null,"含制作、安装及五金"]
[null,null,"               合             计"]
{"$rows_empty":11}
["注：税前项目包含除增值税以外的所有费用。"]
[{"$nulls":6},"表-14"]

{"sheet":"表-15_规费、增值税计价表","index":9,"n_rows":154,"n_cols":5,"rows_kept":154,"merged":[[0,0,0,4],[1,0,1,3],[6,2,11,2],[12,2,13,2],[14,2,19,2],[23,2,29,2],[37,0,37,4],[38,0,38,3],[40,2,46,2],[51,2,57,2],[63,2,70,2],[76,0,76,4],[77,0,77,3],[79,2,86,2],[87,2,92,2],[96,2,102,2],[108,2,112,2],[114,0,114,4],[115,0,115,3],[117,2,119,2],[124,2,131,2]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第1页 共4页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"一楼实训室改造-拆除工程"]
["一","建筑拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金","分部分项及单价措施工程费+总价措施项目费+其他项目费"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
[null,"一楼实训室改造-装饰装修"]
["一","建筑装饰装修工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"一楼实训室改造-安装工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第2页 共4页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["1.1.1","养老保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"二楼实训室改造-装饰装修"]
["一","建筑装饰装修工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"二楼实训室改造-安装工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"三楼产业学院办公室改造-拆除工程"]
["一","安装拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第3页 共4页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
[null,"三楼产业学院办公室改造-装饰装修"]
["一","建筑装饰装修工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"三楼产业学院办公室改造-安装工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第4页 共4页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["1.1.5","工伤保险费","∑(分部分项人工费+单价措施人工费)"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"五楼办公室改造-安装工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"       合          计"]
{"$rows_empty":19}
[{"$nulls":4},"表-15"]

{"sheet":"主要材料及价格表(全部工料机)","index":10,"n_rows":306,"n_cols":6,"rows_kept":306,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[42,0,42,5],[43,0,43,2],[43,4,43,5],[84,0,84,5],[85,0,85,2],[85,4,85,5],[126,0,126,5],[127,0,127,2],[127,4,127,5],[168,0,168,5],[169,0,169,2],[169,4,169,5],[210,0,210,5],[211,0,211,2],[211,4,211,5],[252,0,252,5],[253,0,253,2],[253,4,253,5],[294,0,294,5],[295,0,295,2],[295,4,295,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第1页  共8页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,null,"◆人工◆"]
[2,"000301000","建筑装饰人工","元"]
[3,"000501000","安装人工","元"]
[4,"B-R.1"," 人工费","元"]
[5,"B-R.1","池槽排水管及侧面地漏安装 人工费","元"]
[6,"B-R.1","混凝土挡水线 人工费","元"]
[7,"B-R.2","标准养护室密闭门制作安装 人工费","元"]
[8,"B-R.4","养护室隔墙 人工费","元"]
[9,"B-R.5","养护室天棚 人工费","元"]
[10,"R0101001","建筑综合工日(一类)","工日"]
[11,"R09001","安装拆除工日","元"]
[12,null,"◆材料◆"]
[13,"010103001","螺纹钢筋HRB400 10以内(综合)","t"]
[14,"010310001","镀锌铁丝(综合)","kg"]
[15,"010310002","镀锌铁丝 Φ4","kg"]
[16,"010310013","镀锌铁丝 Φ0.7","kg"]
[17,"010501001","钢丝绳(综合)","kg"]
[18,"012102001","等边角钢(综合)","t"]
[19,"012104001","不等边角钢(综合)　","t"]
[20,"012901031","中厚钢板 4.1～20mm","t"]
[21,"012914007","钢垫板(综合)","t"]
[22,"015303002","封铅 含铅 65% 含锡 35%","kg"]
[23,"020101002","橡胶板 2mm","㎡"]
[24,"021303001","聚四氟乙烯生料带 宽20mm","m"]
[25,"022705004","棉纱头","kg"]
[26,"022706004","白布 0.9m","㎡"]
[27,"022706010","破布","kg"]
[28,"022901001","麻袋","条"]
[29,"022902001","麻绳","kg"]
[30,"023301001","草袋","㎡"]
[31,"023301003","草袋片","片"]
[32,"030108001","自攻螺钉","百个"]
[33,"030110003","镀锌自攻螺钉 M4～6×20～35","个"]
[34,"030112013","木螺钉 M4×60","个"]
[35,"030113002","镀锌木螺钉 M4.5～6×15～100","个"]
[36,"030119001","机螺钉","kg"]
[37,"030120002","镀锌机螺钉 M6~12×12~120","个"]
[38,"030125001","螺栓（综合）","kg"]
[]
["主要材料及价格表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第2页  共8页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[39,"030126007","螺栓 M6~12×12~50","套"]
[40,"030127023","镀锌螺栓 M8×100","套"]
[41,"030127034","镀锌螺栓 M10×100","套"]
[42,"030156001","膨胀螺栓","套"]
[43,"030156005","膨胀螺栓 M6","套"]
[44,"030156012","膨胀螺栓 M8","套"]
[45,"030156018","膨胀螺栓 M10","套"]
[46,"030156026","膨胀螺栓 M12","套"]
[47,"030168004","镀锌锁紧螺母 20","个"]
[48,"030171101","螺母","百个"]
[49,"030172001","垫圈","百个"]
[50,"030182005","塑料胀管 Φ6~8","颗"]
[51,"030183001","铁钉(综合)","kg"]
[52,"030186003","道钉","kg"]
[53,"031301006","砂轮片 400","片"]
[54,"031311001","电焊条（综合）","kg"]
[55,"031321001","焊锡丝  综合","kg"]
[56,"031321003","焊锡","kg"]
[57,"031332002","焊锡膏 瓶装50g","kg"]
[58,"031337001","冲击钻头（综合）","根"]
[59,"031337006","冲击钻头 Φ8","个"]
[60,"031337010","冲击钻头 Φ12","个"]
[61,"031338001","合金钢钻头(综合)","个"]
[62,"031338003","合金钢钻头 Φ8","个"]
[63,"031339005","金刚钻钻头 Φ63","个"]
[64,"031339009","金刚钻钻头 Φ200","个"]
[65,"031345001","钢锯条","根"]
[66,"031345004","石料切割锯片","片"]
[67,"031345007","钢割片","片"]
[68,"031347002","砂纸(木)","张"]
[69,"031347004","铁砂布","张"]
[70,"032116004","预埋铁件","kg"]
[71,"032118013","镀锌全螺纹吊杆Φ6","m"]
[72,"040102001","普通硅酸盐水泥 32.5MPa","t"]
[73,"040102004","普通硅酸盐水泥 42.5MPa","kg"]
[74,"040103001","白水泥(综合)","t"]
[75,"040301001","砂(综合)",""]
[76,"040301004","中砂",""]
[]
["主要材料及价格表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第3页  共8页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[77,"040502003","碎石 5～20mm",""]
[78,"040701007","炉渣",""]
[79,"040902004","石灰膏",""]
[80,"040903001","石膏粉","kg"]
[81,"040904003","滑石粉","kg"]
[82,"041302001","多孔页岩砖 240×115×90","千块"]
[83,"042701004","预制砼块",""]
[84,"050102006","周转圆木(支撑)",""]
[85,"050304004","二等松杂板枋材(综合)",""]
[86,"050306001","周转板枋材",""]
[87,"050306002","周转枋材",""]
[88,"050306003","周转板材",""]
[89,"050501008","胶合板 9mm","㎡"]
[90,"052502004","木楔",""]
[91,"052502006","锯木屑",""]
[92,"052502007","垫木",""]
[93,"053501002","竹篾","百根"]
[94,"070103004","陶瓷墙面砖 300×300","㎡"]
[95,"070501006","陶瓷地面砖 600×600","㎡"]
[96,"091501001","埃特板 6mm","㎡"]
[97,"100102002","轻钢大龙骨 h45","m"]
[98,"100102003","轻钢中龙骨 h19","m"]
[99,"100102005","轻钢中龙骨横撑 h19","m"]
[100,"101301001","轻钢龙骨主接件","个"]
[101,"101301002","轻钢龙骨次接件","个"]
[102,"101302002","轻钢中龙骨平面连接件","个"]
[103,"101302004","轻钢大龙骨垂直吊挂件","个"]
[104,"101302005","轻钢中龙骨垂直吊挂件","个"]
[105,"110301001","普通钢门(成品)","㎡"]
[106,"130102001","调和漆(综合)","kg"]
[107,"130109001","酚醛磁漆(各种颜色)","kg"]
[108,"130301001","净味内墙乳胶漆","kg"]
[109,"130311003","成品腻子粉（一般型）","kg"]
[110,"130312002","大白粉","kg"]
[111,"130519001","沥青绝缘漆","kg"]
[112,"130528001","聚氨酯防水涂料","kg"]
[113,"133504001","防水粉","kg"]
[114,"134101001","嵌缝料","kg"]
[]
["主要材料及价格表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第4页  共8页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[115,"140301004","国V汽油 92#","kg"]
[116,"140901002","电力复合酯 一级","kg"]
[117,"143124001","漂白粉","kg"]
[118,"143303001","硬酯酸 一级","kg"]
[119,"143309001","丙酮","kg"]
[120,"143315001","羧甲基纤维素","kg"]
[121,"143520001","隔离剂","kg"]
[122,"143901001","乙炔气",""]
[123,"143906001","氧气",""]
[124,"144101005","建筑胶","kg"]
[125,"144108001","乳白胶","kg"]
[126,"144114006","聚氯乙烯热熔密封胶","kg"]
[127,"144116005","粘合剂","kg"]
[128,"144301004","自粘性橡胶带 20mm×5m","卷"]
[129,"172513000","塑料软管","kg"]
[130,"181522004","可挠金属套管接头 KS-17","个"]
[131,"182501001","塑料管卡 de20","个"]
[132,"182501005","塑料管卡 de50","个"]
[133,"182510004","可挠金属套管卡子 SP-17","个"]
[134,"182511000","接地卡子(综合)","个"]
[135,"182519002","固定卡子 3×80","套"]
[136,"182529002","U型管卡子DN20","个"]
[137,"213327001","透气帽(铅丝球) DN50","个"]
[138,"243301001","色带20mm×20m","卷"]
[139,"280104001","镀锡裸铜绞线 TJX-6~10","kg"]
[140,"280304002","塑料软铜绝缘导线 BVR-2.5","m"]
[141,"290618004","可挠金属套管护口 BP-17","个"]
[142,"290628002","塑料护口 15～20","个"]
[143,"290631007","电缆吊挂 3×50","套"]
[144,"290901002","瓷接头 (双)","个"]
[145,"290905004","铜接线端子 DT-10mm2","个"]
[146,"291112001","接线盒","个"]
[147,"292702006","尼龙扎带(综合)","个"]
[148,"330107003","镀锌圆钢支架 Φ10～14","套"]
[149,"340702001","防尘面罩","套"]
[150,"340703001","护目镜","套"]
[151,"341101001","水",""]
[152,"341301011","标志牌 塑料扁形","个"]
[]
["主要材料及价格表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第5页  共8页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[153,"341508001","其他材料费","元"]
[154,"350104002","复合木模板面板","㎡"]
[155,"350302001","回转扣件","个"]
[156,"350302002","对接扣件","个"]
[157,"350302003","直角扣件","个"]
[158,"350303001","脚手架焊接钢管 Φ48.3×3.6","t"]
[159,"350305001","金属脚手架底座","个"]
[160,"350306004","加固杉杆(综合)",""]
[161,"350307002","竹脚手板","㎡"]
[162,"350907003","钢支架摊销","kg"]
[163,"351101001","钢凿","个"]
[164,"360102002","不锈钢盖板","㎡"]
[165,"370101005","钢轨 38kg/m","t"]
[166,"370501001","油浸枕木",""]
[167,"370905001","钢垫板","kg"]
[168,"B-C.1","池槽排水管及侧面地漏安装 材料费","元"]
[169,"B-C.1","混凝土挡水线 材料费","元"]
[170,"B-C.2"," 材料费","元"]
[171,"B-C.3","标准养护室密闭门制作安装 材料费","元"]
[172,"C00010160","其他材料费","元"]
[173,null,"◆商品砼◆"]
[174,"043104003","碎石 GD40  商品普通砼  C20",""]
[175,"043104005","碎石 GD40  商品普通砼  C30",""]
[176,"043104005","碎石 GD40  商品普通砼  C30",""]
[177,null,"◆配合比◆"]
[178,"800102001","水泥砂浆 1∶1",""]
[179,"800102004","水泥砂浆 1∶2.5",""]
[180,"800102005","水泥砂浆 1∶3",""]
[181,"800102006","水泥砂浆 1∶4",""]
[182,"800301004","水泥石灰砂浆中砂M5",""]
[183,"800702003","水泥防水砂浆(加防水粉5％) 1∶2.5",""]
[184,"801101001","素水泥浆",""]
[185,"802122008","碎石 GD20 中砂水泥 32.5 C20",""]
[186,null,"◆主材◆"]
[187,"170014000","DN20内衬塑钢管","m"]
[188,"170301011","热镀锌钢管80*80*2.5mm厚","t"]
[189,"172500000","PVC-φ50排水管（管件组合价）","m"]
[190,"172502000","PP－R给水管De20管件组合价","m"]
[]
["主要材料及价格表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第6页  共8页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[191,"180300000","钢管管件","个"]
[192,"180903000","塑料给水管件","个"]
[193,"180904000","承插塑料管件","个"]
[194,"213301000","不锈钢龙头","个"]
[195,"213301000","水嘴","个"]
[196,"213318000","PVC-φ50地漏","个"]
[197,"290105000","金属线槽","m"]
[198,"290702000","户内热缩式电缆终端头","套"]
[199,"500102001","300*300排气扇","台"]
[200,"550117001","成套配电箱","台"]
[201,"550117001","空调开关箱","台"]
[202,"B-Z.1","养护室隔墙 主材费","元"]
[203,"B-Z.3","养护室天棚 主材费","元"]
[204,"Z250001001","600*600平板灯","套"]
[205,"Z264101001","成套插座","套"]
[206,"Z264101001","五孔插座","套"]
[207,"Z280301000","BV-2.5mm2铜芯电线","m"]
[208,"Z280301000","BV-3*2.5mm2铜芯电线","m"]
[209,"Z280301000","BV-5*6mm2铜芯电线","m"]
[210,"Z280301000","ZR-BV-4mm2铜芯电线","m"]
[211,"Z280301000","ZR-RV-4mm2铜芯电线","m"]
[212,"Z281100000","WDZ-ZR-YJV-5*10mm2铜芯电缆","m"]
[213,"Z290302000","PVC 39*19塑料线槽","m"]
[214,"Z290302000","PVC 59*22塑料线槽","m"]
[215,"Z290302000","PVC-39×19难燃线槽","m"]
[216,"Z290302000","PVC-69*25阻燃线槽 弧形（加厚）","m"]
[217,"Z290302000","塑料线槽","m"]
[218,"Z290607000","包塑金属软管φ16","m"]
[219,null,"◆机械台班组成◆"]
[220,"000301001","机械台班人工费","元"]
[221,"140301004","国V汽油 92#","kg"]
[222,"140304001","轻柴油 0#","kg"]
[223,"341103001","电","kW.h"]
[224,"994701001","其他机械费","元"]
[225,"994701003","停滞费","元"]
[226,"994701004","折旧费","元"]
[227,"994701005","大修理费","元"]
[228,"994701006","经常修理费","元"]
[]
["主要材料及价格表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第7页  共8页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[229,"994701007","安拆及场外运输费","元"]
[230,"994701008","其他费用","元"]
[231,null,"◆机械◆"]
[232,"981110002","绝缘电阻测试仪 ZC-8","台班"]
[233,"990101003","履带式液压单斗挖掘机[斗容量0.6]","台班"]
[234,"990506001","混凝土振捣器[平板式]","台班"]
[235,"990506002","混凝土振捣器[插入式]","台班"]
[236,"990509001","灰浆搅拌机[拌筒容量200L]","台班"]
[237,"990701004","履带式推土机[功率75kW]","台班"]
[238,"990704004","载货汽车[装载质量4t]","台班"]
[239,"990705004","自卸汽车[装载质量5t]","台班"]
[240,"990706001","机动翻斗车[装载质量1t]","台班"]
[241,"990707004","平板拖车组[装载质量20t]","台班"]
[242,"990708002","轨道平车[装载质量8t]","台班"]
[243,"990902002","门式起重机[提升质量10t]","台班"]
[244,"990903001","汽车式起重机[提升质量5t]","台班"]
[245,"990903007","汽车式起重机[提升质量25t]","台班"]
[246,"991305001","夯实机电动[夯击能力200～620Nm]","台班"]
[247,"991518002","刨边机[加工长度 12000mm]","台班"]
[248,"991521001","型钢剪断机[剪断宽度500mm]","台班"]
[249,"991701001","钢筋调直机[直径14mm]","台班"]
[250,"991702001","钢筋切断机[直径40mm]","台班"]
[251,"991703001","钢筋弯曲机[直径40mm]","台班"]
[252,"991902001","型钢校正机 [60*800mm]","台班"]
[253,"991903002","多辊板料校平机[厚度×宽度16×2000mm]","台班"]
[254,"991906009","剪板机[厚度×宽度 40×3100(mm)]","台班"]
[255,"991908004A","立式钻床 钻孔直径50mm","台班"]
[256,"991909003","摇臂钻床[钻孔直径 63mm]","台班"]
[257,"991912001","混凝土钻孔机 ZZH1-160","台班"]
[258,"991912002","混凝土钻孔机 ZZH1-200","台班"]
[259,"991924002","管子切断套丝机 直径159mm","台班"]
[260,"992101001","木工圆锯机[直径500mm]","台班"]
[261,"992301003","砂轮切割机 400","台班"]
[262,"992302001","石料切割机5.5KW以内","台班"]
[263,"992314001","角向磨光机","台班"]
[264,"992501002","交流电弧焊机[容量30kVA]","台班"]
[265,"992501004","交流电弧焊机[容量40kVA]","台班"]
[266,"992511001","热熔焊接机 Φ63","台班"]
[]
["主要材料及价格表"]
["工程名称:昆仑校区路桥工程学院实训基地实训室改造",{"$nulls":3},"第8页  共8页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[267,"992701001","电焊条烘干箱[容积45×35×45(c)]","台班"]
[268,"992702001","恒温箱","台班"]
[269,"994301005","电动空气压缩机[排气量10/min]","台班"]
[270,"994410004","试压泵 压力 30MPa","台班"]
[271,"994506004","油压接管钳 50t","台班"]
[272,"994508001","电锤 520W","台班"]
[273,"994701001","其他机械费","元"]
[274,"B-J.1"," 机械费","元"]
[275,null,"#### 合 计 ####"]