{"text_format":"3","workbook":"xls","n_sheets":12,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-01_总说明","表-02_建设项目投标报价汇总表","表-03_单项工程投标报价汇总表","表-04_单位工程投标报价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-12_其他项目清单与计价汇总表","表-14_税前项目清单与计价表","表-15_规费、增值税计价表","主要材料价格表(打勾部分)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,3],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西交通职业技术学院"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[null,"2022年09月19日"]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02"]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":49,"n_cols":9,"rows_kept":49,"merged":[[3,1,3,6],[7,1,7,7],[16,2,17,4],[16,6,17,8],[17,0,17,1],[18,2,18,4],[18,6,18,8],[24,0,24,1],[24,2,25,4],[24,6,25,8],[25,0,25,1],[26,2,26,4],[26,6,26,8],[32,2,33,4],[32,6,33,8],[33,0,33,1],[34,2,34,4],[34,6,34,8],[41,0,41,1],[41,2,41,4],[41,6,41,8],[46,2,46,7]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西交通职业技术学院"]
["  招  标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",null,"2022年09月19日",null,null,"复 核 时 间：","2022年09月19日"]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设","第1页 共1页"]
["一、工程概况：本工程位于广西交通技术学院昆仑校区内。\n\n  \n二、编制依据:\n（一）、业主提供的相关资料。\n（二）、《建设工程工程量清单计价规范》GB50500-2013及配套使用的广西清单实施细则。 \n（三）、《建设工程工程量计算规范》GB50854～50862-2013及配套使用的广西清单实施细则(修订版)。 \n（四）、（四）、2013年《广西壮族自治区建筑装饰装修工程消耗量定额》及其计价相关规定、2015年《广西壮族自治区安装工程消耗量定额》及其计价相关规定、2016年《广西壮族自治区建设工程费用定额》。 \n（五）、桂建标[2018]19号文关于调整建设工程定额人工费及有关费率的通知。 \n（六）、桂建标[2016]17号文《自治区住房城乡建设厅关于建筑业实施营业税改征值税后广西壮族自治区建设工程计价依据调整的通知》。 \n（七）、桂造价[2019]10号文《关于调整除税价计算适用增值税税率的通知》。\n\n\n三、本工程按《南宁市建设工程造价信息》南宁市2022年7月上半月刊的价格计取，南宁信息价没有的按市场调查价。\n"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-02_建设项目投标报价汇总表","index":3,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
[null,"        投标报价合计"]
{"$rows_empty":28}
[{"$nulls":4},"表-02"]

{"sheet":"表-03_单项工程投标报价汇总表","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","综合布线部分"]
["1.2","文化墙部分"]
[null,"        投标报价合计"]
{"$rows_empty":26}
[{"$nulls":4},"表-03"]

{"sheet":"表-04_单位工程投标报价汇总表","index":5,"n_rows":42,"n_cols":4,"rows_kept":42,"merged":[[0,0,0,3],[1,0,1,2]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设",null,null,"第1页 共1页"]
["序号","汇总内容","金额(元)","备注"]
[null,"综合布线部分"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"文化墙部分"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"工程项目汇总"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
{"$rows_empty":8}
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":166,"n_cols":8,"rows_kept":166,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[41,0,41,7],[42,0,42,5],[42,6,42,7],[43,0,45,0],[43,1,45,1],[43,2,45,2],[43,3,45,3],[43,4,45,4],[43,5,43,7],[44,5,45,5],[44,6,45,6],[82,0,82,7],[83,0,83,5],[83,6,83,7],[84,0,86,0],[84,1,86,1],[84,2,86,2],[84,3,86,3],[84,4,86,4],[84,5,84,7],[85,5,86,5],[85,6,86,6],[123,0,123,7],[124,0,124,5],[124,6,124,7],[125,0,127,0],[125,1,127,1],[125,2,127,2],[125,3,127,3],[125,4,127,4],[125,5,125,7],[126,5,127,5],[126,6,127,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设 ",{"$nulls":5},"第1页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"综合布线部分"]
[null,null,"分部分项工程"]
[null,"030404","控制设备及低压电器安装"]
["1","030404035001","插座","套","800"]
[null,null,"1.规格:220V 10A 五孔插座"]
[null,null,"2.安装方式:明装"]
[null,"030411","配管、配线"]
["2","030411002001","弧形金属线槽","m","563.00"]
[null,null,"1.规格:100*27"]
["3","030411002002","方形金属线槽","m","256.00"]
[null,null,"1.规格:100*27"]
["4","030411002003","PVC-59*22线槽","m","860.00"]
[null,null,"1.材质:PVC材质"]
[null,null,"2.规格:59*22"]
["5","030411004001","配线","m","630.00"]
[null,null,"1.规格:BV-10mm2铜芯电线"]
[null,null,"2.敷设方式：线槽内敷设"]
["6","030411004002","配线","m","2526.00"]
[null,null,"1.规格:RVV-2*1"]
[null,null,"2.敷设方式：线槽内敷设"]
["7","030411004003","配线","m","1885.00"]
[null,null,"1.规格:RVV-2*2.5MM2"]
[null,null,"2.敷设方式：线槽内敷设"]
["8","030413002001","凿(压)槽及恢复","m","819.00"]
[null,null,"1.混凝土楼地面开槽"]
[null,null,"2.线槽水泥砂浆恢复"]
[null,"030502","综合布线系统工程"]
["9","030502005001","双绞线缆","m","36600.00"]
[null,null,"1.规格:六类纯铜网线"]
[null,null,"2.敷设方式：线槽内敷设"]
["10","030502012001","信息插座","个","195"]
[null,null,"1.规格:单口"]
[null,null,"2.安装方式:明装"]
["11","桂030502023001","综合布线系统调试","系统","1"]
[null,null,"1.所有信息点完成后，要进行IP网络规划，IP调试，确保网络正常，并按需求，对所有网络交换机设备进行策略调试。"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设 ",{"$nulls":5},"第2页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"文化墙部分"]
[null,null,"分部分项工程"]
[null,null,"A.10 墙、柱面工程"]
["12","011207001001","墙造型","㎡","115.10"]
[null,null,"基层：75型轻钢龙骨背架，12mm阻燃夹板底板"]
[null,null,"面层：木方龙骨作外凸造型部分框架，12mm阻燃夹板底板+9.5mm纸面防潮石膏板造型"]
[null,null,"部位：主题墙、历史沿革墙、荣誉展示墙"]
["13","011304001001","灯带(槽)","㎡","35.20"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["14","011406003001","满刮腻子","㎡","122.00"]
[null,null,"刮成品腻子粉 内墙面 两遍"]
["15","011407001001","墙面喷（刷）涂料","㎡","122.00"]
[null,null,"乳胶漆 内墙、柱、天棚抹灰面 二遍"]
["16","011407002001","天棚喷（刷）涂料","㎡","190.00"]
[null,null,"天棚喷黑色乳胶漆"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设 ",{"$nulls":5},"第3页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"A.14 其他装饰工程"]
["17","011502007001","塑料装饰线","m","35.00"]
[null,"030404","控制设备及低压电器安装"]
["18","030404017001","配电箱","台","1"]
[null,null,"8-12位硬塑电箱（元器件：德力西C632P漏电保护开关1个，德力西C322P空气开关5个）"]
["19","030404034001","照明开关","套","1"]
[null,null,"1.规格:220V 10A 四位单控开关"]
[null,null,"2.安装方式:暗装"]
["20","030404035001","插座","套","4"]
[null,null,"1.规格:220V 10A 五孔插座"]
[null,null,"2.安装方式:暗装"]
[null,"030411","配管、配线"]
["21","030411001001","配管","m","60.00"]
[null,null,"1.规格:PVCφ25线管"]
["22","030411004001","配线","m","86.00"]
[null,null,"1.规格:BV-4mm2铜芯电线"]
["23","030411004002","配线","m","190.00"]
[null,null,"1.规格:BV-2.5mm2铜芯电线"]
[null,null,"2.敷设方式：线槽内敷设"]
["24","030412004001","装饰灯","套","20.00"]
[null,null,"功率30w，色温6000K，展馆专用轨道射灯"]
["25","桂030412014001","其他照明灯","m","88"]
[null,null,"LED光源软灯带"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设 ",{"$nulls":5},"第4页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":23}
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":7,"n_rows":37,"n_cols":7,"rows_kept":37,"merged":[[0,0,0,6],[1,0,1,4],[5,3,7,3],[10,3,13,3],[15,3,17,3],[35,0,35,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设   ",{"$nulls":5},"第1页 共1页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"综合布线部分"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"文化墙部分"]
["一",null,"建筑装饰装修工程(营改增)一般计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
["二",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001002","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002002","检验试验配合费"]
["3","桂031401003002","雨季施工增加费"]
[null,null,"      合     计"]
{"$rows_empty":16}
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-12_其他项目清单与计价汇总表","index":8,"n_rows":42,"n_cols":4,"rows_kept":42,"merged":[[0,0,0,3],[1,0,1,2],[41,0,41,2]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设   ",null,null,"第1页 共1页"]
["序号","项目名称","金额（元）","备注"]
[null,"综合布线部分"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"文化墙部分"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"            合           计"]
{"$rows_empty":25}
["注:材料暂估单价进入清单综合单价，此处不汇总。",null,null,"表－12"]

{"sheet":"表-14_税前项目清单与计价表","index":9,"n_rows":42,"n_cols":7,"rows_kept":42,"merged":[[0,0,0,6],[1,0,1,4],[1,5,1,6],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,6],[3,5,4,5],[3,6,4,6],[40,0,40,6],[41,0,41,4]],"flags":["formulas_cached_only"]}
["税前项目清单与计价表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设 ",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称及项目特征\r\n描述","计量单位","工程量","金  额(元)"]
[{"$nulls":5},"单价","合 价"]
[]
[null,null,"文化墙部分"]
["1","01B001","馆名立体字、LOGO(制作安装）","项","1"]
[null,null,"10mm亚克力材质字壳，LED光源，精工不锈钢封面侧发光字"]
[null,null,"含制作、运输、安装及辅材"]
[null,null,"尺寸样式详见图纸"]
["2","01B002","历史沿革墙立体字、牌(制作安装）","项","1"]
[null,null,"10mm-20mmPVC板雕刻立体字，面喷色漆"]
[null,null,"含制作、运输、安装及辅材"]
[null,null,"尺寸样式详见图纸"]
["3","01B003","荣誉展示墙立体字、牌(制作安装）","项","1"]
[null,null,"10mm-20mmPVC板雕刻立体字，面喷色漆"]
[null,null,"含制作、运输、安装及辅材"]
[null,null,"尺寸样式详见图纸"]
[null,null,"               合             计"]
{"$rows_empty":21}
["注：税前项目包含除增值税以外的所有费用。"]
[{"$nulls":6},"表-14"]

{"sheet":"表-15_规费、增值税计价表","index":10,"n_rows":79,"n_cols":5,"rows_kept":79,"merged":[[0,0,0,4],[1,0,1,3],[6,2,13,2],[18,2,24,2],[29,2,36,2],[38,0,38,4],[39,0,39,3]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设",{"$nulls":3},"第1页 共2页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"综合布线部分"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"文化墙部分"]
["一","建筑装饰装修工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
["二","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设",{"$nulls":3},"第2页 共2页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"       合          计"]
{"$rows_empty":35}
[{"$nulls":4},"表-15"]

{"sheet":"主要材料价格表(打勾部分)","index":11,"n_rows":31,"n_cols":6,"rows_kept":31,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:交通信息工程学院昆仑校区交通运输实训基地实训室综合布线、计算机网络设备新增及文化建设",{"$nulls":3},"第1页  共1页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,"000301000","建筑装饰人工","元"]
[2,"000501000","安装人工","元"]
[3,"030183001","铁钉(综合)","kg"]
[4,"040102001","普通硅酸盐水泥 32.5MPa","t"]
[5,"050301001","一等杉木板枋材(综合)",""]
[6,"050301003","一等杉木枋材",""]
[7,"050501008","阻燃板 12mm","㎡"]
[8,"050501009","胶合板 12mm","㎡"]
[9,"120910001","硬塑料线条 40×30","m"]
[10,"130102001","调和漆(综合)","kg"]
[11,"130301001","乳胶漆","kg"]
[12,"130311003","成品腻子粉（一般型）","kg"]
[13,"133508002","嵌缝膏","kg"]
[14,"140301004","国V汽油 92#","kg"]
[15,"144108001","乳白胶","kg"]
[16,"341101001","水",""]
[17,"280310000","塑料护套线","m"]
[18,"290105000","金属线槽","m"]
[19,"301302000","8位模式信息插座","个"]
[20,"550117001","成套配电箱","台"]
[21,"Z250001001","成套灯具","套"]
[22,"Z260501001","照明开关","个"]
[23,"Z264101001","成套插座","套"]
[24,"Z280301000","BV-10mm2铜芯电线","m"]
[25,"Z280301000","铜芯塑料绝缘导线","m"]
[26,"Z280311000","六类纯铜网线","m"]
[27,"Z290302000","PVC-59*22线槽","m"]
[28,"Z290606000","PVCφ25线管","m"]