{"text_format":"3","workbook":"xls","n_sheets":10,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-01_总说明","表-02_建设项目投标报价汇总表","表-03_单项工程投标报价汇总表","表-04_单位工程投标报价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-15_规费、增值税计价表","表-22_承包人提供主要材料和工程设备一览表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":15,"n_cols":5,"rows_kept":15,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[10,1,10,3],[11,1,11,3],[13,0,13,1],[13,2,13,4]],"flags":["formulas_cached_only"]}
[null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西交通职业技术学院"]
[null,"招  标 人:"]
[null,null,"(单位盖章)"]
[]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[]
[]
[null,"2021年02月03日"]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02"]
[]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[3,1,3,6],[7,1,7,7],[16,2,17,4],[16,6,17,8],[17,0,17,1],[18,2,18,4],[18,6,18,8],[21,0,21,1],[21,2,22,4],[21,6,22,8],[22,0,22,1],[23,2,23,4],[23,6,23,8],[28,2,29,4],[28,6,29,8],[29,0,29,1],[30,2,30,4],[30,6,30,8],[37,0,37,1],[37,2,37,4],[37,6,37,8]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西交通职业技术学院"]
["招   标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
["法定代表人",{"$nulls":4},"法定代表人  "]
["或其授权人 :",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",null,"2021年02月03日",null,null,"复 核 时 间：","2021年02月03日"]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程","第1页 共1页"]
["  一、工程概况\n\n  本项目为广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程，项目地点为广西南宁市。\n  \n  二、审核依据\n\n  1、《建设工程工程量清单计价规范》（GB50500-2013） ；\n\n  2、《建设工程工程量计算规范》（GB50854~50862-2013）；\n\n  3、《<建设工程工程量清单计价规范>(GB50500-2013)广西壮族自治区实施细则》；\n\n  4、《建设工程工程量计算规范（GB50854~50862-2013）广西壮族自治区实施细则》（修订版）；\n\n  5、2015年《广西壮族自治区 安装 工程消耗量定额》及其配套使用的费率定额；\n\n  6、2016年《广西壮族自治区建设工程费用定额》及计价相关规定。\n\n  7、《自治区住房城乡建设厅关于建筑业实施营业税改增值税后广西壮族自治区建设工程计价依据调整的通知》（桂建标[2016]17号文）；\n\n  8、《自治区住房城乡建设厅关于调整建设工程计价增值税税率的通知》（桂造价[2019]10号）；\n   \n  9、管理费和利润按中值计取，专业按中值计取；\n   \n  10、人工费、管理费等费率按桂建标[2018]19号文调整；\n\n  \n"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-02_建设项目投标报价汇总表","index":3,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程"]
[null,"        投标报价合计"]
{"$rows_empty":27}
[{"$nulls":4},"表-02"]

{"sheet":"表-03_单项工程投标报价汇总表","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1.1","广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-土建工程"]
["1.1.2","广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-电气工程"]
["1.1.3","广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-拆除工程"]
[null,"        投标报价合计"]
{"$rows_empty":25}
[{"$nulls":4},"表-03"]

{"sheet":"表-04_单位工程投标报价汇总表","index":5,"n_rows":83,"n_cols":4,"rows_kept":83,"merged":[[0,0,0,3],[1,0,1,2],[41,0,41,3],[42,0,42,2]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程",null,null,"第1页 共2页"]
["序号","汇总内容","金额(元)","备注"]
[null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-土建工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-电气工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-拆除工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
[" 5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
[null,"工程项目汇总"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
[null,null," ","表-04"]
["单位工程投标报价汇总表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程",null,null,"第2页 共2页"]
["序号","汇总内容","金额(元)","备注"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
["5","规费、税金项目清单计价合计"]
["5.1","其中:增值税"]
{"$rows_empty":33}
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":662,"n_cols":8,"rows_kept":662,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[40,0,40,7],[41,0,41,5],[41,6,41,7],[42,0,44,0],[42,1,44,1],[42,2,44,2],[42,3,44,3],[42,4,44,4],[42,5,42,7],[43,5,44,5],[43,6,44,6],[80,0,80,7],[81,0,81,5],[81,6,81,7],[82,0,84,0],[82,1,84,1],[82,2,84,2],[82,3,84,3],[82,4,84,4],[82,5,82,7],[83,5,84,5],[83,6,84,6],[120,0,120,7],[121,0,121,5],[121,6,121,7],[122,0,124,0],[122,1,124,1],[122,2,124,2],[122,3,124,3],[122,4,124,4],[122,5,122,7],[123,5,124,5],[123,6,124,6],[160,0,160,7],[161,0,161,5],[161,6,161,7],[162,0,164,0],[162,1,164,1],[162,2,164,2],[162,3,164,3],[162,4,164,4],[162,5,162,7],[163,5,164,5],[163,6,164,6],[202,0,202,7],[203,0,203,5],[203,6,203,7],[204,0,206,0],[204,1,206,1],[204,2,206,2],[204,3,206,3],[204,4,206,4],[204,5,204,7],[205,5,206,5],[205,6,206,6],[244,0,244,7],[245,0,245,5],[245,6,245,7],[246,0,248,0],[246,1,248,1],[246,2,248,2],[246,3,248,3],[246,4,248,4],[246,5,246,7],[247,5,248,5],[247,6,248,6],[287,0,287,7],[288,0,288,5],[288,6,288,7],[289,0,291,0],[289,1,291,1],[289,2,291,2],[289,3,291,3],[289,4,291,4],[289,5,289,7],[290,5,291,5],[290,6,291,6],[330,0,330,7],[331,0,331,5],[331,6,331,7],[332,0,334,0],[332,1,334,1],[332,2,334,2],[332,3,334,3],[332,4,334,4],[332,5,332,7],[333,5,334,5],[333,6,334,6],[370,0,370,7],[371,0,371,5],[371,6,371,7],[372,0,374,0],[372,1,374,1],[372,2,374,2],[372,3,374,3],[372,4,374,4],[372,5,372,7],[373,5,374,5],[373,6,374,6],[409,0,409,7],[410,0,410,5],[410,6,410,7],[411,0,413,0],[411,1,413,1],[411,2,413,2],[411,3,413,3],[411,4,413,4],[411,5,411,7],[412,5,413,5],[412,6,413,6],[452,0,452,7],[453,0,453,5],[453,6,453,7],[454,0,456,0],[454,1,456,1],[454,2,456,2],[454,3,456,3],[454,4,456,4],[454,5,454,7],[455,5,456,5],[455,6,456,6],[494,0,494,7],[495,0,495,5],[495,6,495,7],[496,0,498,0],[496,1,498,1],[496,2,498,2],[496,3,498,3],[496,4,498,4],[496,5,496,7],[497,5,498,5],[497,6,498,6],[535,0,535,7],[536,0,536,5],[536,6,536,7],[537,0,539,0],[537,1,539,1],[537,2,539,2],[537,3,539,3],[537,4,539,4],[537,5,537,7],[538,5,539,5],[538,6,539,6],[578,0,578,7],[579,0,579,5],[579,6,579,7],[580,0,582,0],[580,1,582,1],[580,2,582,2],[580,3,582,3],[580,4,582,4],[580,5,580,7],[581,5,582,5],[581,6,582,6],[619,0,619,7],[620,0,620,5],[620,6,620,7],[621,0,623,0],[621,1,623,1],[621,2,623,2],[621,3,623,3],[621,4,623,4],[621,5,621,7],[622,5,623,5],[622,6,623,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第1页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-土建工程"]
[null,null,"分部分项工程"]
[null,null,"A.1 土（石）方工程"]
["1","010101001001","平整场地","㎡","130.55"]
[null,null,"土壤类别:三类土"]
["2","010101004001","挖槽（基坑）土方","","93.68"]
[null,null,"土壤类别：三类土"]
[null,null,"挖土深度：2m以内"]
["3","010103001001","利用方回填","","35.99"]
[null,null,"密实度要求：回填压实系数不得＜0.94"]
[null,null,"填方材料品种：采用合格土源"]
[null,null,"填方来源：利用原土回填"]
[null,null,"运距：自行考虑"]
["4","010103002001","余土弃置","","57.69"]
[null,null,"弃土运距:1公里"]
[null,null,"采用加盖自卸汽车运土"]
["5","桂010103003001","土（石）方运输增（减）m3·km","·km","57.69"]
[null,null,"增运1km"]
[null,null,"A.3 砌筑工程"]
["6","010401004001","多孔砖墙","","29.50"]
[null,null,"砖品种、规格、强度等级：MU10烧结页岩多孔砖"]
[null,null,"墙体厚度：240mm"]
[null,null,"砂浆种类、强度等级：M7.5混合砂浆"]
[null,null,"A.4 混凝土及钢筋混凝土工程"]
["7","010501001001","C15基础垫层","","1.96"]
[null,null,"混凝土种类：泵送商品普通砼(碎石、中砂)"]
[null,null,"混凝土强度等级:C15"]
["8","010501003001","C25独立基础","","8.32"]
[null,null,"混凝土种类：泵送商品普通砼(碎石、中砂)"]
[null,null,"混凝土强度等级:C25"]
["9","010503001001","C25基础梁","","4.80"]
[null,null,"混凝土种类：泵送商品普通砼(碎石、中砂)"]
[null,null,"混凝土强度等级:C25"]
["10","010503002001","结构梁","","2.20"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第2页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"混凝土种类：泵送商品普通砼(碎石、中砂)"]
[null,null,"混凝土强度等级:C25"]
["11","010502001001","C25矩形柱","","2.88"]
[null,null,"混凝土种类：泵送商品普通砼(碎石、中砂)"]
[null,null,"混凝土强度等级:C25"]
["12","010505001001","C25有梁板","","21.26"]
[null,null,"混凝土种类：泵送商品普通砼(碎石、中砂)"]
[null,null,"混凝土强度等级:C25"]
["13","010505008001","C25雨篷","","0.83"]
[null,null,"混凝土种类：泵送商品普通砼(碎石、中砂)"]
[null,null,"混凝土强度等级:C25"]
["14","010507001001","C25散水","㎡","36.76"]
[null,null,"垫层材料种类、厚度:碎石"]
[null,null,"面层厚度:100mm"]
[null,null,"混凝土种类:商品砼"]
[null,null,"混凝土强度等级:C25"]
[null,null,"变形缝填塞材料种类:建筑油膏"]
["15","011101001001","C25坡道","㎡","2.91"]
[null,null,"C20混凝土表面压光加做菱形（100*100）凹槽，凹槽宽10，深5"]
[null,null,"素土夯实"]
["16","010503005001","C25过梁","","1.21"]
[null,null,"混凝土种类:商品砼，非泵送"]
[null,null,"混凝土强度等级:C25"]
["17","010504001001","女儿墙","","4.47"]
[null,null,"混凝土种类:商品砼"]
[null,null,"混凝土强度等级:C25"]
["18","010507004001","室外台阶","","0.63"]
[null,null,"100厚C25混凝土"]
[null,null,"80厚1:3:6石灰、砂、碎石三合土"]
["19","010515001001","现浇构件钢筋","t","2.117"]
[null,null,"钢筋种类、规格:HPB300 φ10以内"]
["20","010515001002","现浇构件钢筋","t","3.059"]
[null,null,"钢筋种类、规格:螺纹钢筋HRB400 10以内"]
["21","010515001003","现浇构件钢筋","t","1.314"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第3页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"钢筋种类、规格:螺纹钢筋HRB400 10以上"]
["22","桂010515011001","砌体加固筋","t","0.077"]
[null,null,"钢筋种类、规格：HPB300 6"]
["23","桂010516004001","电渣压力焊接","个","40"]
[null,null,"规格:焊接"]
[null,null,"A.7 屋面及防水工程"]
["24","010902001001","屋面卷材防水","㎡","129.81"]
[null,null,"部位：屋面"]
[null,null,"3厚高聚物改性沥青防水卷材"]
[null,null,"3厚高聚物改性沥青防水卷材"]
["25","011001002001","保温隔热天棚","㎡","8.74"]
[null,null,"部位：雨棚"]
[null,null,"20厚1:2.5水泥砂浆加5%防水粉"]
["26","010902003001","屋面刚性层","㎡","118.05"]
[null,null,"25厚1:4干硬性水泥砂浆,面撒素水泥一道"]
[null,null,"基层处理剂"]
[null,null,"20厚1:2.5水泥砂浆找平层压光(纵向砂浆找坡,一次施工至凹槽)"]
[null,null,"纵横作分格缝,缝宽30,灌防水油膏,间距≤6mX6m"]
[null,null,"钢筋混凝土屋面板,表面清扫干净(结构找坡)"]
[null,null,"A.8 保温、隔热、防腐工程"]
["27","011001001001","保温隔热屋面","㎡","118.05"]
[null,null,"放置40厚挤塑聚苯乙烯泡沫塑料板,导热系数≤0.03W/(m.K),"]
[null,null,"压缩强度≥250kPa,吸水率≤1.5%."]
["28","010903003001","水泥砂浆防潮","㎡","9.63"]
[null,null,"20厚1:2水泥砂浆内加5%防水剂"]
[null,null,"A.9 楼地面工程"]
["29","011102003001","块料楼地面 楼地6","㎡","71.58"]
[null,null,"10厚600X600防滑砖铺实拍平,水泥浆擦缝"]
[null,null,"25厚1:4干硬性水泥砂浆,面撒水泥粉"]
[null,null,"水泥浆结合层一道(内掺建筑胶)"]
["30","011105003001","石英玻化抛光砖踢脚线 踢脚线1","㎡","8.11"]
[null,null,"部位：配电室"]
[null,null,"白水泥浆擦缝"]
[null,null,"贴8~10厚石英玻化抛光砖(暗敷)"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第4页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"3~4厚1:1水泥砂浆加水重20%的白乳胶"]
[null,null,"\r\n17厚1:3水泥砂浆打底"]
["31","011107002001","块料台阶面","㎡","6.29"]
[null,null,"8-10厚防滑砖"]
[null,null,"30厚1:4干硬性水泥砂浆"]
[null,null,"素水泥砂浆结合层一道"]
[null,null,"成品滑梯级砖"]
[null,null,"A.10 墙、柱面工程"]
["32","011201001001","内墙面一般抹灰 内墙1","㎡","211.90"]
[null,null,"5厚1:0.3:2.5水泥石灰膏砂浆找平"]
["33","桂011204007001","外墙瓷砖 外墙1","㎡","218.36"]
[null,null,"部位：外墙"]
[null,null,"墙体类型：MU10烧结页岩多孔砖"]
[null,null,"贴瓷质锦砖;聚合物水泥砂浆勾缝"]
[null,null,"1:2:4聚合物水泥砂浆5厚"]
[null,null,"聚合物水泥基防水涂膜1.0厚(由厂家提供配比)"]
[null,null,"15厚1:3水泥砂浆打底"]
["34","011201001002","电缆沟壁抹灰","㎡","51.29"]
[null,null,"沟壁抹20厚1:2.5（掺5%防水粉）水泥砂浆"]
[null,null,"A.11 天棚工程"]
["35","011301001001","天棚抹灰","㎡","8.74"]
[null,null,"部位：雨棚"]
[null,null,"1：1:6水泥石灰砂浆打底"]
[null,null,"A.12 门窗工程"]
["36","010802004001","成品乙级防火门","㎡","14.06"]
[null,null,"经消防部门认可的防火门"]
[null,null,"五金配件、安装运输等"]
["37","010807001001","96系列铝合金推拉玻璃窗(洞口面积＜2m2)","㎡","4.50"]
[null,null,"门框、窗框材质：白色铝框，窗框壁厚2mm"]
[null,null,"玻璃品种、厚度：5mm浮法玻璃"]
[null,null,"含五金配件、运输、制作及安装"]
[null,null,"不锈钢防生虫"]
[null,null,"品牌：参照或相当于“南南”铝、“平果”铝"]
["38","010807003001","铝合金百叶窗(洞口面积＜2m2)","㎡","8.10"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第5页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"门框、窗框材质：白色铝框，窗框壁厚2mm"]
[null,null,"品牌：参照或相当于“南南”铝、“平果”铝"]
[null,null,"含五金配件、运输、制作及安装"]
[null,null,"不锈钢防生虫"]
["39","010807005001","不锈钢防盗网","㎡","12.60"]
[null,null,"网格40*40不锈钢防盗网"]
["40","桂010811002001","门窗周边塞缝","m","68.20"]
[null,null,"塞缝材料种类:水泥砂浆 1∶2.5"]
["41","桂010811001001","防鼠板","个","3"]
[null,null,"材质：金刚纱"]
[null,null,"防鼠板"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["42","011407002001","天棚喷（刷）涂料","㎡","132.80"]
[null,null,"部位：配电室"]
[null,null,"白色内墙乳胶料二道"]
[null,null,"钢筋混凝土板底面清理干净抹平"]
["43","011407002002","天棚喷（刷）涂料","㎡","8.74"]
[null,null,"部位：雨棚"]
[null,null,"白色外墙涂料"]
["44","011406003001","内墙面满刮腻子","㎡","211.90"]
[null,null,"部位：配电室"]
[null,null,"改性丙烯酸类聚合物乳胶漆二道"]
[null,null,"封底漆一道(干燥后做面层)"]
[null,null,"满刮腻子三遍"]
["45","011405001001","金属面油漆","㎡","18.42"]
[null,null,"钢盖板热镀锌，刷灰漆"]
[null,null,"配电房电缆沟及盘柜基础"]
["46","桂030413008001","高压电缆沟","m","8.63"]
[null,null,"100厚C15混凝土"]
[null,null,"页岩烧结多孔砖"]
[null,null,"现浇混凝土圈梁：C25"]
[null,null,"钢盖板仿GB6-1"]
[null,null,"现浇构件圆钢筋制安装"]
["47","桂030413008002","低压电缆沟","m","1.72"]
[null,null,"100厚C15混凝土"]
[null,null,"页岩烧结多孔砖"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第6页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"现浇混凝土圈梁：C25"]
[null,null,"钢盖板仿GB6-1"]
[null,null,"现浇构件圆钢筋制安装"]
["48","桂030413010001","低压盘柜基础","座","6"]
[null,null,"100厚C15混凝土"]
[null,null,"页岩烧结多孔砖"]
[null,null,"现浇混凝土圈梁：C25"]
[null,null,"现浇构件圆钢筋制安装"]
["49","桂030413010002","高压盘柜与电缆沟","座","4"]
[null,null,"100厚C15混凝土"]
[null,null,"页岩烧结多孔砖"]
[null,null,"现浇混凝土圈梁：C25"]
[null,null,"C10槽钢，锚角1φ6"]
["50","桂030413010003","低压盘柜与电缆沟-1","座","10"]
[null,null,"100厚C15混凝土"]
[null,null,"页岩烧结多孔砖"]
[null,null,"现浇混凝土圈梁：C25"]
[null,null,"C10槽钢，锚角1φ6"]
[null,null,"现浇构件圆钢筋制安装"]
["51","桂030413010004","变压器与电缆沟","座","2"]
[null,null,"100厚C15混凝土"]
[null,null,"页岩烧结多孔砖"]
[null,null,"现浇混凝土圈梁：C25"]
[null,null,"C10槽钢，锚角1φ6"]
[null,null,"现浇构件圆钢筋制安装"]
[null,null,"新建毛石挡土墙3*3.7长*高"]
["52","010101003001","挖沟槽土方(挡土墙)","","4.32"]
[null,null,"挖土深度：2m以内"]
["53","010403004001","石挡土墙","","5.67"]
[null,null,"1.MU30平毛石，M7.5水泥砂浆砌筑"]
[null,null,"2.间距2米设置φ110的泄水孔"]
[null,null,"3.每隔15-20米设30mm宽伸缩缝并用沥青麻丝填实"]
[null,null,"4.1:3水泥砂浆勾20mm凸缝"]
["54","010503004001","圈梁（挡土墙）","","0.40"]
[null,null,"混凝土种类：泵送商品普通砼(碎石、中砂)"]
[null,null,"混凝土强度等级:C20"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第7页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
["55","桂011701001001","外脚手架","㎡","271.77"]
[null,null,"搭设高度：3.6m以上"]
[null,null,"脚手架材质:钢管"]
[null,"011702","混凝土模板及支架(撑)"]
["56","011702001001","垫层","㎡","5.60"]
[null,null,"模板材质：胶合板模板"]
[null,null,"支撑材质：木支撑"]
["57","011702001002","独立基础","㎡","32.00"]
[null,null,"模板材质：胶合板模板"]
[null,null,"支撑材质：木支撑"]
["58","011702005001","基础梁 模板制作安装","㎡","38.37"]
[null,null,"模板材质：胶合板模板"]
[null,null,"支撑材质：木支撑"]
["59","011702002001","矩形柱","㎡","20.79"]
[null,null,"模板材质：胶合板模板"]
[null,null,"支撑材质：钢支撑"]
[null,null,"支模高度：3.6m以内"]
["60","011702002002","矩形柱","㎡","39.85"]
[null,null,"模板材质：胶合板模板"]
[null,null,"支撑材质：钢支撑"]
[null,null,"支模高度：3.6m以上"]
["61","011702008001","圈梁","㎡","48.39"]
[null,null,"模板、支撑材质:胶合板模板  木支撑"]
["62","011702002003","结构梁","㎡","11.27"]
[null,null,"模板材质：胶合板模板"]
[null,null,"支模高度：3.6m以内"]
["63","011702011001","女儿墙","㎡","86.50"]
[null,null,"模板材质：胶合板模板"]
[null,null,"支模高度：3.6m以内"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第8页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["64","011702014001","有梁板","㎡","180.70"]
[null,null,"模板材质：胶合板模板"]
[null,null,"支撑材质：钢支撑"]
[null,null,"支模高度：3.6m以上"]
["65","011702023001","雨棚板 模板制作安装","㎡","8.99"]
[null,null,"模板材质：胶合板模板"]
[null,null,"支撑材质：木支撑"]
[null,null,"支模高度：3.6m以内"]
["66","011702009001","过梁 模板制作安装","㎡","13.68"]
[null,null,"模板材质：胶合板模板"]
[null,null,"支撑材质：木支撑"]
[null,null,"支模高度：3.6m以内"]
["67","011702029001","散水 模板制作安装","㎡","36.76"]
[null,null,"散水厚度：100mm"]
[null,null,"模板材质：木模板"]
[null,null,"支撑材质：木支撑"]
["68","011702029002","坡道 模板制作安装","㎡","2.91"]
[null,null,"散水厚度：250mm"]
[null,null,"模板材质：木模板"]
[null,null,"支撑材质：木支撑"]
[null,"011703","垂直运输"]
["69","011703001001","建筑物垂直运输","㎡","130.55"]
[null,null,"建筑物建筑类型及结构形式：框架结构"]
[null,null,"建筑物垂直高度：4.9m"]
[null,"011705","大型机械设备进出场及安拆"]
["70","011705001001","履带式挖掘机  场外运输费","台次","1"]
[null,null,"履带式挖掘机  场外运输费"]
[null,"011708","混凝土运输及泵送工程"]
["71","桂011708002001","混凝土泵送","","55.34"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第9页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-电气工程"]
[null,null,"分部分项工程"]
[null,"030410","10kV以下架空配电线路"]
["72","030410001001","普通水泥杆，190mm×15m","根","4"]
[null,null,"1.普通电线杆，190mm×15m 4根"]
[null,null,"2.地形：平地100%"]
[null,null,"3.地质：普通土"]
["73","030410001002","普通水泥杆，190mm×18m","根","1"]
[null,null,"1.普通电线杆，190mm×18m 1根"]
[null,null,"2.地形：平地100%"]
[null,null,"3.地质：普通土"]
["74"," 030410002001","横担组装","组","10"]
[null,null,"安装拉线 10根"]
[null,null,"规格及型号：GJ-50"]
[null,null,"每根约20米"]
["75","030410004001","10kV户外隔离开关","组","1"]
[null,null,"1.安装10kV户外隔离开关 ，陶瓷，630A  1组"]
["76","030410004002","10kV配电和线路型避雷器","组","3"]
[null,null,"1.安装10kV配电和线路型避雷器，瓷外套，Y5WS-17/50TLQ，IV级防污 1组"]
["77","030410004003","故障指示器","组","1"]
[null,null,"1.安装就地型架空线路故障指示器 1组"]
["78","030410004004","负荷开关","台","1"]
[null,null,"1.安装负荷开关FZW28-12/630A 1台"]
["79","030410002001","杆上金具、铁构件","项","1"]
[null,null,"1.安装智能负荷开关金具、铁构件"]
["80","030410002002","杆上变配电设备安装 接地挂环","组","1"]
[null,null,"1.接地挂环BYD-1"]
["81","030410003001","架空绝缘导线JKLGYJ-120","km","0.900"]
[null,null,"1.架设架空绝缘导线JKLGYJ-120 0.9千米"]
["82","030410003002","架空绝缘导线JKLGYJ-185","km","1.670"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第10页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.架设架空绝缘导线JKLGYJ-185 1.67千米"]
["83","桂030410006001","导线跨越","处","2"]
[null,null,"跨越宽度:50~80米"]
["84","030410002003","杆上金具、铁构件","项","1"]
[null,null,"1.直线杆金具4套"]
["85","030410002004","杆上金具、铁构件","项","1"]
[null,null,"1.终端杆金具1套"]
["86","030410002005","杆上金具、铁构件","项","1"]
[null,null,"1.转角杆金具8套"]
["87","030410002006","杆上金具、铁构件","项","1"]
[null,null,"1.电缆下杆金具1套"]
[null,"030408","电缆安装"]
["88","030408001001","10kV电力电缆","m","25.00"]
[null,null,"1.敷设10kV电力电缆，ZRC-YJV22-8.7/15kV -3×70mm2"]
["89","030408001002","10kV电力电缆","m","35.00"]
[null,null,"1.敷设10kV电力电缆，ZRC-YJV22-8.7/15kV -3×120mm2"]
["90","030408006001","10kV全冷缩户内终端头","个","4"]
[null,null,"1.安装10kV全冷缩户内终端头，3芯×70mm2"]
["91","030408006002","10kV全冷缩户内终端头","个","1"]
[null,null,"1.安装10kV全冷缩户内终端头，3芯×120mm2"]
["92","030408006003","10kV全冷缩户外终端头","个","1"]
[null,null,"1.安装10kV全冷缩户外终端头，3芯×120mm2"]
["93","030408001003","低压阻燃铜芯电力电缆ZR-YJV22-1kV-4x240+1x120mm2","m","15.00"]
[null,null,"1.名称:低压铜芯电力电缆"]
[null,null,"2.型号:ZR-YJV22-1kV-4x240+1x120mm2"]
["94","030408006004","电力电缆头4*240+1*120mm2","个","2"]
["95","030408008001","防火堵料","kg","30.00"]
[null,null,"1.放置防火堵料 30kg"]
["96","030408010001","防火涂料","kg","30.00"]
[null,null,"1.放置防火涂料 30kg"]
["97","030408003001","电缆保护管","m","12.00"]
[null,null,"PVC-Cφ167/8.5"]
[null,"0304","电气设备安装工程"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第11页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["98","030401002001","10KV干式变压器","台","2"]
[null,null,"1.名称:干变SCB11型"]
[null,null,"2.容量(kV·A):1600KVA"]
[null,null,"3.电压(kV):10kv-0.4kv"]
["99","030402017001","10KV高压进线柜","台","1"]
[null,null,"1.柜体规格:800*1500*2200"]
[null,null,"2.型号及参数详施工图"]
["100","030402017002","10KV高压出线柜","台","2"]
[null,null,"1.柜体规格:800*1500*2200"]
[null,null,"2.型号及参数详施工图"]
["101","030402017003","10KV高压计量柜","台","1"]
[null,null,"1.柜体规格:800*1500*2200"]
[null,null,"2.型号及参数详施工图"]
["102","030404031001","电能表","个","2"]
[null,null,"型号:高压总表1块"]
[null,null,"型号：预付费表1块"]
["103","030404031002","负控终端","个","2"]
["104","030404004001","0.4KV低压进线柜","台","2"]
[null,null,"1.柜体规格:800mm*1000mm*2200mm"]
[null,null,"2.型号：GCS"]
["105","030404004002","0.4KV出线柜","台","8"]
[null,null,"1.柜体规格:600mm*1000mm*2200mm"]
[null,null,"2.型号：GCS"]
["106","030404004003","0.4KV动态电容补偿柜","台","4"]
[null,null,"1.柜体规格:1000mm*1000mm*2200mm"]
[null,null,"2.型号：GCS"]
["107","030404004004","0.4KV低压联络柜","台","1"]
[null,null,"1.柜体规格:800mm*1000mm*2200mm"]
[null,null,"2.型号：GCS"]
["108","030404004005","0.4KV市电、发电切换柜","台","1"]
[null,null,"1.柜体规格:800mm*1000mm*2200mm"]
[null,null,"2.型号：GCS"]
["109","030403006001","低压封闭式插接母线槽","m","20.00"]
[null,null,"封闭母线槽-2500A/4P"]
["110","030113008001","柴油发电机组","台","2"]
[null,null,"1.名称:柴油发电机组"]
[null,null,"2.容量(kW):250kW"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第12页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,"030411","配管、配线"]
["111","030404019001","二位开关","个","2"]
[null,null,"1.型号:250V"]
[null,null,"2.额定电流(A):16A"]
["112","030412005001","双管荧光灯","套","20"]
[null,null,"1.型号:2*18W"]
[null,null,"2.安装形式:嵌入式"]
["113","030404035001","单、三相暗插座","套","5"]
[null,null,"1.规格:250V 16A"]
[null,null,"2.安装方式:暗插座"]
["114","030404033001","排气扇","台","4"]
[null,null,"1.型号：T35-11～250V 40W"]
[null,null,"2.安装方式:吸顶安装"]
["115","030404017001","照明配电箱","台","1"]
[null,null,"1.型号:PZ-30"]
[null,null,"2.规格:1000mm*1000mm*1500mm"]
[null,null,"3.安装方式:悬挂嵌入式"]
[null,null,"4.安装高度距地1.3m"]
["116","030408001004","电力电缆 ZC-YJV22-0.6/1kV-5*16mm2","m","25.00"]
["117","030408006005","户内热缩式电力电缆终端头制作、安装1kV以下端头(截面m㎡以下)16","个","2"]
["118","030411004001","线槽穿线 BV-450/750V-2.5mm2","m","300.00"]
["119","030411004002","线槽穿线 BV-450/750V-4mm2","m","250.00"]
["120","030412004001","安全出口灯","套","2"]
[null,null,"1.型号:250V 5W"]
[null,null,"2.安装形式: 门上0.2m暗装"]
["121","030411001001","刚性阻燃线槽 39*19mm","m"]
[null,null,"1.配置形式:明配"]
["122","030411001002","刚性阻燃线槽 59*22mm","m"]
[null,null,"1.配置形式:明配"]
["123","0304B001","安健环","项","1"]
[null,null,"详见安健环图例"]
["124","030409002001","接地扁铁（电房接地）50×5","m","200.00"]
[null,null,"配电房内"]
[null,"030409","防雷及接地装置"]
["125","030409002002","接地母线","m","150.00"]
[null,null,"1.材质、规格:热镀锌扁钢-50*5"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第13页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"2.安装形式:暗敷"]
[null,null,"3.电气设备连接至环配电房四周扁钢之间的扁钢"]
["126","030409002003","接地母线","m","150.00"]
[null,null,"1.材质、规格:热镀锌扁钢-50*5"]
[null,null,"2.安装形式:明敷"]
[null,null,"3.环配电房四周扁钢需明敷，安装高度距离地面30cm"]
["127","030409002004","接地母线","m","80.00"]
[null,null,"1.名称:圆钢水平地极"]
[null,null,"2.材质:热镀锌"]
[null,null,"3.规格:φ16钢筋"]
["128","030409001001","接地极","根","17"]
[null,null,"1.名称:角钢垂地极"]
[null,null,"2.材质:热镀锌"]
[null,null,"3.规格:L50×5"]
["129","030409003001","圆钢引出线","m","3.00"]
[null,null,"1.材质、规格:φ16钢筋，热镀锌"]
[null,"030414","电气调整试验"]
["130","030414001001","电力变压器系统","系统","2"]
["131","030414002001","送配电装置系统","系统","1"]
["132","030414002002","送配电装置系统","系统","4"]
["133","030414002003","送配电装置系统","系统","16"]
["134","030414009001","避雷器","组","3"]
["135","030414008001","母线","段","3"]
["136","030414008002","母线","段","2"]
["137","030414011001","接地装置","系统（组|根）","2"]
["138","030414015001","电缆试验","次（根|点）","2"]
[null,null,"B9 给排水、燃气工程"]
["139","031001006001","砖、混凝土结构明配 刚性阻燃管PC32","m","200.00"]
["140","031001006002","砖、混凝土结构明配 刚性阻燃管PC50","m","20.00"]
["141","031001006003","塑料管","m","8.80"]
[null,null,"材质、规格:PCV-U、DN110"]
[null,null,"连接形式:承插连接"]
[null,null,"埋深不小于0.4m"]
["142","031002003001","套管","个","2"]
[null,null,"规格:DN160"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第14页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["143","桂031004023001","雨水斗","个","2"]
[null,null,"规格:DN200"]
["144","桂031004023002","侧入式雨水斗","个","2"]
[null,null,"规格:DN200"]
["145","桂031004023003","65型雨水斗","个","2"]
["146","030413008001","高压电缆沟支架","m","41.65"]
[null,null,"规格:镀锌扁钢L50x5"]
[null,null,"每@800mm预埋一组支架"]
["147","030413008002","低压电缆沟支架","m","10.00"]
[null,null,"规格:镀锌扁钢L50x5"]
[null,null,"每@800mm预埋一组支架"]
["148","030413008003","高压盘柜与电缆沟支架","m","14.70"]
[null,null,"规格:镀锌扁钢L50x5"]
[null,null,"每@800mm预埋一组支架"]
["149","030413008004","低压盘柜与电缆沟-支架","m","63.75"]
[null,null,"规格:镀锌扁钢L50x5"]
[null,null,"每@800mm预埋一组支架"]
["150","030413008005","变压器与电缆沟支架","m","9.80"]
[null,null,"规格:镀锌扁钢L50x5"]
[null,null,"每@800mm预埋一组支架"]
["151","030409001002","接地极","根","2"]
[null,null,"1.名称:镀锌扁钢"]
[null,null,"2.材质:热镀锌"]
[null,null,"3.规格:-60X6"]
["152","050307009001","标志牌制作","个","10"]
[null,null,"标志牌加工"]
["153","030408003002","2管排列敷设","m","6.00"]
[null,null,"1.开挖1层2列行人排管6米"]
[null,null,"2.挖深1.26米"]
[]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第15页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-拆除工程"]
[null,null,"分部分项工程"]
[null,null,"安装拆除"]
["154","030410003003","拆除导线、进户线架设 JKLGYJ-10kV-70mm2","km","1.590"]
["155","030410002007","户内、外式支持绝缘子拆除","组","24"]
["156","030410002008","铁横担拆除 双根","组","36"]
["157","030410002009","拉线拆除","组"]
[]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程 ",{"$nulls":5},"第16页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":23}
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":7,"n_rows":35,"n_cols":7,"rows_kept":35,"merged":[[0,0,0,6],[1,0,1,4],[5,3,8,3],[11,3,13,3],[17,3,22,3],[33,0,33,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程   ",{"$nulls":5},"第1页 共1页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-土建工程"]
["一",null,"建筑装饰装修工程(营改增)一般计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
[null,null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-电气工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
["10","桂031401010001","脚手架搭拆费"]
[null,null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-拆除工程"]
["一",null,"安装拆除工程(营改增)简易计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项、单价措施(人工费+机械费)"]
["1.1",null,"环境保护费"]
["1.2",null,"文明施工费"]
["1.3",null,"安全施工费"]
["1.4",null,"临时设施费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"      合     计"]
{"$rows_empty":9}
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-15_规费、增值税计价表","index":8,"n_rows":77,"n_cols":5,"rows_kept":77,"merged":[[0,0,0,4],[1,0,1,3],[6,2,12,2],[18,2,25,2],[30,2,35,2],[37,0,37,4],[38,0,38,3],[40,2,41,2],[42,2,47,2]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程",{"$nulls":3},"第1页 共2页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-土建工程"]
["一","建筑装饰装修工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-电气工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程-拆除工程"]
["一","安装拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程",{"$nulls":3},"第2页 共2页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["1.2","住房公积金","∑(分部分项人工费+单价措施人工费)"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
[null,"       合          计"]
{"$rows_empty":27}
[{"$nulls":4},"表-15"]

{"sheet":"表-22_承包人提供主要材料和工程设备一览表","index":9,"n_rows":93,"n_cols":10,"rows_kept":93,"merged":[[0,0,0,9],[1,0,1,9],[2,0,2,7],[2,8,2,9],[28,0,28,9],[29,0,29,9],[31,0,31,9],[32,0,32,9],[33,0,33,7],[33,8,33,9],[59,0,59,9],[60,0,60,9],[62,0,62,9],[63,0,63,9],[64,0,64,7],[64,8,64,9],[90,0,90,9],[91,0,91,9]],"flags":["formulas_cached_only"]}
["承包人提供主要材料和工程设备一览表"]
["(适用于造价信息差额调整法)"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程",{"$nulls":7},"编号:"]
["序号","名称、规格、型号","单位","数量","风险系数(%)","基准单价(元)","投标单价(元)","确认单价(元)","价差(元)","合计差价(元)"]
[1,"建筑装饰人工","元"]
[2,"安装人工","元"]
[3,"市政人工","元"]
[4,"安装拆除工日","元"]
[5,"螺纹钢筋HRB400 10以内(综合)","t"]
[6,"螺纹钢筋HRB400 10以上(综合)","t"]
[7,"圆钢HPB300 Φ10以内(综合)","t"]
[8,"方钢(综合)","t"]
[9,"扁钢(综合)","t"]
[10,"膨胀螺栓","套"]
[11,"防火铰链","副"]
[12,"闭门器（明装）","套"]
[13,"普通硅酸盐水泥 42.5MPa","t"]
[14,"白水泥(综合)","t"]
[15,"中砂",""]
[16,"粗砂",""]
[17,"生石灰","kg"]
[18,"石灰膏",""]
[19,"毛石(块石)",""]
[20,"多孔页岩砖 240×115×90","千块"]
[21,"周转圆木",""]
[22,"周转板枋材",""]
[23,"周转枋材",""]
[24,"周转板材",""]
["注:1.此表由招标人填写除“投标单价”栏的内容，投标人在投标时自主确定投标单价。\r\n"]
["   2.招标人应优先采用工程造价管理机构发布的单价作为基础单价，未发布的，通过市场调查确定其基准单价。"]
[{"$nulls":9},"表-22"]
["承包人提供主要材料和工程设备一览表"]
["(适用于造价信息差额调整法)"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程",{"$nulls":7},"编号:"]
["序号","名称、规格、型号","单位","数量","风险系数(%)","基准单价(元)","投标单价(元)","确认单价(元)","价差(元)","合计差价(元)"]
[25,"陶瓷墙面砖 240×60","㎡"]
[26,"8~10厚石英玻化抛光砖","㎡"]
[27,"防滑地砖 600×600×10","㎡"]
[28,"钢质防火门(成品)","㎡"]
[29,"96系列铝合金推拉玻璃窗(洞口面积＜2m2)","㎡"]
[30,"铝合金百叶窗(洞口面积＜2m2)","㎡"]
[31,"乳胶漆","kg"]
[32,"丙烯酸无光外墙乳胶漆","kg"]
[33,"聚氨酯甲料","kg"]
[34,"成品腻子粉（一般型）","kg"]
[35,"石油沥青 60#～100#","kg"]
[36,"改性沥青防水卷材 SBS-I型 聚酯胎 3.0mm厚","㎡"]
[37,"聚氨酯乙料","kg"]
[38,"隔离剂","kg"]
[39,"煤气(液化石油气)","kg"]
[40,"建筑胶","kg"]
[41,"108胶","kg"]
[42,"乳白胶","kg"]
[43,"硬聚氯乙烯(PVC－U)排水管 De110","m"]
[44,"组合钢模板","kg"]
[45,"胶合板模板 1830×915×18","㎡"]
[46,"模板支撑钢管及扣件","kg"]
[47,"零星卡具","kg"]
[48,"回转扣件","个"]
["注:1.此表由招标人填写除“投标单价”栏的内容，投标人在投标时自主确定投标单价。\r\n"]
["   2.招标人应优先采用工程造价管理机构发布的单价作为基础单价，未发布的，通过市场调查确定其基准单价。"]
[{"$nulls":9},"表-22"]
["承包人提供主要材料和工程设备一览表"]
["(适用于造价信息差额调整法)"]
["工程名称:广西交通职业技术学院交通运输实训基地项目路桥和建筑实训楼配电工程",{"$nulls":7},"编号:"]
["序号","名称、规格、型号","单位","数量","风险系数(%)","基准单价(元)","投标单价(元)","确认单价(元)","价差(元)","合计差价(元)"]
[49,"对接扣件","个"]
[50,"直角扣件","个"]
[51,"脚手架焊接钢管 Φ48.3×3.6","t"]
[52,"竹脚手板","㎡"]
[53,"机械台班人工费","元"]
[54,"机械台班人工费","元"]
[55,"轻柴油 0#","kg"]
[56,"电","kW.h"]
[57,"            合       计"]
{"$rows_empty":15}
["注:1.此表由招标人填写除“投标单价”栏的内容，投标人在投标时自主确定投标单价。\r\n"]
["   2.招标人应优先采用工程造价管理机构发布的单价作为基础单价，未发布的，通过市场调查确定其基准单价。"]
[{"$nulls":9},"表-22"]